## Cover
Doc #:
Revision:
Date:
Page:
CLIENT: DBSA
PROJECT: DP KGOTLENG PRIMARY SCHOOL
EMIS No.: 600103259
STAGE 4: BILL OF QUANTITIES
ANNEXURE B
TENDER ELECTRICAL BILL OF QUANTITIES

## 21-312-13
COUNTER | ISC | SECTION | BILL | PAGE NO | ITEM NO | DOC REF | PAY REF | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | 4610 | 19 | 1 | 1 |  | 1 |  | SECTION NO. 19 BILL NO. 1
2 | 5756 | 19 | 1 | 1 |  | 1 |  | ELECTRICAL INSTALLATION
3 | 4611 | 19 | 1 | 1 |  | 1 |  | Complete installation, reticulation, electrical, telephone, intercom and bell system
4 | 4710 | 19 | 1 | 1 |  | 1 |  | NOTE: Tenderers are advised to study the specification before pricing the bill. Only conduit and draw wires for intercom systems must be provided
5 | 4712 | 19 | 1 | 1 |  | 1 |  | Wall Mounted Meter Box
6 | 4713 | 19 | 1 | 1 | 1 | 1.1 |  | Refurbish the existing kiosk, including doors, inside panel, labelling and new switchgear measured below. | No | 1 |  | 0
7 | 4714 | 19 | 1 | 1 |  | 1 |  | Equipment provided in metering kiosk.
8 | 4715 | 19 | 1 | 1 |  | 1 |  | Moulded case circuit breakers
9 | 4716 | 19 | 1 | 1 | 2 | 1.2 |  | 60 Ampere SP. 5kA | No | 8 |  | 0
10 | 4717 | 19 | 1 | 1 | 3 | 1.3 |  | 60 Ampere TP. 5kA | No | 4 |  | 0
11 | 4718 | 19 | 1 | 1 |  | 1 |  | Moulded Case Isolators
12 | 4719 | 19 | 1 | 1 | 4 | 1.4 |  | 200 Ampere T.P. 6 kA | No | 1 |  | 0
13 | 4720 | 19 | 1 | 1 |  | 1 |  | Lightning Arrestors
14 | 4721 | 19 | 1 | 1 | 5 | 1.5 |  | Domestic S.P. 6 kA | No | 1 |  | 0
15 | 4722 | 19 | 1 | 1 |  | 1 |  | Maximum Demand/kWh meter
16 | 4723 | 19 | 1 | 1 | 6 | 1.6 |  | 200 Ampere Three Phase (Space only) | No | 0 |  | 0
17 | 4724 | 19 | 1 | 1 |  | 1 |  | Current Transformers
18 | 4725 | 19 | 1 | 1 | 7 | 1.7 |  | 100 : 5 (Space only) | No | 0 |  | 0
19 | 4726 | 19 | 1 | 2 |  | 2 |  | Locks
20 | 4727 | 19 | 1 | 2 | 8 | 2.8 |  | Padlocks as specified | No | 1 |  | 0
21 | 4728 | 19 | 1 | 2 |  | 2 |  | Engineer to confirm items below during prelim design stage as per Annexure B of his Letter of Appointment
22 | 4729 | 19 | 1 | 2 | 9 | 2.9 |  | Connection fee | Item | 0 |  | 0
23 | 4730 | 19 | 1 | 2 | 10 | 2.1 |  | Bulk contribution (if applicable) | Item | 0 |  | 0
24 | 4731 | 19 | 1 | 2 | 11 | 2.11 |  | Boundary contribution costs (if applicable) | Item | 0 |  | 0
25 | 4732 | 19 | 1 | 2 | 12 | 2.12 |  | Deposit payable to Supply Authority | Item | 0 |  | 0
26 | 4733 | 19 | 1 | 2 | 13 | 2.13 |  | Attendance, profit and incidental costs for contractor in terms of the above items 9 to 12 | No | 0 |  | 0
27 | 4734 | 19 | 1 | 2 |  | 2 |  | Upgraded Admin Block DB
28 | 4735 | 19 | 1 | 2 |  | 2 |  | Supply and install surface mounted distribution board complete with doors, frames, sub- frames, chassis, fixtures, fittings, terminations, busbars and wiring with spare space as per specification as well as security detail.
29 | 4736 | 19 | 1 | 2 | 14 | 2.14 |  | Material and labour excluding the items listed hereunder | No | 1 |  | 0
30 | 4737 | 19 | 1 | 2 |  | 2 |  | Equipment provided in Distribution Board
31 | 4738 | 19 | 1 | 2 |  | 2 |  | Moulded Case Circuit Breakers
32 | 4739 | 19 | 1 | 2 | 15 | 2.15 |  | 10 Ampere S.P. 6 kA | No | 4 |  | 0
33 | 4740 | 19 | 1 | 2 | 16 | 2.16 |  | 20 Ampere S.P. 6 kA | No | 6 |  | 0
34 | 4741 | 19 | 1 | 2 | 17 | 2.17 |  | 10 Ampere T.P. 5kA | No | 4 |  | 0
35 | 4742 | 19 | 1 | 2 | 18 | 2.18 |  | 60 Ampere T.P. 6 kA | No | 4 |  | 0
36 | 4743 | 19 | 1 | 2 | 19 | 2.19 |  | 50 Ampere S.P. 6 kA | No | 0 |  | 0
37 | 4744 | 19 | 1 | 2 | 20 | 2.2 |  | 80 Ampere T.P. 6 kA | No | 0 |  | 0
38 | 4745 | 19 | 1 | 3 |  | 3 |  | Earth Leakage Units
39 | 4746 | 19 | 1 | 3 | 21 | 3.21 |  | 60 Ampere single phase 6 kA 30 mA | No | 2 |  | 0
40 | 4747 | 19 | 1 | 3 |  | 3 |  | Moulded Case Isolators
41 | 4748 | 19 | 1 | 3 | 22 | 3.22 |  | 60 Ampere T.P. 6 kA | No | 0 |  | 0
42 | 4749 | 19 | 1 | 3 | 23 | 3.23 |  | 200 Ampere T.P. 6 kA | No | 0 |  | 0
43 | 4750 | 19 | 1 | 3 |  | 3 |  | Lightning Arrestors
44 | 4751 | 19 | 1 | 3 | 24 | 3.24 |  | Domestic S.P. 6 kA | No | 1 |  | 0
45 | 4752 | 19 | 1 | 3 |  | 3 |  | Contactors
46 | 4753 | 19 | 1 | 3 | 25 | 3.25 |  | 13A 3-Pole | No | 0 |  | 0
47 | 4754 | 19 | 1 | 3 |  | 3 |  | Labels
48 | 5758 | 19 | 1 | 3 | 26 | 3.26 |  | Danger sign and labels as specified (each DB's) | No | 11 |  | 0
49 | 4756 | 19 | 1 | 3 |  | 3 |  | New Grade R Classroom (2 x Classrooms) DB
50 | 4757 | 19 | 1 | 3 |  | 3 |  | Supply and install surface mounted distribution board complete with doors, frames, sub- frames, chassis, fixtures, fittings, terminations, busbars and wiring with spare space as per specification as well as security detail.
51 | 4758 | 19 | 1 | 3 | 27 | 3.27 |  | Material and labour excluding the items listed hereunder | No | 1 |  | 0
52 | 4759 | 19 | 1 | 3 |  | 3 |  | Equipment provided in Distribution Board
53 | 4760 | 19 | 1 | 3 |  | 3 |  | Moulded Case Circuit Breakers
54 | 4763 | 19 | 1 | 3 | 28 | 3.28 |  | 10 Ampere S.P. 6 kA | No | 2 |  | 0
55 | 4764 | 19 | 1 | 3 | 29 | 3.29 |  | 20 Ampere S.P. 6 kA | No | 2 |  | 0
56 | 4765 | 19 | 1 | 3 | 30 | 3.3 |  | 60 Ampere T.P. 6 kA | No | 1 |  | 0
57 | 4766 | 19 | 1 | 3 |  | 3 |  | Earth Leakage Units
58 | 4767 | 19 | 1 | 3 | 31 | 3.31 |  | 60 Ampere Single Phase 6 kA 30mA | No | 1 |  | 0
59 | 4768 | 19 | 1 | 4 |  | 4 |  | Moulded Case Isolators
60 | 4769 | 19 | 1 | 4 | 32 | 4.32 |  | 60 Ampere T.P. 6 kA | No | 0 |  | 0
61 | 4770 | 19 | 1 | 4 |  | 4 |  | Contactors
62 | 4771 | 19 | 1 | 4 | 33 | 4.33 |  | 32 Ampere T.P. | No | 0 |  | 0
63 | 4772 | 19 | 1 | 4 |  | 4 |  | Lightning Arrestors
64 | 4773 | 19 | 1 | 4 | 34 | 4.34 |  | Domestic S.P. 6 kA | No | 1 |  | 0
65 | 4774 | 19 | 1 | 4 |  | 4 |  | Contactors
66 | 4775 | 19 | 1 | 4 | 35 | 4.35 |  | 13A 3-Pole | No | 1 |  | 0
67 | 4776 | 19 | 1 | 4 |  | 4 |  | Labels
68 | 5757 | 19 | 1 | 4 | 36 | 4.36 |  | Danger sign and labels as specified (each DB's) | No | 5 |  | 0
69 | 4778 | 19 | 1 | 4 |  | 4 |  | Existing Block 1 (4 x Classrooms) DB
70 | 4779 | 19 | 1 | 4 |  | 4 |  | Supply and install flush mounted distribution board complete with doors, frames, sub- frames, chassis, fixtures, fittings, terminations, busbars and wiring with spare space as per specification as well as security detail.
71 | 4780 | 19 | 1 | 4 | 37 | 4.37 |  | Material and labour excluding the items listed hereunder | No | 1 |  | 0
72 | 4781 | 19 | 1 | 4 |  | 4 |  | Equipment provided in Distribution Board
73 | 4782 | 19 | 1 | 4 |  | 4 |  | Moulded Case Circuit Breakers
74 | 4783 | 19 | 1 | 4 | 38 | 4.38 |  | 10 Ampere S.P. 6 kA | No | 2 |  | 0
75 | 4784 | 19 | 1 | 4 | 39 | 4.39 |  | 20 Ampere S.P. 6 kA | No | 3 |  | 0
76 | 4785 | 19 | 1 | 4 |  | 4 |  | Earth Leakage Units
77 | 4786 | 19 | 1 | 4 | 40 | 4.4 |  | 60 Ampere Single Phase 6 kA 30mA | No | 1 |  | 0
78 | 4787 | 19 | 1 | 4 |  | 4 |  | Moulded Case Isolators
79 | 4788 | 19 | 1 | 4 | 41 | 4.41 |  | 60 Ampere S.P. 6 kA | No | 0 |  | 0
80 | 4789 | 19 | 1 | 5 |  | 5 |  | Lightning Arrestors
81 | 4790 | 19 | 1 | 5 | 42 | 5.42 |  | Domestic S.P. 6 kA | No | 1 |  | 0
82 | 4791 | 19 | 1 | 5 |  | 5 |  | Contactors
83 | 4792 | 19 | 1 | 5 | 43 | 5.43 |  | 13A 3-Pole | No | 1 |  | 0
84 | 4793 | 19 | 1 | 5 |  | 5 |  | Labels
85 | 5759 | 19 | 1 | 5 | 44 | 5.44 |  | Danger sign and labels as specified (each DB's) | No | 5 |  | 0
86 | 4795 | 19 | 1 | 5 |  | 5 |  | New Nutrition Centre DB
87 | 4796 | 19 | 1 | 5 |  | 5 |  | Supply and install flush mounted distribution board complete with doors, frames, sub- frames, chassis, fixtures, fittings, terminations, busbars and wiring with spare space as per specification as well as security detail.
88 | 4797 | 19 | 1 | 5 | 45 | 5.45 |  | Material and labour excluding the items listed hereunder | No | 1 |  | 0
89 | 4798 | 19 | 1 | 5 |  | 5 |  | Equipment provided in Distribution Board
90 | 4799 | 19 | 1 | 5 |  | 5 |  | Moulded Case Circuit Breakers
91 | 4800 | 19 | 1 | 5 | 46 | 5.46 |  | 10 Ampere S.P. 6 kA | No | 5 |  | 0
92 | 4801 | 19 | 1 | 5 | 47 | 5.47 |  | 20 Ampere S.P. 6 kA | No | 3 |  | 0
93 | 4802 | 19 | 1 | 5 |  | 5 |  | Earth Leakage Units
94 | 4803 | 19 | 1 | 5 | 48 | 5.48 |  | 60 Ampere single phase 6 kA 30 mA | No | 1 |  | 0
95 | 4804 | 19 | 1 | 5 |  | 5 |  | Moulded Case Isolators
96 | 4805 | 19 | 1 | 5 | 49 | 5.49 |  | 60 Amp S.P. 6 kA | No | 0 |  | 0
97 | 4806 | 19 | 1 | 5 | 50 | 5.5 |  | 20 Ampere D.P. 6 kA | No | 2 |  | 0
98 | 4807 | 19 | 1 | 5 | 51 | 5.51 |  | 60 Ampere T.P. 6 kA | No | 0 |  | 0
99 | 4808 | 19 | 1 | 5 |  | 5 |  | Lightning Arrestors
100 | 4809 | 19 | 1 | 5 | 52 | 5.52 |  | Domestic S.P. 6 kA | No | 1 |  | 0
101 | 4810 | 19 | 1 | 6 |  | 6 |  | Contactors
102 | 4811 | 19 | 1 | 6 | 53 | 6.53 |  | 13A 3-Pole | No | 1 |  | 0
103 | 4812 | 19 | 1 | 6 |  | 6 |  | Labels
104 | 5760 | 19 | 1 | 6 | 54 | 6.54 |  | Danger sign and labels as specified (each DB's) | No | 5 |  | 0
105 | 4814 | 19 | 1 | 6 |  | 6 |  | Existing Block 2 (4 x Classroom) DB
106 | 4815 | 19 | 1 | 6 |  | 6 |  | Refurbish the existing Distribution board complete with doors, frames, sub- frames, chassis, fixtures, fittings, terminations, busbars and wiring with spare space as per specification as well as security detail.
107 | 4816 | 19 | 1 | 6 | 55 | 6.55 |  | Material and labour excluding the items listed hereunder | No | 1 |  | 0
108 | 4817 | 19 | 1 | 6 |  | 6 |  | Equipment provided in Distribution Board
109 | 4818 | 19 | 1 | 6 |  | 6 |  | Moulded Case Circuit Breakers
110 | 4819 | 19 | 1 | 6 | 56 | 6.56 |  | 10 Ampere S.P. 6 kA | No | 2 |  | 0
111 | 4820 | 19 | 1 | 6 | 57 | 6.57 |  | 20 Ampere S.P. 6 kA | No | 2 |  | 0
112 | 4821 | 19 | 1 | 6 |  | 6 |  | Earth Leakage Units
113 | 4822 | 19 | 1 | 6 | 58 | 6.58 |  | 60 Ampere single phase 6 kA 30 mA | No | 1 |  | 0
114 | 4823 | 19 | 1 | 6 |  | 6 |  | Moulded Case Isolators
115 | 4824 | 19 | 1 | 6 | 59 | 6.59 |  | 60 Ampere S.P. 6 kA | No | 0 |  | 0
116 | 4825 | 19 | 1 | 6 |  | 6 |  | Lightning Arrestors
117 | 4826 | 19 | 1 | 6 | 60 | 6.6 |  | Domestic S.P. 6 kA | No | 1 |  | 0
118 | 4827 | 19 | 1 | 6 |  | 6 |  | Contactors
119 | 4828 | 19 | 1 | 6 | 61 | 6.61 |  | 13A 3-Pole | No | 1 |  | 0
120 | 4829 | 19 | 1 | 6 |  | 6 |  | Labels
121 | 5761 | 19 | 1 | 6 | 62 | 6.62 |  | Danger sign and labels as specified (each DB's) | No | 5 |  | 0
122 | 4831 | 19 | 1 | 7 |  | 7 |  | Existing Block 3 (4 x Classroom) DB
123 | 4832 | 19 | 1 | 7 |  | 7 |  | Refurbish the existing Distribution board complete with doors, frames, sub- frames, chassis, fixtures, fittings, terminations, busbars and wiring with spare space as per specification as well as security detail.
124 | 4833 | 19 | 1 | 7 | 63 | 7.63 |  | Material and labour excluding the items listed hereunder | No | 1 |  | 0
125 | 4834 | 19 | 1 | 7 |  | 7 |  | Equipment provided in Distribution Board
126 | 4835 | 19 | 1 | 7 |  | 7 |  | Moulded Case Circuit Breakers
127 | 4836 | 19 | 1 | 7 | 64 | 7.64 |  | 10 Ampere S.P. 6 kA | No | 2 |  | 0
128 | 4837 | 19 | 1 | 7 | 65 | 7.65 |  | 20 Ampere S.P. 6 kA | No | 2 |  | 0
129 | 4838 | 19 | 1 | 7 |  | 7 |  | Earth Leakage Units
130 | 4839 | 19 | 1 | 7 | 66 | 7.66 |  | 60 Ampere single phase 6 kA 30 mA | No | 1 |  | 0
131 | 4840 | 19 | 1 | 7 |  | 7 |  | Moulded Case Isolators
132 | 4841 | 19 | 1 | 7 | 67 | 7.67 |  | 60 Ampere T.P. 6 kA | No | 0 |  | 0
133 | 4842 | 19 | 1 | 7 |  | 7 |  | Lightning Arrestors
134 | 4843 | 19 | 1 | 7 | 68 | 7.68 |  | Domestic S.P. 6 kA | No | 1 |  | 0
135 | 4844 | 19 | 1 | 7 |  | 7 |  | Contactors
136 | 4845 | 19 | 1 | 7 | 69 | 7.69 |  | 13A 3-Pole | No | 1 |  | 0
137 | 4846 | 19 | 1 | 7 |  | 7 |  | Labels
138 | 5762 | 19 | 1 | 7 | 70 | 7.7 |  | Danger sign and labels as specified (each DB's) | No | 5 |  | 0
139 | 4848 | 19 | 1 | 7 |  | 7 |  | Existing Block 4 (4 x Classroom) DB
140 | 4849 | 19 | 1 | 7 |  | 7 |  | Refurbish the existing Distribution board Supply and install flush mounted distribution board complete with doors, frames, sub- frames, chassis, fixtures, fittings, terminations, busbars and wiring with spare space as per specification as well as security detail.
141 | 4850 | 19 | 1 | 7 | 71 | 7.71 |  | Material and labour excluding the items listed hereunder | No | 1 |  | 0
142 | 4851 | 19 | 1 | 8 |  | 8 |  | Equipment provided in Distribution Board
143 | 4852 | 19 | 1 | 8 |  | 8 |  | Moulded Case Circuit Breakers
144 | 4853 | 19 | 1 | 8 | 72 | 8.72 |  | 10 Ampere S.P. 6 kA | No | 2 |  | 0
145 | 4854 | 19 | 1 | 8 | 73 | 8.73 |  | 20 Ampere S.P. 6 kA | No | 2 |  | 0
146 | 4855 | 19 | 1 | 8 |  | 8 |  | Earth Leakage Unit
147 | 4856 | 19 | 1 | 8 | 74 | 8.74 |  | 60 Ampere Single Phase 6 kA 30mA | No | 1 |  | 0
148 | 4857 | 19 | 1 | 8 |  | 8 |  | Moulded Case Isolators
149 | 4858 | 19 | 1 | 8 | 75 | 8.75 |  | 60 Ampere D.P. 6 kA | No | 0 |  | 0
150 | 4859 | 19 | 1 | 8 | 76 | 8.76 |  | 60 Ampere D.P. 6 kA | No | 0 |  | 0
151 | 4860 | 19 | 1 | 8 |  | 8 |  | Lightning Arrestors
152 | 4861 | 19 | 1 | 8 | 77 | 8.77 |  | Domestic S.P. 6 kA | No | 1 |  | 0
153 | 4862 | 19 | 1 | 8 |  | 8 |  | Contactors
154 | 4863 | 19 | 1 | 8 | 78 | 8.78 |  | 13A 3-Pole | No | 1 |  | 0
155 | 4864 | 19 | 1 | 8 |  | 8 |  | Labels
156 | 5763 | 19 | 1 | 8 | 79 | 8.79 |  | Danger sign and labels as specified (each DB's) | No | 5 |  | 0
157 | 4866 | 19 | 1 | 8 |  | 8 |  | Existing (Library,Multipurpose ,Maths & Science)
158 | 4867 | 19 | 1 | 8 |  | 8 |  | Refurbish the existing Distribution board Supply and install flush mounted distribution board complete with doors, frames, sub- frames, chassis, fixtures, fittings, terminations, busbars and wiring with spare space as per specification as well as security detail.
159 | 4868 | 19 | 1 | 8 | 80 | 8.8 |  | Material and labour excluding the items listed hereunder | No | 1 |  | 0
160 | 4869 | 19 | 1 | 8 |  | 8 |  | Equipment provided in Distribution Board
161 | 4870 | 19 | 1 | 8 |  | 8 |  | Moulded Case Circuit Breakers
162 | 4871 | 19 | 1 | 8 | 81 | 8.81 |  | 10 Ampere S.P. 6 kA | No | 6 |  | 0
163 | 4872 | 19 | 1 | 9 | 82 | 9.82 |  | 20 Ampere S.P. 6 kA | No | 6 |  | 0
164 | 4873 | 19 | 1 | 9 |  | 9 |  | Earth Leakage Unit
165 | 4874 | 19 | 1 | 9 | 83 | 9.83 |  | 60 Ampere Single Phase 6 kA 30mA | No | 3 |  | 0
166 | 4875 | 19 | 1 | 9 |  | 9 |  | Moulded Case Isolators
167 | 4876 | 19 | 1 | 9 | 84 | 9.84 |  | 60 Ampere D.P. 6 kA | No | 0 |  | 0
168 | 4877 | 19 | 1 | 9 | 85 | 9.85 |  | 60 Ampere D.P. 6 kA | No | 0 |  | 0
169 | 4878 | 19 | 1 | 9 |  | 9 |  | Lightning Arrestors
170 | 4879 | 19 | 1 | 9 | 86 | 9.86 |  | Domestic S.P. 6 kA | No | 1 |  | 0
171 | 4880 | 19 | 1 | 9 |  | 9 |  | Contactors
172 | 4881 | 19 | 1 | 9 | 87 | 9.87 |  | 13A 3-Pole | No | 1 |  | 0
173 | 4882 | 19 | 1 | 9 |  | 9 |  | Labels
174 | 5764 | 19 | 1 | 9 | 88 | 9.88 |  | Danger sign and labels as specified (each DB's) | No | 5 |  | 0
175 | 4884 | 19 | 1 | 9 |  | 9 |  | AREA LIGHTS
176 | 4885 | 19 | 1 | 9 |  | 9 |  | Installed and mounted on poles, including poles, excavation to install poles, lamps, 5A circuit breaker and 2 x 2.5mm"² PVC conductors from circuit breaker to luminaire on top of pole.
177 | 4886 | 19 | 1 | 9 |  | 9 |  | Type S
178 | 4887 | 19 | 1 | 9 |  | 9 |  | 100W HPS lamp streetlight fitting on 3.6m
179 | 4888 | 19 | 1 | 9 | 89 | 9.89 |  | (3.0m m/h) pole. | No | 15 |  | 0
180 | 4889 | 19 | 1 | 10 |  | 10 |  | Low Voltage Cables
181 | 4890 | 19 | 1 | 10 |  | 10 |  | 600/1000V grade PVC/PVC/SWA/PVC stranded copper conductor cable (termina- tions and earth conductors elsewhere measured)
182 | 4891 | 19 | 1 | 10 |  | 10 |  | Cable laid in trenching (excavations elsewhere measured)
183 | 4892 | 19 | 1 | 10 | 90 | 10.9 |  | 2,5mm"² x 3-core | m | 0 |  | 0
184 | 4893 | 19 | 1 | 10 | 91 | 10.91 |  | 4mm"² x 4-core | m | 600 |  | 0
185 | 4894 | 19 | 1 | 10 | 92 | 10.92 |  | 6mm"² x 4-core | m | 0 |  | 0
186 | 4895 | 19 | 1 | 10 | 93 | 10.93 |  | 6mm"² x 3-core | m | 0 |  | 0
187 | 4896 | 19 | 1 | 10 | 94 | 10.94 |  | 10mm"² x 3-core | m | 300 |  | 0
188 | 4897 | 19 | 1 | 10 | 95 | 10.95 |  | 10mm"² x 4-core | m | 0 |  | 0
189 | 4898 | 19 | 1 | 10 | 96 | 10.96 |  | 16mm"² x 3-core | m | 200 |  | 0
190 | 4899 | 19 | 1 | 10 | 97 | 10.97 |  | 16mm"² x 4-core | m | 100 |  | 0
191 | 4900 | 19 | 1 | 10 | 98 | 10.98 |  | 25mm"² x 4-core | m | 50 |  | 0
192 | 4901 | 19 | 1 | 10 | 99 | 10.99 |  | 35mm"² x 4-core | m | 0 |  | 0
193 | 4902 | 19 | 1 | 10 | 100 | 10.1 |  | 70mm"² x 4-core | m | 0 |  | 0
194 | 4903 | 19 | 1 | 10 |  | 10 |  | Cable Terminations complete including glands, shrouds, lugs, connections and commissioning
195 | 4904 | 19 | 1 | 10 | 101 | 10.101 |  | 2,5mm"² x 3-core | No | 0 |  | 0
196 | 4905 | 19 | 1 | 10 | 102 | 10.102 |  | 4mm"² x 4-core | No | 100 |  | 0
197 | 4906 | 19 | 1 | 10 | 103 | 10.103 |  | 6mm"² x 4-core | No | 0 |  | 0
198 | 4907 | 19 | 1 | 10 | 104 | 10.104 |  | 6mm"² x 3-core | No | 0 |  | 0
199 | 4908 | 19 | 1 | 10 | 105 | 10.105 |  | 10mm"² x 3-core | No | 12 |  | 0
200 | 4909 | 19 | 1 | 10 | 106 | 10.106 |  | 10mm"² x 4-core | No | 0 |  | 0
201 | 4910 | 19 | 1 | 11 | 107 | 11.107 |  | 16mm"² x 3-core | No | 4 |  | 0
202 | 4911 | 19 | 1 | 11 | 108 | 11.108 |  | 16mm"² x 4-core | No | 2 |  | 0
203 | 4912 | 19 | 1 | 11 | 109 | 11.109 |  | 25mm"² x 4-core | No | 2 |  | 0
204 | 4913 | 19 | 1 | 11 | 110 | 11.11 |  | 35mm"² x 4-core | No | 0 |  | 0
205 | 4914 | 19 | 1 | 11 | 111 | 11.111 |  | 70mm"² x 4-core | No | 2 |  | 0
206 | 4915 | 19 | 1 | 11 |  | 11 |  | Bare Stranded Copper Earth Wire strapped to Cables (terminations elsewhere measured)
207 | 4916 | 19 | 1 | 11 | 112 | 11.112 |  | 2.5mm"² (Insulated) | m | 600 |  | 0
208 | 4917 | 19 | 1 | 11 | 113 | 11.113 |  | 4mm"² BCEW | m | 0 |  | 0
209 | 4918 | 19 | 1 | 11 | 114 | 11.114 |  | 6mm"² BCEW | m | 0 |  | 0
210 | 4919 | 19 | 1 | 11 | 115 | 11.115 |  | 10mm"² BCEW | m | 100 |  | 0
211 | 4920 | 19 | 1 | 11 | 116 | 11.116 |  | 16mm"² BCEW | m | 50 |  | 0
212 | 4921 | 19 | 1 | 11 | 117 | 11.117 |  | 25mm"² BCEW | m | 0 |  | 0
213 | 4922 | 19 | 1 | 11 | 118 | 11.118 |  | 35mm"² BCEW | m | 0 |  | 0
214 | 4923 | 19 | 1 | 11 |  | 11 |  | Bare Stranded Copper Earth Wire
215 | 4924 | 19 | 1 | 11 |  | 11 |  | Terminations complete including drilling, bolting, lugs, connections and commissioning
216 | 4925 | 19 | 1 | 11 | 119 | 11.119 |  | 2.5mm"² (Insulated) | No | 30 |  | 0
217 | 4926 | 19 | 1 | 11 | 120 | 11.12 |  | 4mm"² BCEW | No | 0 |  | 0
218 | 4927 | 19 | 1 | 11 | 121 | 11.121 |  | 6mm"² x BCEW | No | 0 |  | 0
219 | 4928 | 19 | 1 | 11 | 122 | 11.122 |  | 10mm"² BCEW | No | 2 |  | 0
220 | 4929 | 19 | 1 | 11 | 123 | 11.123 |  | 16mm"² BCEW | No | 2 |  | 0
221 | 4930 | 19 | 1 | 11 | 124 | 11.124 |  | 25mm"² BCEW | No | 0 |  | 0
222 | 4931 | 19 | 1 | 11 | 125 | 11.125 |  | 35mm"² BCEW | No | 0 |  | 0
223 | 4932 | 19 | 1 | 12 |  | 12 |  | EXCAVATIONS
224 | 4933 | 19 | 1 | 12 |  | 12 |  | All excavations, back filling and compaction
225 | 4934 | 19 | 1 | 12 |  | 12 |  | Excavate for cable and sleeve trench including temporary support of sides, keeping excavations dry, backfilling and compacting to the Engineer's specification
226 | 4935 | 19 | 1 | 12 | 126 | 12.126 |  | Pickable Soil | m³ | 600 |  | 0
227 | 4936 | 19 | 1 | 12 | 127 | 12.127 |  | For Soft Rock | m³ | 70 |  | 0
228 | 4937 | 19 | 1 | 12 | 128 | 12.128 |  | For Hard Rock | m³ | 70 |  | 0
229 | 4938 | 19 | 1 | 12 |  | 12 |  | Bedding under and filling around cables
230 | 4939 | 19 | 1 | 12 | 129 | 12.129 |  | comprising sifted sand | m³ | 50 |  | 0
231 | 4940 | 19 | 1 | 12 |  | 12 |  | CABLE MARKERS
232 | 4941 | 19 | 1 | 12 | 130 | 12.13 |  | PVC warning marking tape | m | 1000 |  | 0
233 | 4942 | 19 | 1 | 12 | 131 | 12.131 |  | Concrete route markers | No | 0 |  | 0
234 | 4943 | 19 | 1 | 12 |  | 12 |  | MANHOLES
235 | 4944 | 19 | 1 | 12 | 132 | 12.132 |  | 600 x 600 x 800 mm | No | 7 |  | 0
236 | 4945 | 19 | 1 | 12 |  | 12 |  | SLEEVES
237 | 4946 | 19 | 1 | 12 | 133 | 12.133 |  | 110mm dia | m | 50 |  | 0
238 | 4947 | 19 | 1 | 12 | 134 | 12.134 |  | 75mm dia | m | 0 |  | 0
239 | 4948 | 19 | 1 | 12 | 135 | 12.135 |  | 50mm dia | m | 150 |  | 0
240 | 4949 | 19 | 1 | 12 | 136 | 12.136 |  | 32mm dia | m | 100 |  | 0
241 | 4950 | 19 | 1 | 12 |  | 12 |  | DRAW WIRE
242 | 4951 | 19 | 1 | 12 | 137 | 12.137 |  | Galvanised 1,6mm dia. draw wire | m | 1000 |  | 0
243 | 4952 | 19 | 1 | 13 |  | 13 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
244 | 4953 | 19 | 1 | 13 | 138 | 13.138 |  | Draw box with tamper proof cover | No | 0 |  | 0
245 | 4954 | 19 | 1 | 13 |  | 13 |  | BELLS AND SMALL POWER
246 | 4955 | 19 | 1 | 13 |  | 13 |  | Conduit and accessories as specified in Part 2
247 | 4956 | 19 | 1 | 13 |  | 13 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles
248 | 4957 | 19 | 1 | 13 | 139 | 13.139 |  | 20mm | m | 350 |  | 0
249 | 4958 | 19 | 1 | 13 | 140 | 13.14 |  | 32mm | m | 750 |  | 0
250 | 4959 | 19 | 1 | 13 |  | 13 |  | Round conduit box as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork or surface mounted including locknuts and bushes
251 | 4960 | 19 | 1 | 13 | 141 | 13.141 |  | 60mm deep | No | 5 |  | 0
252 | 4961 | 19 | 1 | 13 |  | 13 |  | Wall boxes as specified in part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
253 | 4962 | 19 | 1 | 13 | 142 | 13.142 |  | 100 x 50 x 50mm | No | 5 |  | 0
254 | 4963 | 19 | 1 | 13 | 143 | 13.143 |  | 300 x 300 x 75mm including door as specified | No | 2 |  | 0
255 | 4964 | 19 | 1 | 13 |  | 13 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs
256 | 4965 | 19 | 1 | 13 | 144 | 13.144 |  | 100 x 100mm | No | 5 |  | 0
257 | 4966 | 19 | 1 | 13 |  | 13 |  | CONDUCTORS
258 | 4967 | 19 | 1 | 14 |  | 14 |  | 600/1000V grade PVC insulated stranded copper conductors drawn into conduit
259 | 4968 | 19 | 1 | 14 | 145 | 14.145 |  | 2,5mm"² | m | 1100 |  | 0
260 | 4969 | 19 | 1 | 14 |  | 14 |  | Bare stranded copper earth conductors drawn into Conduits
261 | 4970 | 19 | 1 | 14 | 146 | 14.146 |  | 2,5mm"² | m | 600 |  | 0
262 | 4971 | 19 | 1 | 14 |  | 14 |  | APPLIANCES
263 | 4972 | 19 | 1 | 14 |  | 14 |  | Appliances complete with cover plates fixed in flush boxes (boxes elsewhere measured)
264 | 4973 | 19 | 1 | 14 |  | 14 |  | Bell Switch
265 | 4974 | 19 | 1 | 14 | 147 | 14.147 |  | 16 Ampere 250V grade | No | 1 |  | 0
266 | 4975 | 19 | 1 | 14 | 148 | 14.148 |  | 16 Ampere 250V Photocell | No | 2 |  | 0
268 | 4642 | 19 | 2 | 16 |  | 16 |  | SECTION NO. 19 BILL NO. 2
269 | 4976 | 19 | 2 | 16 |  | 16 |  | ADMIN BLOCK, INTERNAL ELECTRICAL INSTALLATION
270 | 4978 | 19 | 2 | 16 |  | 16 |  | Tenderers are advised to study the specification before pricing the bill.
271 | 4980 | 19 | 2 | 16 |  | 16 |  | (Complete installation : Internal Electrical Installation)
272 | 4981 | 19 | 2 | 16 |  | 16 |  | SMALL POWER AND LIGHTING
273 | 4982 | 19 | 2 | 16 |  | 16 |  | Conduit and accessories as specified in Part 2
274 | 4983 | 19 | 2 | 16 |  | 16 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles.
275 | 4984 | 19 | 2 | 16 | 1 | 16.1 |  | 20mm | m | 300 |  | 0
276 | 4985 | 19 | 2 | 16 | 2 | 16.2 |  | 25mm | m | 100 |  | 0
277 | 4986 | 19 | 2 | 16 | 3 | 16.3 |  | Two Compartment steel power skirting or equal powder coated c/w covers | m | 80 |  | 0
278 | 4987 | 19 | 2 | 16 |  | 16 |  | Round conduit box as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork or surface mounted including locknuts and bushes
279 | 4988 | 19 | 2 | 16 | 4 | 16.4 |  | 60mm deep | No | 22 |  | 0
280 | 4989 | 19 | 2 | 16 |  | 16 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
281 | 4990 | 19 | 2 | 16 |  | 16 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
282 | 4991 | 19 | 2 | 16 | 5 | 16.5 |  | 100 x 50mm | No | 17 |  | 0
283 | 4992 | 19 | 2 | 17 | 6 | 17.6 |  | 100 x 100mm | No | 26 |  | 0
284 | 4993 | 19 | 2 | 17 | 7 | 17.7 |  | Isolator | No | 3 |  | 0
285 | 4994 | 19 | 2 | 17 |  | 17 |  | Blank Covers
286 | 4995 | 19 | 2 | 17 | 8 | 17.8 |  | 100mm dia | No | 4 |  | 0
287 | 4996 | 19 | 2 | 17 |  | 17 |  | Conductors
288 | 4997 | 19 | 2 | 17 |  | 17 |  | 600/1000V grade PVC insulated stranded copper conductors drawn into conduit
289 | 4998 | 19 | 2 | 17 | 9 | 17.9 |  | 2,5mm"² | m | 600 |  | 0
290 | 4999 | 19 | 2 | 17 | 10 | 17.1 |  | 4,0mm"² | m | 700 |  | 0
291 | 5000 | 19 | 2 | 17 | 11 | 17.11 |  | 6,0mm"² | m | 50 |  | 0
292 | 5001 | 19 | 2 | 17 |  | 17 |  | Bare stranded copper earth conductors drawn into conduits
293 | 5002 | 19 | 2 | 17 | 12 | 17.12 |  | 2,5mm"² | m | 1300 |  | 0
294 | 5003 | 19 | 2 | 17 | 13 | 17.13 |  | 4,0mm"² | m | 5 |  | 0
295 | 5004 | 19 | 2 | 17 |  | 17 |  | Appliances
296 | 5005 | 19 | 2 | 17 |  | 17 |  | Complete with cover plate fixed in flush boxes (boxes elsewhere measured)
297 | 5006 | 19 | 2 | 17 |  | 17 |  | Socket Outlets
298 | 5007 | 19 | 2 | 17 |  | 17 |  | 16 Ampere round 3-pin 250V grade
299 | 5008 | 19 | 2 | 17 | 14 | 17.14 |  | Switched socket outlet | No | 26 |  | 0
300 | 5009 | 19 | 2 | 17 |  | 17 |  | Light Switches
301 | 5010 | 19 | 2 | 17 | 15 | 17.15 |  | 16 Ampere 250V grade single lever one way | No | 12 |  | 0
302 | 5011 | 19 | 2 | 17 | 16 | 17.16 |  | 16 Ampere 250V grade single lever two way | No | 2 |  | 0
303 | 5012 | 19 | 2 | 17 | 17 | 17.17 |  | 16 Ampere 250V grade two lever 1 way | No | 3 |  | 0
304 | 5013 | 19 | 2 | 18 |  | 18 |  | Sleeves
305 | 5014 | 19 | 2 | 18 | 18 | 18.18 |  | 100mm dia | m | 0 |  | 0
306 | 5015 | 19 | 2 | 18 | 19 | 18.19 |  | 75mm dia | m | 0 |  | 0
307 | 5016 | 19 | 2 | 18 | 20 | 18.2 |  | 50mm dia | m | 0 |  | 0
308 | 5017 | 19 | 2 | 18 | 21 | 18.21 |  | 32mm dia | m | 0 |  | 0
310 | 4646 | 19 | 3 | 20 |  | 20 |  | SECTION NO. 19 BILL NO. 3
311 | 5765 | 19 | 3 | 20 |  | 20 |  | ADMIN BLOCK, LUMINAIRES AND WIREWAYS FOR TELEPHONE AND INTERCOM SYSTEM
312 | 5020 | 19 | 3 | 20 |  | 20 |  | (Complete installation : wireways for telephone and intercom system)
313 | 5021 | 19 | 3 | 20 |  | 20 |  | WIREWAYS AND LUMINAIRES
314 | 5022 | 19 | 3 | 20 |  | 20 |  | Conduit & accessories as specified in Part 2
315 | 5023 | 19 | 3 | 20 |  | 20 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles
316 | 5024 | 19 | 3 | 20 | 1 | 20.1 |  | 20mm | m | 100 |  | 0
317 | 5025 | 19 | 3 | 20 | 2 | 20.2 |  | 25mm | m | 50 |  | 0
318 | 5026 | 19 | 3 | 20 |  | 20 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
319 | 5027 | 19 | 3 | 20 |  | 20 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
320 | 5028 | 19 | 3 | 20 | 3 | 20.3 |  | 100 x 100mm | No | 4 |  | 0
321 | 5029 | 19 | 3 | 20 | 4 | 20.4 |  | 300 x 300 x 75mm including door as specified | No | 0 |  | 0
322 | 5030 | 19 | 3 | 20 |  | 20 |  | Blank Covers
323 | 5031 | 19 | 3 | 20 | 5 | 20.5 |  | 100 x 100mm | No | 0 |  | 0
324 | 5032 | 19 | 3 | 20 |  | 20 |  | DRAW WIRE
325 | 5033 | 19 | 3 | 20 | 6 | 20.6 |  | Galvanised 1,6mm draw wire | m | 270 |  | 0
326 | 5034 | 19 | 3 | 21 |  | 21 |  | APPLIANCES
327 | 5035 | 19 | 3 | 21 |  | 21 |  | Surface mounted appliance complete
328 | 5036 | 19 | 3 | 21 | 7 | 21.7 |  | 16 Ampere photo cell in an empty luminaire | No | 1 |  | 0
329 | 5037 | 19 | 3 | 21 |  | 21 |  | SLEEVES
330 | 5038 | 19 | 3 | 21 | 8 | 21.8 |  | 100mm dia | m | 0 |  | 0
331 | 5039 | 19 | 3 | 21 | 9 | 21.9 |  | 50mm dia | m | 0 |  | 0
332 | 5040 | 19 | 3 | 21 |  | 21 |  | LUMINAIRES
333 | 5041 | 19 | 3 | 21 |  | 21 |  | Installed and mounted to round boxes in brickwork or ceiling including all fixings, brackets, supports, connectors, connections and lamps, see Part 2
334 | 5042 | 19 | 3 | 21 |  | 21 |  | Type A
335 | 5043 | 19 | 3 | 21 | 10 | 21.1 |  | 2 - lamp 58W fluorescent luminaire see Part 2 | No | 26 |  | 0
336 | 5044 | 19 | 3 | 21 |  | 21 |  | Type B
337 | 5045 | 19 | 3 | 21 | 11 | 21.11 |  | 1 - lamp 58W fluorescent luminaire see Part 2 | No | 2 |  | 0
338 | 5046 | 19 | 3 | 21 |  | 21 |  | Type C
339 | 5047 | 19 | 3 | 21 |  | 21 |  | Bulkhead luminaire with polycarbonate lens
340 | 5048 | 19 | 3 | 21 | 12 | 21.12 |  | Part 2 | No | 22 |  | 0
341 | 5049 | 19 | 3 | 21 |  | 21 |  | Type L
342 | 5050 | 19 | 3 | 21 | 13 | 21.13 |  | 2 " Lamp 58W fluorescent luminaire see Part 2 | No | 0 |  | 0
343 | 5051 | 19 | 3 | 21 |  | 21 |  | Type M
344 | 5052 | 19 | 3 | 21 | 14 | 21.14 |  | As C with red lens | No | 1 |  | 0
345 | 5053 | 19 | 3 | 21 |  | 21 |  | TELEPHONE DISTRIBUTION BOARD
346 | 5054 | 19 | 3 | 21 | 15 | 21.15 |  | Flush mounted telephone distribution board size 450 x 450 x 180mm flush mounted complete with doors, frames, sub-frames, fixtures and 20mm thick soft board | No | 0 |  | 0
347 | 5055 | 19 | 3 | 22 |  | 22 |  | TESTING AND COMMISSIONING
348 | 5057 | 19 | 3 | 22 | 16 | 22.16 |  | Test and commission of the complete electrical installation | Item | 1 |  | 0
350 | 4650 | 19 | 4 | 24 |  | 24 |  | SECTION NO. 19 BILL NO. 4
351 | 5058 | 19 | 4 | 24 |  | 24 |  | New Grade R INTERNAL ELECTRICAL INSTALLATION
352 | 5060 | 19 | 4 | 24 |  | 24 |  | NOTE:
353 | 5061 | 19 | 4 | 24 |  | 24 |  | Tenderers are advised to study the specification before pricing the bill.
354 | 5063 | 19 | 4 | 24 |  | 24 |  | (Complete installation : Internal Electrical Installation)
355 | 5064 | 19 | 4 | 24 |  | 24 |  | SMALL POWER AND LIGHTING
356 | 5065 | 19 | 4 | 24 |  | 24 |  | Conduit and accessories as specified in Part 2
357 | 5066 | 19 | 4 | 24 |  | 24 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles.
358 | 5067 | 19 | 4 | 24 | 1 | 24.1 |  | 20mm | m | 200 |  | 0
359 | 5068 | 19 | 4 | 24 |  | 24 |  | Round conduit box as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork or surface mounted including locknuts and bushes
360 | 5069 | 19 | 4 | 24 | 2 | 24.2 |  | 60mm deep | No | 8 |  | 0
361 | 5070 | 19 | 4 | 24 |  | 24 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
362 | 5071 | 19 | 4 | 24 |  | 24 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
363 | 5072 | 19 | 4 | 24 | 3 | 24.3 |  | 100 x 50mm | No | 10 |  | 0
364 | 5073 | 19 | 4 | 24 | 4 | 24.4 |  | 100 x 100mm | No | 2 |  | 0
365 | 5074 | 19 | 4 | 25 |  | 25 |  | Blank Covers
366 | 5075 | 19 | 4 | 25 | 5 | 25.5 |  | 100mm dia | No | 0 |  | 0
367 | 5076 | 19 | 4 | 25 | 6 | 25.6 |  | 100 x 100mm | No | 0 |  | 0
368 | 5077 | 19 | 4 | 25 |  | 25 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs.
369 | 5078 | 19 | 4 | 25 | 7 | 25.7 |  | 300 x 300mm | No | 0 |  | 0
370 | 5079 | 19 | 4 | 25 |  | 25 |  | CONDUCTORS
371 | 5080 | 19 | 4 | 25 |  | 25 |  | 600/1000V grade PVC insulated stranded copper conductors drawn into conduit
372 | 5081 | 19 | 4 | 25 | 8 | 25.8 |  | 2,5mm"² | m | 400 |  | 0
373 | 5082 | 19 | 4 | 25 | 9 | 25.9 |  | 4,0mm"² | m | 400 |  | 0
374 | 5083 | 19 | 4 | 25 | 10 | 25.1 |  | 6,0mm"² | m | 0 |  | 0
375 | 5084 | 19 | 4 | 25 |  | 25 |  | Bare stranded copper earth conductors drawn into conduits
376 | 5085 | 19 | 4 | 25 | 11 | 25.11 |  | 2,5mm"² | m | 400 |  | 0
377 | 5086 | 19 | 4 | 25 | 12 | 25.12 |  | 4,0mm"² | m | 0 |  | 0
378 | 5087 | 19 | 4 | 25 |  | 25 |  | APPLIANCES
379 | 5088 | 19 | 4 | 25 |  | 25 |  | Complete with cover plate fixed in flush boxes (boxes elsewhere measured)
380 | 5089 | 19 | 4 | 25 |  | 25 |  | Socket Outlets
381 | 5090 | 19 | 4 | 25 |  | 25 |  | 16 Ampere round 3-pin 250V grade
382 | 5091 | 19 | 4 | 25 | 13 | 25.13 |  | Switched socket outlet | No | 2 |  | 0
383 | 5092 | 19 | 4 | 25 |  | 25 |  | Light Switches
384 | 5093 | 19 | 4 | 25 | 14 | 25.14 |  | 16 Ampere 250V grade single lever one way | No | 4 |  | 0
385 | 5094 | 19 | 4 | 26 | 15 | 26.15 |  | 16 Ampere 250V grade single lever two way | No | 4 |  | 0
386 | 5095 | 19 | 4 | 26 | 16 | 26.16 |  | 16 Ampere 250V grade two lever 1 way | No | 2 |  | 0
387 | 5096 | 19 | 4 | 26 |  | 26 |  | SLEEVES
388 | 5097 | 19 | 4 | 26 | 17 | 26.17 |  | 50mm dia | m | 0 |  | 0
390 | 4654 | 19 | 5 | 28 |  | 28 |  | SECTION NO. 19 BILL NO. 5
391 | 5766 | 19 | 5 | 28 |  | 28 |  | New Grade R LUMINAIRES AND WIREWAYS FOR TELEPHONE AND INTERCOM SYSTEM
392 | 5099 | 19 | 5 | 28 |  | 28 |  | (Complete installation : wireways for telephone and intercom system)
393 | 5100 | 19 | 5 | 28 |  | 28 |  | WIREWAYS AND LUMINAIRES
394 | 5101 | 19 | 5 | 28 |  | 28 |  | Conduit & accessories as specified in Part 2
395 | 5102 | 19 | 5 | 28 |  | 28 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles
396 | 5103 | 19 | 5 | 28 | 1 | 28.1 |  | 25mm | m | 0 |  | 0
397 | 5104 | 19 | 5 | 28 |  | 28 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
398 | 5105 | 19 | 5 | 28 |  | 28 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
399 | 5106 | 19 | 5 | 28 | 2 | 28.2 |  | 100 x 100mm | No | 0 |  | 0
400 | 5107 | 19 | 5 | 28 | 3 | 28.3 |  | 300 x 300 x 75mm including door as specified | No | 0 |  | 0
401 | 5108 | 19 | 5 | 28 |  | 28 |  | Blank Covers
402 | 5109 | 19 | 5 | 28 | 4 | 28.4 |  | 100 x 100mm | No | 0 |  | 0
403 | 5110 | 19 | 5 | 28 |  | 28 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs.
404 | 5111 | 19 | 5 | 28 | 5 | 28.5 |  | 100 x 100mm | No | 0 |  | 0
405 | 5112 | 19 | 5 | 29 |  | 29 |  | DRAW WIRE
406 | 5113 | 19 | 5 | 29 | 6 | 29.6 |  | Galvanised 1,6mm draw wire | m | 0 |  | 0
407 | 5114 | 19 | 5 | 29 |  | 29 |  | APPLIANCES
408 | 5115 | 19 | 5 | 29 |  | 29 |  | Surface mounted appliance complete
409 | 5116 | 19 | 5 | 29 | 7 | 29.7 |  | 16 Ampere photo cell in an empty luminaire | No | 1 |  | 0
410 | 5117 | 19 | 5 | 29 |  | 29 |  | SLEEVES
411 | 5118 | 19 | 5 | 29 | 8 | 29.8 |  | 50mm dia | m | 0 |  | 0
412 | 5119 | 19 | 5 | 29 | 9 | 29.9 |  | 32mm dia | m | 0 |  | 0
413 | 5120 | 19 | 5 | 29 |  | 29 |  | LUMINAIRES
414 | 5121 | 19 | 5 | 29 |  | 29 |  | Installed and mounted to round boxes in brickwork or ceiling including all fixings, brackets, supports, connectors, connections and lamps
415 | 5122 | 19 | 5 | 29 |  | 29 |  | Type A
416 | 5123 | 19 | 5 | 29 | 10 | 29.1 |  | 2 - lamp 58W fluorescent luminaire see Part 2 | No | 10 |  | 0
417 | 5124 | 19 | 5 | 29 |  | 29 |  | Type B
418 | 5125 | 19 | 5 | 29 | 11 | 29.11 |  | 1 - lamp 58W fluorescent luminaire see Part 2 | No | 0 |  | 0
419 | 5126 | 19 | 5 | 29 |  | 29 |  | Type C
420 | 5127 | 19 | 5 | 29 |  | 29 |  | Bulkhead luminaire with polycarbonate lens see
421 | 5128 | 19 | 5 | 29 | 12 | 29.12 |  | Part 2 | No | 26 |  | 0
422 | 5129 | 19 | 5 | 29 |  | 29 |  | Type D
423 | 5130 | 19 | 5 | 29 |  | 29 |  | Bulkhead luminaire with polycarbonate lens see
424 | 5131 | 19 | 5 | 29 | 13 | 29.13 |  | Part 2 | No | 0 |  | 0
425 | 5132 | 19 | 5 | 29 |  | 29 |  | TESTING AND COMMISSIONING
426 | 5134 | 19 | 5 | 29 | 14 | 29.14 |  | Test and commission of the complete electrical installation | Item | 1 |  | 0
428 | 4658 | 19 | 6 | 31 |  | 31 |  | SECTION NO. 19 BILL NO. 6
429 | 4659 | 19 | 6 | 31 |  | 31 |  | Existing Block 1 & 2 INTERNAL ELECTRICAL INSTALLATION
430 | 5137 | 19 | 6 | 31 |  | 31 |  | NOTE:
431 | 5138 | 19 | 6 | 31 |  | 31 |  | Tenderers are advised to study the specification before pricing the bill.
432 | 5140 | 19 | 6 | 31 |  | 31 |  | (Complete installation : Internal Electrical Installation)
433 | 5141 | 19 | 6 | 31 |  | 31 |  | SMALL POWER AND LIGHTING
434 | 5142 | 19 | 6 | 31 |  | 31 |  | Conduit and accessories as specified in Part 2
435 | 5143 | 19 | 6 | 31 |  | 31 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles.
436 | 5144 | 19 | 6 | 31 | 1 | 31.1 |  | 20mm | m | 400 |  | 0
437 | 5145 | 19 | 6 | 31 |  | 31 |  | Round conduit box as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork or surface mounted including locknuts and bushes
438 | 5146 | 19 | 6 | 31 | 2 | 31.2 |  | 60mm deep | No | 32 |  | 0
439 | 5147 | 19 | 6 | 31 |  | 31 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
440 | 5148 | 19 | 6 | 31 |  | 31 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
441 | 5149 | 19 | 6 | 31 | 3 | 31.3 |  | 100 x 50mm | No | 8 |  | 0
442 | 5150 | 19 | 6 | 31 | 4 | 31.4 |  | 100 x 100mm | No | 8 |  | 0
443 | 5151 | 19 | 6 | 32 |  | 32 |  | Blank Covers
444 | 5152 | 19 | 6 | 32 | 5 | 32.5 |  | 100mm dia | No | 0 |  | 0
445 | 5153 | 19 | 6 | 32 | 6 | 32.6 |  | 100 x 100mm | No | 0 |  | 0
446 | 5154 | 19 | 6 | 32 |  | 32 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs.
447 | 5155 | 19 | 6 | 32 | 7 | 32.7 |  | 300 x 300mm | No | 0 |  | 0
448 | 5156 | 19 | 6 | 32 |  | 32 |  | CONDUCTORS
449 | 5157 | 19 | 6 | 32 |  | 32 |  | 600/1000V grade PVC insulated stranded copper conductors drawn into conduit
450 | 5158 | 19 | 6 | 32 | 8 | 32.8 |  | 2,5mm"² | m | 2400 |  | 0
451 | 5159 | 19 | 6 | 32 | 9 | 32.9 |  | 4,0mm"² | m | 1600 |  | 0
452 | 5160 | 19 | 6 | 32 | 10 | 32.1 |  | 6,0mm"² | m | 0 |  | 0
453 | 5161 | 19 | 6 | 32 |  | 32 |  | Bare stranded copper earth conductors drawn into conduits
454 | 5162 | 19 | 6 | 32 | 11 | 32.11 |  | 2,5mm"² | m | 2000 |  | 0
455 | 5163 | 19 | 6 | 32 | 12 | 32.12 |  | 4,0mm"² | m | 0 |  | 0
456 | 5164 | 19 | 6 | 32 |  | 32 |  | APPLIANCES
457 | 5165 | 19 | 6 | 32 |  | 32 |  | Complete with cover plate fixed in flush boxes (boxes elsewhere measured)
458 | 5166 | 19 | 6 | 32 |  | 32 |  | Socket Outlets
459 | 5167 | 19 | 6 | 32 |  | 32 |  | 16 Ampere round 3-pin 250V grade
460 | 5168 | 19 | 6 | 32 | 13 | 32.13 |  | Switched socket outlet | No | 8 |  | 0
461 | 5169 | 19 | 6 | 32 |  | 32 |  | Light Switches
462 | 5170 | 19 | 6 | 32 | 14 | 32.14 |  | 16 Ampere 250V grade single lever one way | No | 8 |  | 0
463 | 5171 | 19 | 6 | 33 |  | 33 |  | Light Switches
464 | 5172 | 19 | 6 | 33 | 15 | 33.15 |  | 16 Ampere 250V grade double lever one way | No | 0 |  | 0
465 | 5173 | 19 | 6 | 33 |  | 33 |  | SLEEVES
466 | 5174 | 19 | 6 | 33 | 16 | 33.16 |  | 50mm dia | m | 0 |  | 0
468 | 4662 | 19 | 7 | 35 |  | 35 |  | SECTION NO. 19 BILL NO. 7
469 | 4663 | 19 | 7 | 35 |  | 35 |  | Existing Block 1 & 2 LUMINAIRES AND WIREWAYS
470 | 5176 | 19 | 7 | 35 |  | 35 |  | (Complete installation : wireways for telephone and intercom system)
471 | 5177 | 19 | 7 | 35 |  | 35 |  | WIREWAYS AND LUMINAIRES
472 | 5178 | 19 | 7 | 35 |  | 35 |  | Conduit & accessories as specified in Part 2 Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles
473 | 5179 | 19 | 7 | 35 | 1 | 35.1 |  | 25mm | m | 0 |  | 0
474 | 5180 | 19 | 7 | 35 |  | 35 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
475 | 5181 | 19 | 7 | 35 |  | 35 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
476 | 5182 | 19 | 7 | 35 | 2 | 35.2 |  | 100 x 100mm | No | 0 |  | 0
477 | 5183 | 19 | 7 | 35 | 3 | 35.3 |  | 300 x 300 x 75mm including door as specified | No | 0 |  | 0
478 | 5184 | 19 | 7 | 35 |  | 35 |  | Blank Covers
479 | 5185 | 19 | 7 | 35 | 4 | 35.4 |  | 100 x 100mm | No | 0 |  | 0
480 | 5186 | 19 | 7 | 35 |  | 35 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs.
481 | 5187 | 19 | 7 | 35 | 5 | 35.5 |  | 100 x 100mm | No | 2 |  | 0
482 | 5188 | 19 | 7 | 36 |  | 36 |  | DRAW WIRE
483 | 5189 | 19 | 7 | 36 | 6 | 36.6 |  | Galvanised 1,6mm draw wire | m | 800 |  | 0
484 | 5190 | 19 | 7 | 36 |  | 36 |  | APPLIANCES
485 | 5191 | 19 | 7 | 36 |  | 36 |  | Surface mounted appliance complete
486 | 5192 | 19 | 7 | 36 | 7 | 36.7 |  | 16 Ampere photo cell in an empty luminaire | No | 2 |  | 0
487 | 5193 | 19 | 7 | 36 | 8 | 36.8 |  | 32mm dia | m | 0 |  | 0
488 | 5194 | 19 | 7 | 36 |  | 36 |  | LUMINAIRES
489 | 5195 | 19 | 7 | 36 |  | 36 |  | Installed and mounted to round boxes in brickwork or ceiling including all fixings, brackets, supports, connectors, connections and lamps, see Part 2
490 | 5196 | 19 | 7 | 36 |  | 36 |  | Type A
491 | 5197 | 19 | 7 | 36 | 9 | 36.9 |  | 2 - lamp 58W fluorescent luminaire see Part 2 | No | 32 |  | 0
492 | 5198 | 19 | 7 | 36 |  | 36 |  | Type B
493 | 5199 | 19 | 7 | 36 | 10 | 36.1 |  | 1 - lamp 58W fluorescent luminaire see Part 2 | No | 0 |  | 0
494 | 5200 | 19 | 7 | 36 |  | 36 |  | Type C
495 | 5201 | 19 | 7 | 36 |  | 36 |  | Bulkhead luminaire with polycarbonate lens see
496 | 5202 | 19 | 7 | 36 | 11 | 36.11 |  | Part 2 | No | 12 |  | 0
497 | 5203 | 19 | 7 | 36 |  | 36 |  | Type L
498 | 5204 | 19 | 7 | 36 |  | 36 |  | Bulkhead luminaire with polycarbonate lens see
499 | 5205 | 19 | 7 | 36 | 12 | 36.12 |  | Part 2 | No | 0 |  | 0
500 | 5206 | 19 | 7 | 36 |  | 36 |  | TESTING AND COMMISSIONING
501 | 5767 | 19 | 7 | 36 | 13 | 36.13 |  | Test and commission of the complete electrical installation | No | 2 |  | 0
503 | 4618 | 19 | 8 | 38 |  | 38 |  | SECTION NO. 19 BILL NO. 8
504 | 4619 | 19 | 8 | 38 |  | 38 |  | New Nutrition Centre INTERNAL ELECTRICAL INSTALLATION
505 | 5211 | 19 | 8 | 38 |  | 38 |  | NOTE:
506 | 5212 | 19 | 8 | 38 |  | 38 |  | Tenderers are advised to study the specification before pricing the bill.
507 | 5214 | 19 | 8 | 38 |  | 38 |  | (Complete installation : Internal Electrical Installation)
508 | 5215 | 19 | 8 | 38 |  | 38 |  | SMALL POWER AND LIGHTING
509 | 5216 | 19 | 8 | 38 |  | 38 |  | Conduit and accessories as specified in Part 2
510 | 5217 | 19 | 8 | 38 |  | 38 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles.
511 | 5218 | 19 | 8 | 38 | 1 | 38.1 |  | 20mm | m | 600 |  | 0
512 | 5219 | 19 | 8 | 38 |  | 38 |  | Round conduit box as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork or surface mounted including locknuts and bushes
513 | 5220 | 19 | 8 | 38 | 2 | 38.2 |  | 60mm deep | No | 12 |  | 0
514 | 5221 | 19 | 8 | 38 |  | 38 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
515 | 5222 | 19 | 8 | 38 |  | 38 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
516 | 5223 | 19 | 8 | 38 | 3 | 38.3 |  | 100 x 50mm | No | 8 |  | 0
517 | 5224 | 19 | 8 | 38 | 4 | 38.4 |  | 100 x 100mm | No | 6 |  | 0
518 | 5225 | 19 | 8 | 39 |  | 39 |  | Blank Covers
519 | 5226 | 19 | 8 | 39 | 5 | 39.5 |  | 100mm dia | No | 0 |  | 0
520 | 5227 | 19 | 8 | 39 | 6 | 39.6 |  | 100 x 100mm | No | 0 |  | 0
521 | 5228 | 19 | 8 | 39 |  | 39 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs.
522 | 5229 | 19 | 8 | 39 | 7 | 39.7 |  | 300 x 300mm | No | 0 |  | 0
523 | 5230 | 19 | 8 | 39 |  | 39 |  | CONDUCTORS
524 | 5231 | 19 | 8 | 39 |  | 39 |  | 600/1000V grade PVC insulated stranded copper conductors drawn into conduit
525 | 5232 | 19 | 8 | 39 | 8 | 39.8 |  | 2,5mm"² | m | 1400 |  | 0
526 | 5233 | 19 | 8 | 39 | 9 | 39.9 |  | 4,0mm"² | m | 800 |  | 0
527 | 5234 | 19 | 8 | 39 | 10 | 39.1 |  | 6,0mm"² | m | 0 |  | 0
528 | 5235 | 19 | 8 | 39 |  | 39 |  | Bare stranded copper earth conductors drawn into conduits
529 | 5236 | 19 | 8 | 39 | 11 | 39.11 |  | 2,5mm"² | m | 1100 |  | 0
530 | 5237 | 19 | 8 | 39 | 12 | 39.12 |  | 4,0mm"² | m | 0 |  | 0
531 | 5238 | 19 | 8 | 39 |  | 39 |  | APPLIANCES
532 | 5239 | 19 | 8 | 39 |  | 39 |  | Complete with cover plate fixed in flush boxes (boxes elsewhere measured)
533 | 5240 | 19 | 8 | 39 |  | 39 |  | Socket Outlets
534 | 5241 | 19 | 8 | 39 |  | 39 |  | 16 Ampere round 3-pin 250V grade
535 | 5242 | 19 | 8 | 39 | 13 | 39.13 |  | Switched socket outlet | No | 6 |  | 0
536 | 5243 | 19 | 8 | 39 |  | 39 |  | Light Switches
537 | 5244 | 19 | 8 | 39 | 14 | 39.14 |  | 16 Ampere 250V grade single lever one way | No | 3 |  | 0
538 | 5245 | 19 | 8 | 40 | 15 | 40.15 |  | 16 Ampere 250V grade single lever two way | No | 2 |  | 0
539 | 5246 | 19 | 8 | 40 | 16 | 40.16 |  | 16 Ampere 250V grade two lever 1 way | No | 3 |  | 0
540 | 5247 | 19 | 8 | 40 |  | 40 |  | Isolators
541 | 5248 | 19 | 8 | 40 | 17 | 40.17 |  | 30A Isolator (Extraction Fan) | m | 1 |  | 0
542 | 5249 | 19 | 8 | 40 | 18 | 40.18 |  | "ON/OFF" Wall mounted control station for Extraction Fan | No | 1 |  | 0
543 | 5250 | 19 | 8 | 40 | 19 | 40.19 |  | 30A TP Isolator (Coldroom) | m | 0 |  | 0
545 | 4622 | 19 | 9 | 42 |  | 42 |  | SECTION NO. 19 BILL NO. 9
546 | 4623 | 19 | 9 | 42 |  | 42 |  | New Nutrition Centre LUMINAIRES AND WIREWAYS FOR TELEPHONE AND INTERCOM SYSTEM
547 | 5252 | 19 | 9 | 42 |  | 42 |  | (Complete installation : wireways for telephone and intercom system)
548 | 5253 | 19 | 9 | 42 |  | 42 |  | WIREWAYS AND LUMINAIRES
549 | 5254 | 19 | 9 | 42 |  | 42 |  | Conduit & accessories as specified in Part 2
550 | 5255 | 19 | 9 | 42 |  | 42 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles
551 | 5256 | 19 | 9 | 42 | 1 | 42.1 |  | 25mm | m | 0 |  | 0
552 | 5257 | 19 | 9 | 42 |  | 42 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
553 | 5258 | 19 | 9 | 42 |  | 42 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
554 | 5259 | 19 | 9 | 42 | 2 | 42.2 |  | 100 x 100mm | No | 0 |  | 0
555 | 5260 | 19 | 9 | 42 | 3 | 42.3 |  | 300 x 300 x 75mm including door as specified | No | 0 |  | 0
556 | 5261 | 19 | 9 | 42 |  | 42 |  | Blank Covers
557 | 5262 | 19 | 9 | 42 | 4 | 42.4 |  | 100 x 100mm | No | 0 |  | 0
558 | 5263 | 19 | 9 | 42 |  | 42 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs.
559 | 5264 | 19 | 9 | 42 | 5 | 42.5 |  | 100 x 100mm | No | 0 |  | 0
560 | 5265 | 19 | 9 | 43 |  | 43 |  | DRAW WIRE
561 | 5266 | 19 | 9 | 43 | 6 | 43.6 |  | Galvanised 1,6mm draw wire | m | 300 |  | 0
562 | 5267 | 19 | 9 | 43 |  | 43 |  | APPLIANCES
563 | 5268 | 19 | 9 | 43 |  | 43 |  | Surface mounted appliance complete
564 | 5269 | 19 | 9 | 43 | 7 | 43.7 |  | 16 Ampere photo cell in an empty luminaire | No | 1 |  | 0
565 | 5270 | 19 | 9 | 43 |  | 43 |  | SLEEVES
566 | 5271 | 19 | 9 | 43 | 8 | 43.8 |  | 50mm dia | m | 0 |  | 0
567 | 5272 | 19 | 9 | 43 | 9 | 43.9 |  | 32mm dia | m | 40 |  | 0
568 | 5273 | 19 | 9 | 43 |  | 43 |  | LUMINAIRES
569 | 5274 | 19 | 9 | 43 |  | 43 |  | Installed and mounted to round boxes in brickwork or ceiling including all fixings, brackets, supports, connectors, connections and lamps, see Part 2
570 | 5275 | 19 | 9 | 43 |  | 43 |  | Type A
571 | 5276 | 19 | 9 | 43 | 10 | 43.1 |  | 2 - lamp 58W fluorescent luminaire see Part 2 | No | 13 |  | 0
572 | 5277 | 19 | 9 | 43 |  | 43 |  | Type B
573 | 5278 | 19 | 9 | 43 | 11 | 43.11 |  | 1 - lamp 58W fluorescent luminaire see Part 2 | No | 0 |  | 0
574 | 5279 | 19 | 9 | 43 |  | 43 |  | Type C
575 | 5280 | 19 | 9 | 43 |  | 43 |  | Bulkhead luminaire with polycarbonate lens see
576 | 5281 | 19 | 9 | 43 | 12 | 43.12 |  | Part 2 | No | 24 |  | 0
577 | 5282 | 19 | 9 | 43 |  | 43 |  | Type E
578 | 5283 | 19 | 9 | 43 |  | 43 |  | 2 - lamp 58W fluorescent luminaire Vapourproof
579 | 5284 | 19 | 9 | 43 | 13 | 43.13 |  | Part 2 | No | 4 |  | 0
580 | 5285 | 19 | 9 | 43 |  | 43 |  | TESTING AND COMMISSIONING
581 | 5287 | 19 | 9 | 43 | 14 | 43.14 |  | Test and commission of the complete electrical installation | Item | 1 |  | 0
583 | 4614 | 19 | 10 | 45 |  | 45 |  | SECTION NO. 19 BILL NO. 10
584 | 4615 | 19 | 10 | 45 |  | 45 |  | EXISTING Block 3 (8 x Class room) INTERNAL ELECTRICAL
585 | 5290 | 19 | 10 | 45 |  | 45 |  | NOTE:
586 | 5291 | 19 | 10 | 45 |  | 45 |  | Tenderers are advised to study the specification before pricing the bill.
587 | 5293 | 19 | 10 | 45 |  | 45 |  | (Complete installation : Internal Electrical Installation)
588 | 5294 | 19 | 10 | 45 |  | 45 |  | SMALL POWER AND LIGHTING
589 | 5295 | 19 | 10 | 45 |  | 45 |  | Conduit and accessories as specified in Part 2
590 | 5296 | 19 | 10 | 45 |  | 45 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles.
591 | 5297 | 19 | 10 | 45 | 1 | 45.1 |  | 20mm | m | 200 |  | 0
592 | 5298 | 19 | 10 | 45 |  | 45 |  | Round conduit box as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork or surface mounted including locknuts and bushes
593 | 5299 | 19 | 10 | 45 | 2 | 45.2 |  | 60mm deep | No | 52 |  | 0
594 | 5300 | 19 | 10 | 45 |  | 45 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
595 | 5301 | 19 | 10 | 45 |  | 45 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
596 | 5302 | 19 | 10 | 45 | 3 | 45.3 |  | 100 x 50mm | No | 14 |  | 0
597 | 5303 | 19 | 10 | 45 | 4 | 45.4 |  | 100 x 100mm | No | 14 |  | 0
598 | 5304 | 19 | 10 | 46 |  | 46 |  | Blank Covers
599 | 5305 | 19 | 10 | 46 | 5 | 46.5 |  | 100mm dia | No | 0 |  | 0
600 | 5306 | 19 | 10 | 46 | 6 | 46.6 |  | 100 x 100mm | No | 0 |  | 0
601 | 5307 | 19 | 10 | 46 |  | 46 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs.
602 | 5308 | 19 | 10 | 46 | 7 | 46.7 |  | 300 x 300mm | No | 0 |  | 0
603 | 5309 | 19 | 10 | 46 |  | 46 |  | CONDUCTORS
604 | 5310 | 19 | 10 | 46 |  | 46 |  | 600/1000V grade PVC insulated stranded copper conductors drawn into conduit
605 | 5311 | 19 | 10 | 46 | 8 | 46.8 |  | 2,5mm"² | m | 1600 |  | 0
606 | 5312 | 19 | 10 | 46 | 9 | 46.9 |  | 4,0mm"² | m | 800 |  | 0
607 | 5313 | 19 | 10 | 46 | 10 | 46.1 |  | 6,0mm"² | m | 0 |  | 0
608 | 5314 | 19 | 10 | 46 |  | 46 |  | Bare stranded copper earth conductors drawn into conduits
609 | 5315 | 19 | 10 | 46 | 11 | 46.11 |  | 2,5mm"² | m | 1200 |  | 0
610 | 5316 | 19 | 10 | 46 |  | 46 |  | APPLIANCES
611 | 5317 | 19 | 10 | 46 |  | 46 |  | Complete with cover plate fixed in flush boxes (boxes elsewhere measured)
612 | 5318 | 19 | 10 | 46 |  | 46 |  | Socket Outlets
613 | 5319 | 19 | 10 | 46 |  | 46 |  | 16 Ampere round 3-pin 250V grade
614 | 5320 | 19 | 10 | 46 | 12 | 46.12 |  | Switched socket outlet | No | 14 |  | 0
615 | 5321 | 19 | 10 | 46 |  | 46 |  | Light Switches
616 | 5322 | 19 | 10 | 46 | 13 | 46.13 |  | 16 Ampere 250V grade single lever one way | No | 14 |  | 0
617 | 5323 | 19 | 10 | 46 |  | 46 |  | SLEEVES
618 | 5324 | 19 | 10 | 46 | 14 | 46.14 |  | 50mm dia | m | 0 |  | 0
620 | 4626 | 19 | 11 | 48 |  | 48 |  | SECTION NO. 19 BILL NO. 11
621 | 4627 | 19 | 11 | 48 |  | 48 |  | EXISTING Block 3 (8 x Class room) LUMINAIRES AND WIREWAYS FOR TELEPHONE AND INTERCOM SYSTEM
622 | 5326 | 19 | 11 | 48 |  | 48 |  | (Complete installation : wireways for telephone and intercom system)
623 | 5327 | 19 | 11 | 48 |  | 48 |  | WIREWAYS AND LUMINAIRES
624 | 5328 | 19 | 11 | 48 |  | 48 |  | Conduit & accessories as specified in Part 2
625 | 5329 | 19 | 11 | 48 |  | 48 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles
626 | 5330 | 19 | 11 | 48 | 1 | 48.1 |  | 25mm | m | 0 |  | 0
627 | 5331 | 19 | 11 | 48 |  | 48 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
628 | 5332 | 19 | 11 | 48 |  | 48 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
629 | 5333 | 19 | 11 | 48 | 2 | 48.2 |  | 100 x 100mm | No | 0 |  | 0
630 | 5334 | 19 | 11 | 48 | 3 | 48.3 |  | 300 x 300 x 75mm including door as specified | No | 0 |  | 0
631 | 5335 | 19 | 11 | 48 |  | 48 |  | Blank Covers
632 | 5336 | 19 | 11 | 48 | 4 | 48.4 |  | 100 x 100mm | No | 0 |  | 0
633 | 5337 | 19 | 11 | 48 |  | 48 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs.
634 | 5338 | 19 | 11 | 48 | 5 | 48.5 |  | 100 x 100mm | No | 0 |  | 0
635 | 5339 | 19 | 11 | 49 |  | 49 |  | DRAW WIRE
636 | 5340 | 19 | 11 | 49 | 6 | 49.6 |  | Galvanised 1,6mm draw wire | m | 0 |  | 0
637 | 5341 | 19 | 11 | 49 |  | 49 |  | APPLIANCES
638 | 5342 | 19 | 11 | 49 |  | 49 |  | Surface mounted appliances complete
639 | 5343 | 19 | 11 | 49 | 7 | 49.7 |  | 16 Ampere photo cell in an empty luminaire | No | 4 |  | 0
640 | 5344 | 19 | 11 | 49 |  | 49 |  | Socket Outlets
641 | 5345 | 19 | 11 | 49 |  | 49 |  | 16 Ampere round 3-pin 250V grade
642 | 5346 | 19 | 11 | 49 | 8 | 49.8 |  | Switched socket outlet | No | 0 |  | 0
643 | 5347 | 19 | 11 | 49 |  | 49 |  | Light Switches
644 | 5348 | 19 | 11 | 49 | 9 | 49.9 |  | 16 Ampere 250V grade single lever one way | No | 0 |  | 0
645 | 5349 | 19 | 11 | 49 |  | 49 |  | SLEEVES
646 | 5350 | 19 | 11 | 49 | 10 | 49.1 |  | 50mm dia | m | 0 |  | 0
647 | 5351 | 19 | 11 | 49 | 11 | 49.11 |  | 32mm dia | m | 0 |  | 0
648 | 5352 | 19 | 11 | 49 |  | 49 |  | LUMINAIRES
649 | 5353 | 19 | 11 | 49 |  | 49 |  | Installed and mounted to round boxes in brickwork or ceiling including all fixings, brackets, supports, connectors, connections and lamps, see Part 2
650 | 5354 | 19 | 11 | 49 |  | 49 |  | Type A
651 | 5355 | 19 | 11 | 49 | 12 | 49.12 |  | 2 - lamp 58W fluorescent luminaire see Part 2 | No | 38 |  | 0
652 | 5356 | 19 | 11 | 49 |  | 49 |  | Type B
653 | 5357 | 19 | 11 | 49 | 13 | 49.13 |  | 1 - lamp 58W fluorescent luminaire see Part 2 | No | 0 |  | 0
654 | 5358 | 19 | 11 | 49 |  | 49 |  | Type C
655 | 5359 | 19 | 11 | 49 |  | 49 |  | Bulkhead luminaire with polycarbonate lens see
656 | 5360 | 19 | 11 | 49 | 14 | 49.14 |  | Part 2 | No | 16 |  | 0
657 | 5361 | 19 | 11 | 50 |  | 50 |  | Type D
658 | 5362 | 19 | 11 | 50 |  | 50 |  | Bulkhead luminaire with polycarbonate lens see
659 | 5363 | 19 | 11 | 50 | 15 | 50.15 |  | Part 2 | No | 0 |  | 0
660 | 5364 | 19 | 11 | 50 |  | 50 |  | TESTING AND COMMISSIONING
661 | 5768 | 19 | 11 | 50 | 16 | 50.16 |  | Test and commission of the complete electrical installation | No | 2 |  | 0
663 | 4630 | 19 | 12 | 52 |  | 52 |  | SECTION NO. 19 BILL NO. 12
664 | 4631 | 19 | 12 | 52 |  | 52 |  | EXISTING BLOCKS (Library, Multipurpose, Maths & Science) INTERNAL ELECTRICAL
665 | 5369 | 19 | 12 | 52 |  | 52 |  | NOTE:
666 | 5370 | 19 | 12 | 52 |  | 52 |  | Tenderers are advised to study the specification before pricing the bill.
667 | 5372 | 19 | 12 | 52 |  | 52 |  | (Complete installation : Internal Electrical Installation)
668 | 5373 | 19 | 12 | 52 |  | 52 |  | SMALL POWER AND LIGHTING
669 | 5374 | 19 | 12 | 52 |  | 52 |  | Conduit and accessories as specified in Part 2
670 | 5375 | 19 | 12 | 52 |  | 52 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles.
671 | 5376 | 19 | 12 | 52 | 1 | 52.1 |  | 20mm | m | 900 |  | 0
672 | 5377 | 19 | 12 | 52 |  | 52 |  | Round conduit box as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork or surface mounted including locknuts and bushes
673 | 5378 | 19 | 12 | 52 | 2 | 52.2 |  | 60mm deep | No | 72 |  | 0
674 | 5379 | 19 | 12 | 52 | 3 | 52.3 |  | Two Compartment steel power skirting or equal powder coated c/w covers | m | 60 |  | 0
675 | 5380 | 19 | 12 | 53 |  | 53 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
676 | 5381 | 19 | 12 | 53 |  | 53 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
677 | 5382 | 19 | 12 | 53 | 4 | 53.4 |  | 100 x 50mm | No | 9 |  | 0
678 | 5383 | 19 | 12 | 53 | 5 | 53.5 |  | 100 x 100mm | No | 26 |  | 0
679 | 5384 | 19 | 12 | 53 |  | 53 |  | Blank Covers
680 | 5385 | 19 | 12 | 53 | 6 | 53.6 |  | 100mm dia | No | 0 |  | 0
681 | 5386 | 19 | 12 | 53 | 7 | 53.7 |  | 100 x 100mm | No | 0 |  | 0
682 | 5387 | 19 | 12 | 53 |  | 53 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs.
683 | 5388 | 19 | 12 | 53 | 8 | 53.8 |  | 300 x 300mm | No | 0 |  | 0
684 | 5389 | 19 | 12 | 53 |  | 53 |  | CONDUCTORS
685 | 5390 | 19 | 12 | 53 |  | 53 |  | 600/1000V grade PVC insulated stranded copper conductors drawn into conduit
686 | 5391 | 19 | 12 | 53 | 9 | 53.9 |  | 2,5mm"² | m | 4000 |  | 0
687 | 5392 | 19 | 12 | 53 | 10 | 53.1 |  | 4,0mm"² | m | 3000 |  | 0
688 | 5393 | 19 | 12 | 53 | 11 | 53.11 |  | 6,0mm"² | m | 0 |  | 0
689 | 5394 | 19 | 12 | 53 |  | 53 |  | Bare stranded copper earth conductors drawn into conduits
690 | 5395 | 19 | 12 | 53 | 12 | 53.12 |  | 2,5mm"² | m | 2500 |  | 0
691 | 5396 | 19 | 12 | 54 |  | 54 |  | APPLIANCES
692 | 5397 | 19 | 12 | 54 |  | 54 |  | Complete with cover plate fixed in flush boxes (boxes elsewhere measured)
693 | 5398 | 19 | 12 | 54 |  | 54 |  | Socket Outlets
694 | 5399 | 19 | 12 | 54 |  | 54 |  | 16 Ampere round 3-pin 250V grade
695 | 5400 | 19 | 12 | 54 | 13 | 54.13 |  | Switched socket outlet | No | 26 |  | 0
696 | 5401 | 19 | 12 | 54 |  | 54 |  | Light Switches
697 | 5402 | 19 | 12 | 54 | 14 | 54.14 |  | 16 Ampere 250V grade single lever one way | No | 9 |  | 0
698 | 5403 | 19 | 12 | 54 |  | 54 |  | SLEEVES
699 | 5404 | 19 | 12 | 54 | 15 | 54.15 |  | 50mm dia | m | 0 |  | 0
701 | 4634 | 19 | 13 | 56 |  | 56 |  | SECTION NO. 19 BILL NO. 13
702 | 4635 | 19 | 13 | 56 |  | 56 |  | EXISTING BLOCKS (Library, Multipurpose, Maths & Science) LUMINAIRES AND WIREWAYS FOR TELEPHONE AND INTERCOM SYSTEM
703 | 5406 | 19 | 13 | 56 |  | 56 |  | (Complete installation : wireways for telephone and intercom system)
704 | 5407 | 19 | 13 | 56 |  | 56 |  | WIREWAYS AND LUMINAIRES
705 | 5408 | 19 | 13 | 56 |  | 56 |  | Conduit & accessories as specified in Part 2
706 | 5409 | 19 | 13 | 56 |  | 56 |  | Conduit placed in position for casting into concrete or screed, for building or chased into concrete or brickwork and for surface mounted in ceiling void including bending, threading, jointing, short lengths, draw boxes, couplings, bends, tees and saddles
707 | 5410 | 19 | 13 | 56 | 1 | 56.1 |  | 25mm | m | 0 |  | 0
708 | 5411 | 19 | 13 | 56 |  | 56 |  | Wall boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts and bushes
709 | 5412 | 19 | 13 | 56 |  | 56 |  | Where cavity walls or face brick walls are encountered tenderers must allow to install deep back to back (one end closed) wall boxes
710 | 5413 | 19 | 13 | 56 | 2 | 56.2 |  | 100 x 100mm | No | 0 |  | 0
711 | 5414 | 19 | 13 | 56 | 3 | 56.3 |  | 300 x 300 x 75mm including door as specified | No | 0 |  | 0
712 | 5415 | 19 | 13 | 56 |  | 56 |  | Blank Covers
713 | 5416 | 19 | 13 | 56 | 4 | 56.4 |  | 100 x 100mm | No | 0 |  | 0
714 | 5417 | 19 | 13 | 57 |  | 57 |  | Expansion joint boxes as specified in Part 2 placed in position for casting into concrete, building or chased into brickwork including locknuts, bushes and sliding conduit stubs.
715 | 5418 | 19 | 13 | 57 | 5 | 57.5 |  | 100 x 100mm | No | 0 |  | 0
716 | 5419 | 19 | 13 | 57 |  | 57 |  | DRAW WIRE
717 | 5420 | 19 | 13 | 57 | 6 | 57.6 |  | Galvanised 1,6mm draw wire | m | 700 |  | 0
718 | 5421 | 19 | 13 | 57 |  | 57 |  | APPLIANCES
719 | 5422 | 19 | 13 | 57 |  | 57 |  | Surface mounted appliances complete
720 | 5423 | 19 | 13 | 57 | 7 | 57.7 |  | 16 Ampere photo cell in an empty luminaire | No | 3 |  | 0
721 | 5424 | 19 | 13 | 57 |  | 57 |  | Socket Outlets
722 | 5425 | 19 | 13 | 57 |  | 57 |  | 16 Ampere round 3-pin 250V grade
723 | 5426 | 19 | 13 | 57 | 8 | 57.8 |  | Switched socket outlet | No | 0 |  | 0
724 | 5427 | 19 | 13 | 57 |  | 57 |  | Light Switches
725 | 5428 | 19 | 13 | 57 | 9 | 57.9 |  | 16 Ampere 250V grade single lever one way | No | 0 |  | 0
726 | 5429 | 19 | 13 | 57 |  | 57 |  | SLEEVES
727 | 5430 | 19 | 13 | 57 | 10 | 57.1 |  | 50mm dia | m | 0 |  | 0
728 | 5431 | 19 | 13 | 57 | 11 | 57.11 |  | 32mm dia | m | 0 |  | 0
729 | 5432 | 19 | 13 | 57 |  | 57 |  | LUMINAIRES
730 | 5433 | 19 | 13 | 57 |  | 57 |  | Installed and mounted to round boxes in brickwork or ceiling including all fixings, brackets, supports, connectors, connections and lamps, see Part 2
731 | 5434 | 19 | 13 | 57 |  | 57 |  | Type A
732 | 5435 | 19 | 13 | 57 | 12 | 57.12 |  | 2 - lamp 58W fluorescent luminaire see Part 2 | No | 31 |  | 0
733 | 5436 | 19 | 13 | 57 |  | 57 |  | Type B
734 | 5437 | 19 | 13 | 57 | 13 | 57.13 |  | 1 - lamp 58W fluorescent luminaire see Part 2 | No | 0 |  | 0
735 | 5438 | 19 | 13 | 58 |  | 58 |  | Type C
736 | 5439 | 19 | 13 | 58 |  | 58 |  | Bulkhead luminaire with polycarbonate lens see
737 | 5440 | 19 | 13 | 58 | 14 | 58.14 |  | Part 2 | No | 17 |  | 0
738 | 5441 | 19 | 13 | 58 |  | 58 |  | Type D
739 | 5442 | 19 | 13 | 58 |  | 58 |  | Bulkhead luminaire with polycarbonate lens see
740 | 5443 | 19 | 13 | 58 | 15 | 58.15 |  | Part 2 | No | 0 |  | 0
741 | 5444 | 19 | 13 | 58 |  | 58 |  | TESTING AND COMMISSIONING
742 | 5769 | 19 | 13 | 58 | 16 | 58.16 |  | Test and commission of the complete electrical installation | No | 3 |  | 0
744 | 4638 | 19 | 14 | 60 |  | 60 |  | SECTION NO. 19 BILL NO. 14
745 | 5448 | 19 | 14 | 60 |  | 60 |  | PROVISIONAL AMOUNTS
746 | 5818 | 19 | 14 | 60 | 1 | 60.1 |  | Allow for earthing and lightning protection | Item | 1 |  | 0
747 | 5451 | 19 | 14 | 60 | 2 | 60.2 |  | Attendance and Profit on item above | Item | 1 |  | 0
748 | 5819 | 19 | 14 | 60 | 3 | 60.3 |  | Supply and Install Cold Room | Item | 1 |  | 0
749 | 5453 | 19 | 14 | 60 | 4 | 60.4 |  | Attendance and Profit on item above | Item | 1 |  | 0
750 | 5820 | 19 | 14 | 60 | 5 | 60.5 |  | Gas reticulation by a specialist LP GAS contractor | Item | 1 |  | 0
751 | 5455 | 19 | 14 | 60 | 6 | 60.6 |  | Attendance and Profit on item above | Item | 1 |  | 0
752 | 5821 | 19 | 14 | 60 | 7 | 60.7 |  | Supply and Install Canopy and Extactor Fan | Item | 1 |  | 0
753 | 5457 | 19 | 14 | 60 | 8 | 60.8 |  | Attendance and Profit on item above | Item | 1 |  | 0
754 | 5822 | 19 | 14 | 60 | 9 | 60.9 |  | Decanting Structures Electrical Reticulation | Item | 1 |  | 0
756 | 4606 | 19 | 15 | 61 | 1 | 61.1 |  | Electrical Installation | Page | 15
757 | 4640 | 19 | 15 | 61 | 2 | 61.2 |  | Admin Block, Internal Electrical Installation | Page | 19
758 | 4644 | 19 | 15 | 61 | 3 | 61.3 |  | Admin Block, Luminaires and Wireways for Telephone and Intercom System | Page | 23
759 | 4648 | 19 | 15 | 61 | 4 | 61.4 |  | New Grade R, Internal Electrical Installation | Page | 27
760 | 4652 | 19 | 15 | 61 | 5 | 61.5 |  | New Grade R, Luminaires and Wireways for Telephone and Intercom System | Page | 30
761 | 4656 | 19 | 15 | 61 | 6 | 61.6 |  | Existing Block 1 & 2, Internal Electrical Installation | Page | 34
762 | 4660 | 19 | 15 | 61 | 7 | 61.7 |  | Existing Block 1 & 2, Luminaires and Wireways for Telephone and Intercom System | Page | 37
763 | 4616 | 19 | 15 | 61 | 8 | 61.8 |  | New Nutrition Centre, Internal Electrical Installation | Page | 41
764 | 4620 | 19 | 15 | 61 | 9 | 61.9 |  | New Nutrition Centre, Luminaires and Wireways for Telephone and Intercom System | Page | 44
765 | 4612 | 19 | 15 | 61 | 10 | 61.1 |  | Existing Block 3 (8 x Class room), Internal Electrical Installation | Page | 47
766 | 4624 | 19 | 15 | 61 | 11 | 61.11 |  | Existing Block 3 (8 x Class room), Luminaires and Wireways for Telephone and Int | Page | 51
767 | 4628 | 19 | 15 | 61 | 12 | 61.12 |  | Existing Blocks (Library, Multipurpose, Maths & Science) , Internal Electrical | Page | 55
768 | 4632 | 19 | 15 | 61 | 13 | 61.13 |  | Existing Blocks (Library, Multipurpose, Maths & Science), Luminaires and Wireway | Page | 59
769 | 4636 | 19 | 15 | 61 | 14 | 61.14 |  | Provisional Amounts | Page | 60
770 | 19 | 20 | 1 | 62 | 19 | 62.19 |  | ELECTRICAL INSTALLATION | Page | 61
771 | 21 | 20 | 1 | 62 |  | 62 |  | SUB-TOTAL EXCLUDING VAT RATE# | ST | 0