## SOQ
Item | Description | Unit | Quantity | Rate | Amount
BILL 1: RETICULATION AND DISTRIBUTION BOARDS
Distribution Boards
Distribution boards complete with all MCBs, switchgear, accessories, sheet metal frames, sub-frames, busbars, terminals, wiring, conduit terminations, labelling, fixtures and fittings as specified, with all equipment fitted and equipped in factory all strictly as per schematic diagram.
(Please note that the distribution board's shop drawing should be submitted to the Engineer for approval prior to manufacture).
DB-GR1
1.1 | Supply | No. | 1
1.2 | Install | No. | 1
DB-GR2
1.3 | Supply | No. | 1
1.4 | Install | No. | 1
DB-D1
1.5 | Supply | No. | 1
1.6 | Install | No. | 1
DB-D2
1.7 | Supply | No. | 1
1.8 | Install | No. | 1
DB-D3
1.9 | Supply | No. | 1
1.1 | Install | No. | 1
DB-EP
1.11 | Supply | No. | 1
1.12 | Install | No. | 1
DB-J
1.13 | Supply | No. | 1
1.14 | Install | No. | 1
DB-J2
1.15 | Supply | No. | 1
1.16 | Install | No. | 1
DB-AA
1.17 | Supply | No. | 1
1.18 | Install | No. | 1
DB-AB
1.19 | Supply | No. | 1
1.2 | Install | No. | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Low voltage cables
600/1 000V PVC/PVC/SWA/PVC multi-core copper cable installed in sleeves (sleeves measured elsewhere)
70mm² 4 Core
1.21 | Supply | m | 100
1.22 | Install | m | 100
35mm² 4 Core
1.23 | Supply | m | 90
1.24 | Install | m | 90
25mm² 4 Core
1.25 | Supply | m | 260
1.26 | Install | m | 260
16mm² 4 Core
1.27 | Supply | m | 270
1.28 | Install | m | 270
10mm² 4 Core
1.29 | Supply | m | 20
1.3 | Install | m | 20
6mm² 4 Core
1.31 | Supply | m | 400
1.32 | Install | m | 400
10mm² 3 Core
1.33 | Supply | m | 220
1.34 | Install | m | 220
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Low voltage cable terminations
Make off and terminate the LV cable, complete with glands and shrouds including connection of cable to equipment terminals
70mm² 4 Core
1.35 | Supply | No. | 2
1.36 | Install | No. | 2
35mm² 4 Core
1.37 | Supply | No. | 2
1.38 | Install | No. | 2
25mm² 4 Core
1.39 | Supply | No. | 4
1.4 | Install | No. | 4
16mm² 4 Core
1.41 | Supply | No. | 6
1.42 | Install | No. | 6
10mm² 4 Core
1.43 | Supply | No. | 2
1.44 | Install | No. | 2
6mm² 4 Core
1.45 | Supply | No. | 24
1.46 | Install | No. | 24
10mm² 3 Core
1.47 | Supply | No. | 6
1.48 | Install | No. | 6
Earthing Conductors
Bare stranded copper earth conductor installed in sleeves (sleeves measured elsewhere)
35mm²
1.49 | Supply | m | 100
1.5 | Install | m | 100
25mm²
1.51 | Supply | m | 90
1.52 | Install | m | 90
16mm²
1.53 | Supply | m | 260
1.54 | Install | m | 260
10mm²
1.55 | Supply | m | 270
1.56 | Install | m | 270
6mm²
1.57 | Supply | m | 420
1.58 | Install | m | 420
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Earthing conductor terminations
Make off and terminate earth conductor, including lugs and connections
35mm²
1.59 | Supply | No. | 2
1.6 | Install | No. | 2
25mm²
1.61 | Supply | No. | 2
1.62 | Install | No. | 2
16mm²
1.63 | Supply | No. | 4
1.64 | Install | No. | 4
10mm²
1.65 | Supply | No. | 6
1.66 | Install | No. | 6
6mm²
1.67 | Supply | No. | 26
1.68 | Install | No. | 26
Earth Rods
SABS approved copper earth rod
1500mm long 16mm diameter
1.69 | Supply | No. | 8
1.7 | Install | No. | 8
Sleeves
Kabelflex high density (or equal and approved) polyethylene (HDPE) sleeve with double wall construction, corrugated outer wall and smooth inner wall finish inclusive of couplers, bends, etc
110mm diameter
1.71 | Supply | m | 500
1.72 | Install | m | 500
50mm diameter
1.73 | Supply | m | 400
1.74 | Install | m | 400
Draw wires
Draw wire drawn into sleeves and conduits including approximately 300mm slack in boxes, distribution board, etc.
1.6mm² Galvanised steel draw wire
1.75 | Supply | m | 900
1.76 | Install | m | 900
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Excavations
All excavations, back filling and compaction must be done manually using local labour
Excavate for cable and sleeve trench including temporary support of sides, keeping excavations dry, backfilling and compacting to the Engineer's specification
1.77 | Pickable Soil | m³ | 1000
1.78 | For Soft Rock | m³ | 10
1.79 | For Hard Rock | m³ | 5
1.8 | Bedding under and filling around cables comprising sifted sand | m³ | 125
Cable Tape and Markers
PVC warning marking tape
1.81 | Supply | m | 1200
1.82 | Install | m | 1200
Concrete route markers
1.83 | Supply | No. | 40
1.84 | Install | No. | 40
Manholes complete with heavy duty trafficable covers
600 x 600 x 800 mm
1.85 | Supply | No. | 8
1.86 | Install | No. | 8
Area Lights
Installed and mounted on poles, including poles, excavation to install poles, lamps, 5A circuit breaker and 2 x 2.5mm² PVC conductors from circuit breaker to luminaire on top of pole.
Type A3
1.87 | Supply | No. | 35
1.88 | Install | No. | 35
Type H
1.89 | Supply | No. | 12
1.9 | Install | No. | 12
Galvanised steel conduits
Galvanised steel conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
1.91 | Supply | m | 450
1.92 | Install | m | 450
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
20mm
1.93 | Supply | No. | 75
1.94 | Install | No. | 75
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
1.95 | Supply | m | 900
1.96 | Install | m | 900
Insulated earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
1.97 | Supply | m | 450
1.98 | Install | m | 450
Photocell
Photocell installed in a suitably sized rectangular bulkhead luminaire housing with clear UV stabilised high impact acrylic lens and labelling as specified
16A, 230V, Photocell
1.99 | Supply | No. | 1
1.1 | Install | No. | 1
Testing and commissioning
1.101 | Testing and commissioning of the works covered within this bill. | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY
Item | Description | Unit | Quantity | Rate | Amount
BILL 2: GRADE R CLASSROOM BLOCK - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
2.1 | Supply | m | 700
2.2 | Install | m | 700
25mm
2.3 | Supply | m | 300
2.4 | Install | m | 300
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
2.5 | Supply | No. | 120
2.6 | Install | No. | 120
25mm
2.7 | Supply | No. | 50
2.8 | Install | No. | 50
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
2.9 | Supply | No. | 25
2.1 | Install | No. | 25
100 x 100 x 50mm
2.11 | Supply | No. | 40
2.12 | Install | No. | 40
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
2.13 | Supply | m | 1400
2.14 | Install | m | 1400
4.0 mm²
2.15 | Supply | m | 600
2.16 | Install | m | 600
6.0 mm²
2.17 | Supply | m | 100
2.18 | Install | m | 100
Insulated copper earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
2.19 | Supply | m | 700
2.2 | Install | m | 700
4.0 mm²
2.21 | Supply | m | 350
2.22 | Install | m | 350
Socket outlets
Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes, drilling, etc
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted
2.23 | Supply | No. | 28
2.24 | Install | No. | 28
Isolators
Isolator complete with box, cover plate and accessories.
20A DP Single phase isolator, flush mounted
2.25 | Supply | No. | 1
2.26 | Install | No. | 1
20A DP Single phase isolator, surface mounted
2.27 | Supply | No. | 2
2.28 | Install | No. | 2
20A DP Single phase isolator, surface mounted, weatherproof, IP56
2.29 | Supply | No. | 1
2.3 | Install | No. | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
2.31 | Supply | No. | 8
2.32 | Install | No. | 8
16A, 230V, 1 Lever 2 Way
2.33 | Supply | No. | 16
2.34 | Install | No. | 16
16A, 230V, 2 Lever 1 Way
2.35 | Supply | No. | 1
2.36 | Install | No. | 1
Photocell
Photocell installed in a suitably sized rectangular bulkhead luminaire housing with clear UV stabilised high impact acrylic lens and labelling as specified
16A, 230V, Photocell
2.37 | Supply | No. | 2
2.38 | Install | No. | 2
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type A
2.39 | Supply | No. | 4
2.4 | Install | No. | 4
Type A2
2.41 | Supply | No. | 36
2.42 | Install | No. | 36
Type B
2.43 | Supply | No. | 28
2.44 | Install | No. | 28
Type B1
2.45 | Supply | No. | 12
2.46 | Install | No. | 12
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Telecommunications distribution board
Flush mounted distribution board, lockable, complete with 20mm thick wooden back board
300 x 300 x 150mm deep
2.47 | Supply | No. | 2
2.48 | Install | No. | 2
Telecommunications outlets
Galvanised steel epoxy powder coated cradles and covers mounted on power skirting or wall complete with removable blank inserts.
Intercom speaker outlet - Wall Mounted
2.49 | Supply | No. | 6
2.5 | Install | No. | 6
Testing and commissioning
2.51 | Testing and commissioning of the works covered within this bill. | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL 3: BLOCK D CLASSROOM - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
3.1 | Supply | m | 300
3.2 | Install | m | 300
25mm
3.3 | Supply | m | 100
3.4 | Install | m | 100
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
3.5 | Supply | No. | 50
3.6 | Install | No. | 50
25mm
3.7 | Supply | No. | 18
3.8 | Install | No. | 18
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
3.9 | Supply | No. | 5
3.1 | Install | No. | 5
100 x 100 x 50mm
3.11 | Supply | No. | 17
3.12 | Install | No. | 17
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
3.13 | Supply | m | 600
3.14 | Install | m | 600
4.0 mm²
3.15 | Supply | m | 200
3.16 | Install | m | 200
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Insulated copper earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
3.17 | Supply | m | 300
3.18 | Install | m | 300
4.0 mm²
3.19 | Supply | m | 100
3.2 | Install | m | 100
Socket outlets
Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes, drilling, etc
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted
3.21 | Supply | No. | 10
3.22 | Install | No. | 10
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
3.23 | Supply | No. | 5
3.24 | Install | No. | 5
Photocell
Photocell installed in a suitably sized rectangular bulkhead luminaire housing with clear UV stabilised high impact acrylic lens and labelling as specified
16A, 230V, Photocell
3.25 | Supply | No. | 1
3.26 | Install | No. | 1
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type A2
3.27 | Supply | No. | 26
3.28 | Install | No. | 26
Type B1
3.29 | Supply | No. | 8
3.3 | Install | No. | 8
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Telecommunications distribution board
Flush mounted distribution board, lockable, complete with 20mm thick wooden back board
300 x 300 x 150mm deep
3.31 | Supply | No. | 1
3.32 | Install | No. | 1
Telecommunications outlets
Galvanised steel epoxy powder coated cradles and covers mounted on power skirting or wall complete with removable blank inserts.
Intercom speaker outlet - Wall Mounted
3.33 | Supply | No. | 6
3.34 | Install | No. | 6
Testing and commissioning
3.35 | Testing and commissioning of the works covered within this bill. | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL 4: BLOCK D HOD CLASSROOM - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
4.1 | Supply | m | 500
4.2 | Install | m | 500
25mm
4.3 | Supply | m | 200
4.4 | Install | m | 200
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
4.5 | Supply | No. | 85
4.6 | Install | No. | 85
25mm
4.7 | Supply | No. | 35
4.8 | Install | No. | 35
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
4.9 | Supply | No. | 13
4.1 | Install | No. | 13
100 x 100 x 50mm
4.11 | Supply | No. | 21
4.12 | Install | No. | 21
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
4.13 | Supply | m | 1000
4.14 | Install | m | 1000
4.0 mm²
4.15 | Supply | m | 400
4.16 | Install | m | 400
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Insulated copper earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
4.17 | Supply | m | 500
4.18 | Install | m | 500
4.0 mm²
4.19 | Supply | m | 200
4.2 | Install | m | 200
Socket outlets
Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes, drilling, etc
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted
4.21 | Supply | No. | 14
4.22 | Install | No. | 14
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
4.23 | Supply | No. | 13
4.24 | Install | No. | 13
Photocell
Photocell installed in a suitably sized rectangular bulkhead luminaire housing with clear UV stabilised high impact acrylic lens and labelling as specified
16A, 230V, Photocell
4.25 | Supply | No. | 1
4.26 | Install | No. | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type A2
4.27 | Supply | No. | 33
4.28 | Install | No. | 33
Type B
4.29 | Supply | No. | 10
4.3 | Install | No. | 10
Type B1
4.31 | Supply | No. | 16
4.32 | Install | No. | 16
Telecommunications distribution board
Flush mounted distribution board, lockable, complete with 20mm thick wooden back board
300 x 300 x 150mm deep
4.33 | Supply | No. | 1
4.34 | Install | No. | 1
Telecommunications outlets
Galvanised steel epoxy powder coated cradles and covers mounted on power skirting or wall complete with removable blank inserts.
Intercom speaker outlet - Wall Mounted
4.35 | Supply | No. | 4
4.36 | Install | No. | 4
Testing and commissioning
4.37 | Testing and commissioning of the works covered within this bill. | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL 5: BLOCK F CLASSROOM - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
5.1 | Supply | m | 300
5.2 | Install | m | 300
25mm
5.3 | Supply | m | 100
5.4 | Install | m | 100
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
5.5 | Supply | No. | 50
5.6 | Install | No. | 50
25mm
5.7 | Supply | No. | 18
5.8 | Install | No. | 18
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
5.9 | Supply | No. | 7
5.1 | Install | No. | 7
100 x 100 x 50mm
5.11 | Supply | No. | 20
5.12 | Install | No. | 20
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
5.13 | Supply | m | 600
5.14 | Install | m | 600
4.0 mm²
5.15 | Supply | m | 200
5.16 | Install | m | 200
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Insulated copper earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
5.17 | Supply | m | 300
5.18 | Install | m | 300
4.0 mm²
5.19 | Supply | m | 100
5.2 | Install | m | 100
Socket outlets
Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes, drilling, etc
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted
5.21 | Supply | No. | 13
5.22 | Install | No. | 13
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
5.23 | Supply | No. | 7
5.24 | Install | No. | 7
Photocell
Photocell installed in a suitably sized rectangular bulkhead luminaire housing with clear UV stabilised high impact acrylic lens and labelling as specified
16A, 230V, Photocell
5.25 | Supply | No. | 1
5.26 | Install | No. | 1
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type A2
5.27 | Supply | No. | 32
5.28 | Install | No. | 32
Type B1
5.29 | Supply | No. | 10
5.3 | Install | No. | 10
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Telecommunications distribution board
Flush mounted distribution board, lockable, complete with 20mm thick wooden back board
300 x 300 x 150mm deep
5.31 | Supply | No. | 1
5.32 | Install | No. | 1
Telecommunications outlets
Galvanised steel epoxy powder coated cradles and covers mounted on power skirting or wall complete with removable blank inserts.
Intercom speaker outlet - Wall Mounted
5.33 | Supply | No. | 6
5.34 | Install | No. | 6
Testing and commissioning
5.35 | Testing and commissioning of the works covered within this bill. | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL 6: BLOCK EP - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
6.1 | Supply | m | 300
6.2 | Install | m | 300
25mm
6.3 | Supply | m | 300
6.4 | Install | m | 300
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
6.5 | Supply | No. | 50
6.6 | Install | No. | 50
25mm
6.7 | Supply | No. | 50
6.8 | Install | No. | 50
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
6.9 | Supply | No. | 8
6.1 | Install | No. | 8
100 x 100 x 50mm
6.11 | Supply | No. | 17
6.12 | Install | No. | 17
Power skirting
Galvanised steel epoxy powder coated power skirting complete with separate straight cover plates
1-Compartment 1-Cover
6.13 | Supply | m | 80
6.14 | Install | m | 80
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Power skirting Accessories
Galvanised steel epoxy powder coated power skirting accessories
1-Compartment 1-Cover Elbows
6.15 | Supply | No. | 2
6.16 | Install | No. | 2
1-Compartment 1-Cover Tees
6.17 | Supply | No. | 6
6.18 | Install | No. | 6
1-Compartment 1-Cover End Caps
6.19 | Supply | No. | 10
6.2 | Install | No. | 10
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
6.21 | Supply | m | 600
6.22 | Install | m | 600
4.0 mm²
6.23 | Supply | m | 600
6.24 | Install | m | 600
Insulated copper earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
6.25 | Supply | m | 300
6.26 | Install | m | 300
4.0 mm²
6.27 | Supply | m | 300
6.28 | Install | m | 300
Socket outlets
Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes, drilling, etc
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted
6.29 | Supply | No. | 12
6.3 | Install | No. | 12
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, skirting mounted
6.31 | Supply | No. | 32
6.32 | Install | No. | 32
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
6.33 | Supply | No. | 8
6.34 | Install | No. | 8
Photocell
Photocell installed in a suitably sized rectangular bulkhead luminaire housing with clear UV stabilised high impact acrylic lens and labelling as specified
16A, 230V, Photocell
6.35 | Supply | No. | 1
6.36 | Install | No. | 1
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type A2
6.37 | Supply | No. | 22
6.38 | Install | No. | 22
Type B1
6.39 | Supply | No. | 8
6.4 | Install | No. | 8
Telecommunications distribution board
Flush mounted distribution board, lockable, complete with 20mm thick wooden back board
300 x 300 x 150mm deep
6.41 | Supply | No. | 1
6.42 | Install | No. | 1
Telecommunications outlets
Galvanised steel epoxy powder coated cradles and covers mounted on power skirting or wall complete with removable blank inserts.
Intercom speaker outlet - Wall Mounted
6.43 | Supply | No. | 4
6.44 | Install | No. | 4
Testing and commissioning
6.45 | Testing and commissioning of the works covered within this bill. | Item | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BILL 7: ABLUTION BLOCK A - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
7.1 | Supply | m | 200
7.2 | Install | m | 200
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
7.3 | Supply | No. | 35
7.4 | Install | No. | 35
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
7.5 | Supply | No. | 4
7.6 | Install | No. | 4
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
7.7 | Supply | m | 400
7.8 | Install | m | 400
Insulated earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
7.9 | Supply | m | 200
7.1 | Install | m | 200
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
7.11 | Supply | No. | 10
7.12 | Install | No. | 10
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type B
7.13 | Supply | No. | 18
7.14 | Install | No. | 18
Testing and commissioning
7.15 | Testing and commissioning of the works covered within this bill. | Item | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BILL 8: ABLUTION BLOCK B - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
8.1 | Supply | m | 200
8.2 | Install | m | 200
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
8.3 | Supply | No. | 35
8.4 | Install | No. | 35
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
8.5 | Supply | No. | 5
8.6 | Install | No. | 5
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
8.7 | Supply | m | 400
8.8 | Install | m | 400
Insulated earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
8.9 | Supply | m | 200
8.1 | Install | m | 200
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
8.11 | Supply | No. | 5
8.12 | Install | No. | 5
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type B
8.13 | Supply | No. | 28
8.14 | Install | No. | 28
Testing and commissioning
8.15 | Testing and commissioning of the works covered within this bill. | Item | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BILL 9: GUARD HOUSE - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
9.1 | Supply | m | 60
9.2 | Install | m | 60
25mm
9.3 | Supply | m | 30
9.4 | Install | m | 30
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
9.5 | Supply | No. | 10
9.6 | Install | No. | 10
25mm
9.7 | Supply | No. | 5
9.8 | Install | No. | 5
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
9.9 | Supply | No. | 2
9.1 | Install | No. | 2
100 x 100 x 50mm
9.11 | Supply | No. | 3
9.12 | Install | No. | 3
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
9.13 | Supply | m | 120
9.14 | Install | m | 120
4.0 mm²
9.15 | Supply | m | 60
9.16 | Install | m | 60
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Insulated earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
9.17 | Supply | m | 60
9.18 | Install | m | 60
4.0 mm²
9.19 | Supply | m | 30
9.2 | Install | m | 30
Socket outlets
Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes, drilling, etc
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted
9.21 | Supply | No. | 2
9.22 | Install | No. | 2
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
9.23 | Supply | No. | 2
9.24 | Install | No. | 2
Photocell
Photocell installed in a suitably sized rectangular bulkhead luminaire housing with clear UV stabilised high impact acrylic lens and labelling as specified
16A, 230V, Photocell
9.25 | Supply | No. | 1
9.26 | Install | No. | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type A2
9.27 | Supply | No. | 1
9.28 | Install | No. | 1
Type B
9.29 | Supply | No. | 1
9.3 | Install | No. | 1
Type B1
9.31 | Supply | No. | 4
9.32 | Install | No. | 4
Testing and commissioning
9.33 | Testing and commissioning of the works covered within this bill. | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL 10: FIRE PUMP HOUSE - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
10.1 | Supply | m | 60
10.2 | Install | m | 60
25mm
10.3 | Supply | m | 30
10.4 | Install | m | 30
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
10.5 | Supply | No. | 170
10.6 | Install | No. | 170
25mm
10.7 | Supply | No. | 120
10.8 | Install | No. | 120
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
10.9 | Supply | No. | 1
10.1 | Install | No. | 1
100 x 100 x 50mm
10.11 | Supply | No. | 3
10.12 | Install | No. | 3
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
10.13 | Supply | m | 120
10.14 | Install | m | 120
4.0 mm²
10.15 | Supply | m | 60
10.16 | Install | m | 60
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Insulated earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
10.17 | Supply | m | 60
10.18 | Install | m | 60
4.0 mm²
10.19 | Supply | m | 30
10.2 | Install | m | 30
Socket outlets
Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes, drilling, etc
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted
10.21 | Supply | No. | 1
10.22 | Install | No. | 1
Isolators
Isolator complete with box, cover plate and accessories.
60A TPN three-phase isolator, surface mounted, weatherproof, IP56
10.23 | Supply | No. | 1
10.24 | Install | No. | 1
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
10.25 | Supply | No. | 1
10.26 | Install | No. | 1
Photocell
Photocell installed in a suitably sized rectangular bulkhead luminaire housing with clear UV stabilised high impact acrylic lens and labelling as specified
16A, 230V, Photocell
10.27 | Supply | No. | 1
10.28 | Install | No. | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type A2
10.29 | Supply | No. | 2
10.3 | Install | No. | 2
Type B1
10.31 | Supply | No. | 4
10.32 | Install | No. | 4
Testing and commissioning
10.33 | Testing and commissioning of the works covered within this bill. | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL No. 11 - INDEPENDENT INTERVAL BELL SOUNDER SYSTEM
Supply, install, and commission a complete bell sounder system
230V, 50Hz, 203mm gong type bell
11.1 | Supply | No | 2
11.2 | Install | No | 2
20A, 2 pole weather proof isolators for bells
11.3 | Supply | No | 2
11.4 | Install | No | 2
2.5mm², 3 core, PVC/PVC/SWA/PVC cable
11.5 | Supply | m | 100
11.6 | Install | m | 100
2.5mm² PVC insulated copper conductor
11.7 | Supply | m | 200
11.8 | Install | m | 200
2.5mm² bare copper earth wire
11.9 | Supply | m | 100
11.1 | Install | m | 100
600mmx600mm bell sounder distribution board
11.11 | Supply | No | 1
11.12 | Install | No | 1
Programmable interval timer
11.13 | Supply | No | 1
11.14 | Install | No | 1
16A, 230V, 50Hz, Bell push button
11.15 | Supply | No | 2
11.16 | Install | No | 2
3 Way 20mm Entry Box Size 0 Ezee Fit IP68 Non-Corrosive Black Cable Junction Box
11.17 | Supply | No | 2
11.18 | Install | No | 2
Testing and Commissioning
11.19 | Testing and Commissioning of Installation | Sum | 1
11.2 | Manuals and Documentation | Sum | 1
11.21 | Training of Personnel | Sum | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL No. 12 - INTERCOMMUNICATION SYSTEM INSTALLATIONS
Installation of an analogue intercom system. The system must have the ability to provide selective calling (one or two way communication with no Push To Talk) to a particular speaker. It must also be able to broadcast to a group of selected speakers or all the speakers on site . System must be noiseless with no feedback. Call intiation must only be possible from the main control unit. No intercomms will be installed in the hostels. The system will run on its own dedicated backbone
40 Way Intercom Controller Master Station. Must support or drive a minimum of 40 speakers.
13.1 | Supply | No | 1
13.2 | Install | No | 1
High quality, wall mount, indoor, intercom module complete with Speaker (10W) & microphone. The microphone must be very sensitive, able to clearly pick audio in a class environment when activated with no feedback
12.3 | Supply | No | 28
12.4 | Install | No | 28
Outdoor Intercom module complete with Horn Speaker (5-30W) & microphone. (IP66)
12.5 | Supply | No | 4
12.6 | Install | No | 4
Program Preset Timer for School Bell System (hardware unit with lcd display, running bell control software)
12.7 | Supply | No | 1
12.8 | Install | No | 1
Paging console with Gooseneck microphone
12.9 | Supply | No | 1
12.1 | Install | No | 1
INTPAS - M20 to PA Audio interface
12.11 | Supply | No | 1
12.12 | Install | No | 1
Main Termination Block
12.13 | Supply | No | 1
12.14 | Install | No | 1
Sub Termination Blocks
12.15 | Supply | No | 7
12.16 | Install | No | 7
4 pair, twisted, screened, 22swg cable
12.17 | Supply | m | 400
12.18 | Install | m | 400
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
10 pair, twisted, screened, 22swg cable
12.19 | Supply | m | 200
12.2 | Install | m | 200
20 pair, twisted, screened, 22swg cable
12.21 | Supply | m | 200
12.22 | Install | m | 200
AMPHYB048 - PA Amplifier, 70V / 100V Line Distribution, 500 Watt RMS Class D, 2 Mic and 1 Line
12.23 | Supply | No | 1
12.24 | Install | No | 1
Testing and Commissioning
12.25 | Testing and Commissioning of Installation | Sum | 1
12.26 | Manuals, Documentation, AS Builts | Sum | 1
12.27 | Training of Personnel | Sum | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL No. 13 - BUDGETARY ITEMS
Power Supply Upgrade Charges
13.1 | Provide the sum of R300 000.00 (Three Hundred Thousand Rands) for the provision of the Power Supply Upgrade by Eskom. | Sum | 1
Earthing and Lightning Protection
13.2 | Allow the sum of R150 000.00 (One Hundred and Fifty Thousand Rands) for earthing and Lightning Protection system to be done by a specialist as may be required. | Sum | 1
Telephone and Data Network
13.3 | Allow the sum of R50 000.00 (Fifty Thousand Rands)Telephone and Data Network system to be done by a specialist as may be required. | Sum | 1
Existing Blocks Refurbishment
13.4 | Allow the sum of R80 000.00 (Eighty Thousand Rands) for refurbishment works on the existing Adminstration Block's electrical installations as may be required. | Sum | 1
13.5 | Allow the sum of R20 000.00 (Twenty Thousand Rands) for Refurbishment works on the existing Library Block's electrical installations as may be required. | Sum | 1
13.6 | Allow the sum of R50 000.00 (Fifty Thousand Rands) for refurbishment works on the existing Computer Lab Block's electrical installations as may be required. | Sum | 1
13.7 | Allow the sum of R40 000.00 (Forty Thousand Rands) for refurbishment works on the existing Nutrition Centre Block's electrical installations as may be required. | Sum | 1
13.8 | Allow the sum R60 000.00 (Sixty Thousand Rands) for refurbishment works on the existing 2No. 5-Classroom Blocks' electrical installations as may be required. | Sum | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL No. 14 - LABELLING, DOCUMENTATION AND GUARANTEES
Labelling
14.1 | Engraved labels on each switched socket outlet and light switch face plate, glued and screwed. | Item | 1
14.2 | Cable marking with Gravoplast at either end below termination shroud | Item | 1
Documentation
14.3 | Provision of the As-built drawings for the works covered within this bill showing all cable routes, conduit routes, etc | Item | 1
14.4 | Provision of the Operation and Maintenance manuals for the works covered within this bill including conducting User's training | Item | 1
14.5 | Provision of the Certificates of Compliance upon completion for the works covered within this bill. | Item | 1
Guarantee
14.6 | 12 month equipment and installation guarantee on the works covered within this bill.The guarantee period commences on the day of successful handing over of the building to the Client. | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE

## SUMMARY
ITEM | DESCRIPTION | UNIT | QTY | AMOUNT
SUMMARY
14.1 | BILL 1: RETICULATION AND DISTRIBUTION BOARDS | Sum | 1
14.2 | BILL 2: GRADE R CLASSROOM BLOCK - ELECTRICAL INSTALLATIONS | Sum | 1
14.3 | BILL 3: BLOCK D CLASSROOM - ELECTRICAL INSTALLATIONS | Sum | 1
14.4 | BILL 4: BLOCK D HOD CLASSROOM - ELECTRICAL INSTALLATIONS | Sum | 1
14.5 | BILL 5: BLOCK F CLASSROOM - ELECTRICAL INSTALLATIONS | Sum | 1
14.6 | BILL 6: BLOCK EP - ELECTRICAL INSTALLATIONS | Sum | 1
14.7 | BILL 7: ABLUTION BLOCK A - ELECTRICAL INSTALLATIONS | Sum | 1
14.8 | BILL 8: ABLUTION BLOCK B - ELECTRICAL INSTALLATIONS | Sum | 1
14.9 | BILL 9: GUARD HOUSE - ELECTRICAL INSTALLATIONS | Sum | 1
14.1 | BILL 10: FIRE PUMP HOUSE - ELECTRICAL INSTALLATIONS | Sum | 1
14.11 | BILL 11: INDEPENDENT INTERVAL BELL SOUNDER SYSTEM INSTALLATIONS | Sum | 1
14.12 | BILL 12: INTERCOMMUNICATION SYSTEM INSTALLATIONS | Sum | 1
14.13 | BILL 13 - BUDGETARY ITEMS | Sum | 1
14.14 | BILL 14 - LABELLING, DOCUMENTATION AND GUARANTEES | Sum | 1
SUB-TOTAL A (Excluding VAT)
Add P`s & G`s
TOTAL AMOUNT CARRIED TO FINAL SUMMARY (Excluding VAT)