## P AND G's
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 1
BILL NO. 1
PRELIMINARIES
BUILDING AGREEMENT AND PRELIMINARIES
The JBCC Series 2000 Principal Building Agreement (JBCC Edition 4.1 code 2101,March 2005 edition) prepared by the Joint Building Contract Committee shall be the applicable building agreement, amended as hereinafter described
The ASAQS Preliminaries (November 2007 edition) published by the Association of South African Quantity Surveyors for use with the said JBCC Principal Building Agreement shall be deemed to be incorporated in these bills of quantities
Contractor's are referred to the abovementioned documents for the full intent and meaning of each clause thereof
These clauses are hereinafter referred to by clause number and heading only. Where standard clauses or alternatives are not entirely applicable to this contract, such modifications, corrections or supplements as will apply are given under each relevant clause heading and such modifications, corrections or supplements shall take precedence notwithstanding anything contrary contained in the abovementioned documents
Where any item is not relevant to this specific contract such item is marked N/A, signifying "not applicable"
PREAMBLES FOR TRADES
The Model Preambles for Trades (2008 edition) as published by the Association of South African Quantity Surveyors shall be deemed to be incorporated in these bills of quantities and no claims arising from brevity of description of items fully described in the said Model Preambles will be entertained
Supplementary preambles are incorporated in these bills of quantities to satisfy the requirements of this project. Such supplementary preambles shall take precedence over the provisions of the said Model Preambles
The contractor's prices for all items throughout these bills of quantities must take account of and include for all of the obligations, requirements and specifications given in the said Model Preambles and in any supplementary preambles
| Carried forward |  |  | R | 0
Section No.1
Bill No. 1
Preliminaries and Generals
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 1
SECTION A - PRINCIPAL BUILDING AGREEMENT
Definitions
1 | Definitions and Interpretation (Clause 1.0) | Item
Objective and preparations
2 | Offer, Acceptance and Performance obligations (Clause 2.0) | Item
3 | Documents (Clause 3.0) | Item
4 | Design Responsibility (Clause 4.0) | Item
5 | Employer's Agents (Clause 5.0) | Item
6 | Contractor's site Representative (Clause 6.0) | Item
7 | Compliance with Laws and Regulations (Clause 7.0) | Item
Without limiting the generality of the provisions of Clause 7.0, the contractor's attention is drawn to the provisions of the Construction Regulations, 2003 issued in terms of the Occupational Health and Safety Act, 1993 and Part C4.2 (Annexure C) of this tender document. It is specifically stated that the employer shall prepare a documented health and safety specification for the works and that the employer shall ensure that the contractor has made provision for the cost of health and safety measures during the execution of the works. The contractor shall price opposite this item for compliance with the act and the regulations and the reasonable provisions of the aforementioned health and safety specifications
8 | Works Risk (Clause 8.0) | Item
9 | Indemnities (Clause 9.0) | Item
10 | General Insurances (Clause 10.0) | Item
11 | Special Insurances (Clause 11) | Item
12 | Effecting Insurances (Clause 12) | Item
13 | Assignment (Clause 13) | Item
14 | Security (Clause 14) | Item
Execution
15 | Preparation For and Execution of The Works (Clause 15) | Item
16 | Site and Access (Clause 16) | Item
| Carried forward |  |  | R | 0
Section No.1
Bill No. 1
Preliminaries and Generals
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 1
17 | Contract Instructions (Clause 17) | Item
| Setting Out Of The Works (Clause 18) The contractor shall notify the Principal Agent if any encroachments of adjoining foundations, buildings, structures, pavements, boundaries, etc exist in order that the necessary arrangements may be made for the rectification of any such encroachments. | Item
18 | Temporary works and plant (Clause 19) The contractor shall provide, maintain and remove on completion all perimeter scaffolding required by the contractor for the due and proper fulfilment of the works | Item
19 | Nominated Subcontractors (Clause 20) | Item
20 | Selected Subcontractors (Clause 21) | Item
21 | Employer's Direct Contractors (Clause 22) | Item
22 | Contractor's Domestic Subcontractors (Clause 23) | Item
Completion
23 | Practical Completion (Clause 24) | Item
24 | Works Completion (Clause 25) | Item
25 | Final Completion (Clause 26) | Item
26 | Latent Defects Liability Period (Clause 27) | Item
27 | Sectional Completion (Clause 28) | Item
28 | Revision of Date for Practical Completion (Clause 29) The removal and replacement of materials and/or workmanship which do not conform to specification or drawing shall not constitute grounds for the extension of the construction period nor the adjustment of contract value (Clause 29.3) | Item
29 | Penalty for Late or Non-Completion (Clause 30) | Item
Payment
30 | Interim Payment to the Contractor (Clause 31) The inclusion of materials and goods stored off site in the amount authorized for payment in terms of Clause 31.4 shall be at the sole discretion of the Principal Agent and such inclusion shall only be considered upon the provision, by the contractor, of an approved guarantee issued by a registered commercial bank. Clause 31.6.5 is therefore not applicable. | Item
| Carried forward |  |  | R | 0
Section No.1
Bill No. 1
Preliminaries and Generals
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 1
31 | Adjustment to the Contract Value (Clause 32) All fluctuations in costs, with the exception of fluctuations in the rate of Value Added Tax, shall be for the account of the contractor. | Item
32 | Recovery of Expense and Loss (Clause 33) | Item
33 | Final Account and Final Payment (Clause 34) | Item
34 | Payment to Other Parties (Clause 35) | Item
Termination
35 | Termination by Employer - Contractor's Default (Clause 36) | Item
36 | Termination by Employer - Loss and Damage (Clause 37) | Item
37 | Termination by Contractor - Employer's Default (Clause 38) | Item
38 | Termination - Cessation of the Works (Clause 39) | Item
Dispute
39 | Dispute Settlement (Clause 40) | Item
Contract Agreement
40 | Post tender provisions (Clause 41)The required post tender information shall be inserted in the post tender provisions after consultation with the contractor | Item
41 | Contractual agreement (Clause 42)The required information of the contracting parties and the amount of the accepted contract sum shall be inserted in the contractual agreement for signature of the agreement by the contracting parties | Item
SECTION B: PRELIMINARIES
Definitions and Interpretation
42 | Definitions and Interpretation (Clause 1.0) | Item
Documents
43 | Checking of Documents (Clause 2.1) | Item
44 | Provisional Bills of Quantities (Clause 2.2) | Item
45 | Availability of Construction Documentation (Clause 2.3) | Item
Previous work and adjoining properties
46 | Previous Work - Dimensional Accuracy (Clause 3.1) | Item
47 | Previous Work - Defects (Clause 3.2) | Item
| Carried forward |  |  | R | 0
Section No.1
Bill No. 1
Preliminaries and Generals
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 1
BILL NO. 1
48 | Inspection of Adjoining Properties (Clause 3.3) | Item
Samples, Shop Drawings and Manufacturer's Instructions
49 | Samples of Materials (Clause 4.1) | Item
50 | Workmanship Samples (Clause 4.2) | Item
51 | Shop Drawings (Clause 4.3) | Item
52 | Compliance with Manufacturer's Instructions (Clause 4.4) | Item
Deposits and Fees
53 | Deposits and Fees (Clause 5.1) | Item
Temporary Services
54 | Water (Clause 6.1) | Item
55 | Electricity (Clause 6.2) | Item
56 | Telecommunication Equipment (Clause 6.3) | Item
57 | Ablution Facilities (Clause 6.4) | Item
Prime cost Amounts
58 | Responsibility for Prime Cost Amounts (Clause 7.1) | Item
Special Attendance on N/S Subcontractors
59 | Special Attendance (Clause 8.1) | Item
GENERAL
60 | Protection of the Works (Clause 9.1) | Item
61 | Protection / Isolation of Existing / Sectionally Occupied Works (Clause 9.2) | Item
62 | Security of the Works (Clause 9.3) | Item
63 | Notice Before Covering Work (Clause 9.4) | Item
64 | Disturbance (Clause 9.5) | Item
65 | Environmental Disturbance (Clause 9.6) | Item
66 | Works Cleaning and Clearing (Clause 9.7) | Item
67 | Vermin (Clause 9.8) | Item
68 | Overhand Work (Clause 9.9) | Item
| Carried forward |  |  | R | 0
Section No.1
Bill No. 1
Preliminaries and Generals
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 1
BILL NO. 1
SECTION C: SPECIFIC PRELIMINARIES
Contract Price Adjustment Provisions
69 | Bidders are advised that this Contract shall be a Fixed Price Contract and shall not be subject to the Contract Price Adjustment Provisions (CPAP) or any other escalation formula and therefore bidder are to allow for any increases (except any variations in the rate of Value Added Tax) in cost of labour, materials, transport, etc. | Item
Site Instructions
70 | Site Instructions issued on site are to be recorded in triplicate in a site instruction book which is maintained on site by the contractor. F:............................. V:............................ T:............................ | Item
Warranties for material and workmanship
Where warranties for materials and /or workmanship are called for, the contractor shall obtain a written warranty, addressed to the employer, from the firm supplying the materials and/or doing the work and shall deliever same to the Principal Agent on certified completion of contract. The warranty shall state that workmanship, materials and installation are warranteed for a specified period from the date of final completion and that any defects that may arise during the specified period shall be made good at the expense of the firm supplying the materials and/or doing the work, upon written notice to do so. The warranty will not be enforced if the work is damaged by defects in the construction of the building in which case the responsibility for replacement shall rest entirely with the contractor. F:............................. V:............................ T:............................
Co-operation of contractor for cost management
71 | It is specifically agreed that the contractor accepts the obligation of assisting the principal agent in implementing proper cost management. The contractor will be advised by the principal agent of all cost management procedures which will be implemented to ensure that the final building cost does not exceed the budget. The principal agent undertakes to make available to the contractor all budgetary allowances and cost assessments/ reports to enable the proper procedure to be implemented and the contractor shall attend all cost plan review and cost management meetings. The contractor undertakes to extend these procedures, as necessary, to all subcontractors F:............................. V:............................ T:............................ | Item
| Carried forward |  |  | R | 0
Section No.1
Bill No. 1
Preliminaries and Generals
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
Confidentiality
72 | The contractor undertakes to maintain in confidence any and all information regarding this project and shall obtain appropriate similar undertakings from all subcontractors and suppliers. Such information shall not be used in any way except in connection with the execution of the works No information regarding this project shall be published or disclosed without the prior written consent of the employerF:............................. V:............................ T:............................ | Item
Testing of windows for watertightness
73 | Each window shall be tested for watertightness with water sprayed on by means of a 20mm hosepipe using adequate pressure. If in the opinion of the principal agent, the pressure proves to be inadequate, then the pressure in the hosepipe shall be boosted by means of compressed air or other approved means F:............................. V:............................ T:............................ | Item
74 | Tender Data Schedule F:............................. V:............................ T:............................ | Item
75 | General Conditions of Contract F:............................. V:............................ T:............................ | Item
76 | Special Conditions of Contract F:............................. V:............................ T:............................ | Item
77 | Contract Data F:............................. V:............................ T:............................ | Item
78 | Schedule of Variables F:............................. V:............................ T:............................ | Item
SUMMARY OF CATEGORIES
79 | Category: Fixed F:.............................. | Item | 1 |  | 0
80 | Category: Value V:.............................. | Item
81 | Category: Time T:................................ | Item
| Carried Forward to Summary of Section No. 1 |  |  | R | 0
Section No.1
Bill No. 1
Preliminaries and Generals

## EARTH WORKS
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO. 1
EARTHWORKS (PROVISIONAL)
EARTHWORKS (Provisional)
The Tenderer is referred to the relevant Clauses in the separate document Model Preambles for Trades (1999 Edition) and to the Supplementary Preambles which are incorporated in these Bills of Quantities.
SUPPLEMENTARY PREAMBLES
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include for bulking and loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site.
Subterranean water
No information regarding subterranean water is available. The tenderer must acquaint himself of the presence and depth of subterranean water and allow thereof in his prices.
Site clearance
1 | Digging up and removing rubbish, debris, vegetation, hedges, shrubs and trees not exceeding 200mm girth, bush, etc | m² | 165 |  | 0
2 | Stripping average 100mm thick layer of top soil and
| stockpiling on site | m² | 155 |  | 0
BULK EXCAVATIONS ETC.
Open face excavation in earth over sloping site:
3 | Pit Bulk Excavation | m³ | 220 |  | 0
4 | Extra over excavation for working space in pit excavations 500mm wide from the face of the structure exceeding 1.5m and not exceeding 1.5m and not excavations 500mm wide from the face of the structure exceeding 3.0m deep, including backfilling and compaction in 150mm layers to 93% Mod AASHTO density | m² | 25 |  | 0
EXCAVATIONS
Excavation in compacted earth not exceeding 2m deep in:
5 | Trenche strip footings, groud beams, thickening to surface bed, etc | m³ | 30 |  | 0
6 | Trenches in bottom of pit | m³ | 32 |  | 0
7 | Holes, etc. | m³ | 1 |  | 0
| Carried forward |  |  | R | 0
Section No.2
Bill No. 1
Earthworks (Provisional)
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 1
8 | Reduced levels under floors | m³ | 7 |  | 0
Extra over excavations other than bulk in earth for
excavation in:
9 | Soft rock. | m³ | 28 |  | 0
10 | Hard rock. | m³ | 14 |  | 0
RISK OF COLLAPSE
Risk of collapse to:
11 | Sides of trench and hole excavations not exceeding 2.0m deep. | m² | 278 |  | 0
CARTING AWAY
Extra over all excavations for loading, carting and dumping surplus excavated material (no allowance made for increase in bulk):
12 | Off site to a dumping site to be located by the Contractor. |  | 123 |  | 0
Filling with material from excavations including hauling, spread, level, water and compact to a density of at least 93% Mod. AASHTO maximum density in 150mm thick layers:
13 | Backfilling behind pit walls, holes, etc |  | 31 |  | 0
14 | Backfilling to trenches, holes, etc. |  | 21 |  | 0
Selected imported G5/6/7 natural gravel in 150mm layers and spread, level, water and compact to 93% modified AASHTO density in 150mm thick layers:
15 | Under floors, steps, paving, etc. |  | 30 |  | 0
Compaction of surfaces
16 | Compaction of ground surface under floors etc, including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Mod AASHTO density | m² | 68 |  | 0
17 | Compaction of ground surface under pit slab, including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 95% Mod AASHTO density | m² | 49 |  | 0
Prescribed density tests on filling
18 | "Modified AASHTO Density" test | No. | 40 |  | 0
| Carried forward |  |  | R | 0
Section No.2
Bill No. 1
Earthworks (Provisional)
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 1
KEEP EXCAVATIONS FREE OF WATER
19 | Allow for keeping excavations free of water. | Item | 1 |  | 0
SOIL POISONING
Approved brand of anti-termite soil poison applied by a Registered Pest Control Company and guaranteed against termite infestation for ten years:
20 | Under floors, etc. including forming and poisoning shallow furrows against foundation walls etc., filling in furrows and ramming. | m² | 97 |  | 0
21 | To bottom and sides of trenches, etc. | m² | 45 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No.2
Bill No. 1
Earthworks (Provisional)

## CONCRETE, FORMWORK AND REINF.
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO. 2
CONCRETE, FORMWORK AND REINFORCEMENT
The Tenderer is referred to the relevant Clauses in the separate document Model Preambles for Trades (1999 Edition) and to the Supplementary Preambles which are incorporated in these Bills of Quantities.
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
Grade 15Mpa/19mm concrete
1 | 50mm concrete blinding under footings and bases | m³ |  |  | 0
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
25MPa/19mm Concrete in:
2 | Strip Foundation,etc. | m³ |  |  | 0
3 | Slab | m³ | 25 |  | 0
REINFORCED CONCRETE
25MPa/19mm Concrete in:
4 | Surface beds. | m³ |  |  | 0
5 | Surface bed in pit | m³ |  |  | 0
6 | Bases | m³ |  |  | 0
7 | Stub columns (23/26) | m³ |  |  | 0
TEST BLOCKS
Test Blocks:
8 | Making and testing set of three 150 x 150 x 150mm concrete strength test cubes. | Sets | 20 |  | 0
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a wood float:
9 | Surface beds, slabs, etc. | m² | 58 |  | 0
Finishing top surfaces of concrete smooth with a power float:
10 | Surface beds, slabs, etc. in narrow widths. | m² | 40 |  | 0
| Carried forward |  |  | R | 0
Section No.2
Bill No. 2
Concrete, Formwork and Reinforcement
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 2
SMOOTH FORMWORK (DEGREE OF
ACCURACY 1)
Smooth formwork to sides
11 | Rectangular columns in foundation (provisional) | m² |  |  | 0
12 | Edges, risers, ends and reveals not exceeding 300mm high or wide | m |  |  | 0
13 | To soffit of slab, including propping in heights exceeding 3.0m and not exceeding 3.5m high | m² |  |  | 0
MOVEMENT JOINTS, ETC.
Expansion joints with Bitumen impregnated
softboard between vertical concrete and brick
surfaces:
14 | 10mm Thick joint not exceeding 300mm high. | m | 90 |  | 0
REINFORCEMENT
Mild / High tensile steel reinforcement to structural
concrete work
15 | Diameter in Varying Diameter bars | t |  |  | 0
Fabric reinforcement with minimum 400mm wide overlaps:
16 | Type 193/245 Fabric reinforcement in concrete surface beds, slabs, etc. | m² | 100 |  | 0
17 | Type 395 Fabric reinforcement in concrete surface beds, slabs, etc. | m² | 30 |  | 0
e
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No.2
Bill No. 2
Concrete, Formwork and Reinforcement

## MASONRY
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO. 3
MASONRY
The Tenderer is referred to the relevant Clauses in the separate document Model Preambles for Trades (1999 Edition) and to the Supplementary Preambles which are incorporated in these Bills of Quantities.
BRICKWORK IN FOUNDATIONS
Brickwork in extra hard burnt clay NFX bricks in 3:1 cement mortar:
1 | One brick wall. | m² |  |  | 0
Brickwork in M200 Block bricks in 3:1 cement mortar:
2 | One brick wall. | m² |  |  | 0
Brick reinforcement:
3 | 150mm Wide reinforcement built in horizontally. | m |  |  | 0
BRICKWORK IN SUPERSTRUCTURE
Brickwork in burnt clay NFP bricks in 3:1 cement mortar:
4 | Piers | m³ |  |  | 0
5 | Half brick walls. | m² |  |  | 0
6 | One brick walls. | m² |  |  | 0
BRICKWORK SUNDRIES
Brick reinforcement:
7 | 75mm Wide reinforcement built in horizontally. | m |  |  | 0
8 | 150mm Wide reinforcement built in horizontally. | m |  |  | 0
Prestressed fabricated lintels:
9 | 100 x 70mm lintels in lengths not exceeding 3m. | m³ |  |  | 0
10 | 100 x 70mm lintels in lengths exceeding 3.0m but not exceeding 4.5m. | m³ |  |  | 0
Galvanised hoop iron cramps, ties, etc.:
11 | 32 x 1,6mm Wall tie 600mm long with one end shot pinned to concrete and other built into brickwork. | m³ |  |  | 0
FACE BRICKWORK
External facings in approved face bricks (FBS) bricks delivered to site (excluding VAT) pointed with recessed horizontal and vertical joints:
12 | Extra over brickwork for face brickwork. | m² |  |  | 0
| Carried forward |  |  | R | 0 | `
Section No.2
Bill No. 3
Masonry
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 3
| Brick-on-edge header course copings, sills, etc of approved face bricks (FBS) delivered to site pointed with recessed horizontal and vertical joints on all exposed faces: | m |  |  | 0
13 | 280mm Wide brick-on-edge flat lintel in cement mortar, including pointing 395mm girth.
14 | 190mm Wide brick-on-edge header course sills set sloping and slightly projecting and pointed on all exposed faces. | m |  |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No.2
Bill No. 3
Masonry

## WATERPROOFING
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO. 4
WATERPROOFING
The Tenderer is referred to the relevant Clauses in the separate document Model Preambles for Trades (1999 Edition) and to the Supplementary Preambles which are incorporated in these Bills of Quantities.
SUPPLEMENTARY PREAMBLES
Waterproofing
Waterproofing of roofs, basements, etc. shall be laid under a ten year guarantee. Waterproofing to roofs shall be laid to even falls to outlets etc with necessary ridges, hips and valleys. Descriptions of sheet or membrane waterproofing shall be deemed to include additional labour to turn-ups and turn-downs.
DAMPPROOFING OF WALLS AND FLOORS
One layer of 375 micron "Consol Plastics Brikgrip DPC" embossed damp-proof course:
1 | In walls, under cills, etc. | m² |  |  | 0
One layer of 250 micron "Consol Plastics Gunplas USB Green" waterproof sheeting sealed at laps with "Gunplas Pressure Sensitive Tape":
2 | Under surface beds. | m | 58 |  | 0
JOINT SEALANTS, ETC.
Prepare and apply two coats bitumen foam plastic joint sealing strip:
3 | 25 x 20mm In joints between frames and walls. | m | 99 |  | 0
4 | 45 x 25mm In expansion joints. | m | 31 |  | 0
Silicone sealing compound including raking out joint filler as necessary and backing cord, bond breaker, primer, etc.:
5 | 5mm Fillets joints. | m | 35 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0 | `
Section No.2
Bill No. 4
Waterproofing

## ROOF COVERINGS
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO. 5
ROOF COVERINGS, ETC.
The Tenderer is referred to the relevant Clauses in the separate document Model Preambles for Trades (1999 Edition) and to the Supplementary Preambles which are incorporated in these Bills of Quantities.
PROFILED SHEETING OF METAL, FIBRE- CEMENT, PLASTICS, ETC.
IBR Roof Sheeting with Chromadek finish on 75 x 50mm timber purlins on timber trusses to specialist design, roof sheet colour to Architects approval
1 | Sheeting laid to roof with pitch not exceeding 20 degrees in single lengths (measured nett). | m² | 1000 |  | 0
2 | Drip flashing | m | 250 |  | 0
ROOF INSULATION
Fibreglass reinforced aluminium foil faced resin bonded glass fibre flexible building insulation:
3 | 50mm Thick fibreglass roof insulation (10kg/m3) laid taut over purlins (purlins at approximately 2m centres) with minimum 100mm side laps and fixed concurrent with roof covering including galvanised steel straining wires, etc. | m² | 1500 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0 | `
Section No.2
Bill No. 5
Roof Coverings, Etc

## CARPENTRY AND JOINERY
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO.6
CARPENTRY AND JOINERY
The Tenderer is referred to the relevant Clauses
in the separate document Model Preambles for
Trades (1999 Edition) and to the Supplementary
Preambles which are incorporated in these Bills
| of Quantities. | [5 empty] | 6
SUPPLEMENTARY PREAMBLES
20
ROOFS, ETC
120
Plate nailed timber roof truss construction
1 | Roof construction, 32m² overall, including wall plates, trusses, jack rafters, permanent bracing and 50 x 75mm purlins at 1,20m centres for roof covering | No | 4 |  | 0
2 | Roof construction, 24m² overall, including wall plates, trusses, jack rafters, permanent bracing and 50 x 75mm purlins at 1,20m centres for roof covering | No | 2 |  | 0
3 | Roof construction, 32m² overall, including wall plates, trusses, jack rafters, permanent bracing and 50 x 75mm purlins at 1,20m centres for roof covering | m |  |  | 0
EAVES,VERGES, ETC
"Everite" medium density plain nutec-cement
4 | 32 x 219mm Fascias and barge boards | m | 130 |  | 0
DOORS, WINDOWS, SASHES, ETC.
Solid flush doors:
5 | Standard flush panel door with masonite veneer on both sides prepared for painting. average door size overall 762 x 2032mm high. (D1) | No | 5 |  | 0
Solid flush doors with commercial veneer on both
sides hung on steel frames suitable for 220mm thick
wall (frames elsewhere):
6 | Standard 44mm thick solid core flush panel with hardwood timber veneer on both sides prepared for painting. average door size overall 813 x 2032mm high. (D2) | No | 30 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0 | `
Section No.2
Bill No. 6
Carpentry and Joinery

## CEILINGS, PARTITIONS AND FLOORI
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO.7
CEILINGS, PARTITIONS AND ACCESS
FLOORING
The Tenderer is referred to the relevant Clauses
in the separate document Model Preambles for
Trades (1999 Edition) and to the Supplementary
Preambles which are incorporated in these Bills
of Quantities.
NAILED UP CEILINGS
6,4mm "Rhino" or other equal and approved
gypsum plasterboard with H-type pressed steel
jointing strips
1 | Ceilings including 38 x 38mm sawn softwood brandering at 400mm centres | m² | 900 |  | 0
2 | Extra over ceiling for 650 x 650mm trap door of 38 x 50mm wrought softwood rebated framing with one 38 x 50mm sawn softwood cross brander covered with ceiling board and fitted flush in opening | No | 10 |  | 0
3 | 75mm Coved cornices, nailed to walls/ceilings | m | 350 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0 | `
Section No.2
Bill No. 7
Ceilings, Partitions and Access Flooring

## IRONMONGERY
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO.8
IRONMONGERY
The Tenderer is referred to the relevant Clauses
in the separate document Model Preambles for
Trades (1999 Edition) and to the Supplementary
Preambles which are incorporated in these Bills
of Quantities.
LOCKS
The following locks are in one set with a master key:
| "Solid Art 390/311" chromium plated two lever mortice lockset. | No | 35 |  | 0
"Solid":
| Art 293 Indicator bolt with keep fixed to metal. | No |  |  | 0
BATHROOM FITTINGS
| "Tiletoria" Gio Reiti 3925g Toilet Roll Holder-A/018719 or similar approved installed in strict accordance with the manufacturer's instructions. | No |  |  | 0
"Chairman Industries"
| 32mm Type 9 back grab rail 800mm long plugged | No |  |  | 0
| 32mm Type 8 side grab rail 900mm girth plugged | No |  |  | 0
SUNDRIES
| Door stop with rubber buffer. | No |  |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0 | `
Section No.2
Bill No. 8
Ironmongery

## METALWORK
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO.9
METALWORK
The Tenderer is referred to the relevant Clauses in the separate document Model Preambles for Trades (1999 Edition) and to the Supplementary Preambles which are incorporated in these Bills of Quantities.
PRESSED STEEL DOOR FRAMES
Standard 1.2mm thick single rebated pressed mild steel frames, complete with mild steel lugs and 100mm butt hinges, all welded to frame
1 | Frame for door size 815 x 20320mm high. | No | 5 |  | 0
Standard 1.2mm thick single rebated pressed mild steel frames, complete with mild steel lugs and 100mm butt hinges, all welded to frame by durowin pressings
2 | Frame for door size 815 x 2030mm high. | No | 5 |  | 0
STEEL WINDOWS, DOORS, ETC.
Purpose-made security steel window based on RF7 standard window frame, complete with purpose- made internal and external screens and glazed in 6,4mm laminated safety glass
3 | Window size 889 x 457mm high (W1) | No | 5 |  | 0
HOT DIPPED GALVANISED GATES AND FRAMES, ETC
4 | Single gate, size 900 x 2164mm high of 50 x 30 x 3mm rectangular hollow section frame all round with mitred angles and two 30 x 6mm flat section horizontal intermediate rails with ends welded to framing and with seven 12mm diameter rod vertical bars framed through intermediate rails with ends welded to and including 40 x 40 x 3mm hollow section framing, hinges, locking devices, etc | No |  |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0 | `
Section No. 2
Bill No. 9
Metalwork

## PLASTERING
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO. 10
PLASTERING
The Tenderer is referred to the relevant Clauses in the separate document Model Preambles for Trades (1999 Edition) and to the Supplementary Preambles which are incorporated in these Bills of Quantities.
SCREEDS
Screeds on concrete:
1 | 30mm thick on floors to receive waterproofing | m² | 78 |  | 0
INTERNAL PLASTER
One coat cement plaster mimimum 15mm thick (5:1) wood floated to receive tiles (elsewhere) including all labours on:
2 | On wall | m² | 259 |  | 0
3 | Narrow widths, not exceeding 300mm wide | m² | 20 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0 | `
Section No. 2
Bill No. 10
Plastering

## TILING
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO. 11
TILING
The Tenderer is referred to the relevant Clauses
in the separate document Model Preambles for
Trades (1999 Edition) and to the Supplementary
Preambles which are incorporated in these Bills
of Quantities.
WALL TILING
200mm x 200mm x 6mm Thick glazed ceramic wall
tiles (P.C. allowance of R 100/m2 excludes V.A.T. but
includes delivery to site), and add for waste, laying,
fixing with an approved adhesive and jointing and
pointing in `Tal' grout to;
| On splashbacks. | m² |  |  | 0
FLOOR TILING
2 | Allow a Prime Cost Amount of R 200/m2 for non-slip
scratch resistant vanyl floor tiles size 400 x
3 | 400mm fixed with an approved adhesive on plaster
bedding (bedding elsewhere) and flush pointed with
tinted waterproof jointing compound:
| On floors. | m² | 650 |  | 0
| In narrow widths. | m² | 30 |  | 0
| Skirting 130mm high (plaster elsewhere) | m² | 116 |  | 0
ALUMINIUM AND PVC TRIMS, ETC.
'Genesis ESA 150' natural anodised aluminium straight
| edge protector 12mm high at junction of differing floor finishes, plugged and screwed | m | 20 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0 | `
Section No. 2
Bill No. 11
Tiling

## PLUMBING AND DRAINAGE
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO. 12
PLUMBING AND DRAINAGE
The Tenderer is referred to the relevant Clauses
in the separate document Model Preambles for
Trades (1999 Edition) and to the Supplementary
Preambles which are incorporated in these Bills
of Quantities.
RAINWATER DISPOSAL
0,6mm Galvanised sheet iron
1 | 100 x 75mm Eaves gutters | m | 228 |  | 0
2 | Extra over for stopped end | No | 12 |  | 0
3 | Extra over for angle | No | 12 |  | 0
4 | 100mm Diameter rainwater pipes | m | 31 |  | 0
5 | Extra over for bend | No | 25 |  | 0
6 | Extra over for shoe | No | 12 |  | 0
7 | Extra over for eaves or plinth offset | No | 12 |  | 0
SANITARY FITTINGS
"Vaal":
8 | "Atlas VIP 200" (Code 223APG) heavy duty pedestal, fixing in position and connecting complete, or similar | No |  |  | 0
9 | "Vaal Hibiscus" One tap hole wash hand basin complete with chromium plated waste union, chain and stay, vulcanite plugs and fixing in position on and including two semi-concealed cast iron brackets including sealing with an approved waterproof sealer and connecting complete, or similar | No |  |  | 0
10 | Urinal | No |  |  | 0
WASTE UNIONS ETC
11 | 32mm Basin waste union | No |  |  | 0
TRAPS, ETC.
"Cobra Watertech"
12 | 340mm Chromium plated bottle trap with C342/1 tailpipe,C342/2 capnut and C342/3 wall flange | No |  |  | 0
13 | 32mm Deepseal "P" or "S" trap | No |  |  | 0
TAPS, VALVES, ETC.
"Cobra Watertech"
14 | 15mm 232-10CP angle regulating valve | No |  |  | 0
15 | 22mm 1003/125-22RB fullway gate valve | No |  |  | 0
16 | 15mm Lever ballcock | No |  |  | 0
| Carried forward |  |  | R | 0
Section No.2
Bill No. 12
Plumbing and Drainage
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 12
17 | 15mm Pillar taps | No | 9 |  | 0
18 | 20mm PA3.132 "Masterflo 1" pressure reducing valve | No | 4 |  | 0
TAPS, VALVES, ETC
uPVC pipes
19 | 50 mm Pipes | m |  |  | 0
20 | 110 mm Pipes | m |  |  | 0
Extra over uPVC pipes for fittings:
21 | 50 mm Bend | No |  |  | 0
WATER SUPPLY
Class O copper tube including short lengths and straight couplings, jointed with and including capillary solder fittings using 97/3 solder to DIN 1701:
22 | 15 mm Pipes | m |  |  | 0
Extra over copper Class O pipe for:
23 | 15 mm Fittings | m |  |  | 0
TESTING
24 | Provide all necessary apparatus, water, etc. and allow for testing the whole of the plumbing and drainage work in Parts and Sections as completed and/or handed over to the satisfaction of the Architect and Local Authorities. All defective work is to be taken out and replaced at the Contractor's expense and the whole retested until found perfect. | Item | 1 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No.2
Bill No. 12
Plumbing and Drainage

## GLAZING
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO.13
GLAZING
The Tenderer is referred to the relevant Clauses
in the separate document Model Preambles for
Trades (1999 Edition) and to the Supplementary
Preambles which are incorporated in these Bills
of Quantities.
Glass in steel fixed with putty
1 | 4mm Clear float glass in squares exceeding 0,1 and not exceeding 0,5 square metre in area | m² | 50 |  | 0
TOPS, SHELVES, DOORS, MIRROR ETC
4 mm Silvered float glass copper backed mirrors with polished bevelled edges fixed with double sided adhesive tape to and including painted supawood sub-frame approximately 350 x 900 mm fixed to and including galvanised angle section cleats/brackets
2 | Mirror 900 x 600 mm high | No | 9 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0 | `
Section No. 2
Bill No. 13
Glazing

## PAINTWORK
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO.14
PAINTWORK
The Tenderer is referred to the relevant Clauses in the separate document Model Preambles for Trades (1999 Edition) and to the Supplementary Preambles which are incorporated in these Bills of Quantities.
PLASTER
PAINTWORK, ETC TO NEW WORK ON
FLOATED PLASTER SURFACES WITH
Prepare and apply one coat "Plascon" plaster primer, one coat undercoat and two coats "Plascon Polvin Super Acrylic PVA" paint on:
1 | Internal and external walls | m² | 2000 |  | 0
2 | Narrow widths, not exceeding 300mm wide | m² | 150 |  | 0
PLASTER BOARD SURFACES WITH
One coat alkali resistant plaster primer and two coats "PVA emulsion" paint on
3 | Ceilings and cornices | m² | 1500 |  | 0
4 | Fascias and barge boards | m² | 55 |  | 0
METAL
Prepare and apply one coat factory primed red oxide, one coat "undercoat" and two coats velvaglo paint, all paint to be as per manufacturer's specification:
5 | Roof coverings | m² | 720 |  | 0
6 | Door frames. | m² | 30 |  | 0
7 | Grilles, gates, etc. (both sides measured). | m² | 15 |  | 0
WOOD
Prepare and apply one coat "undercoat", two coat "Velvaglo" all paint to be as per manufacturer's specification:
8 | General surfaces of doors. | m² | 25 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0 | `
Section No. 2
Bill No. 14
Paintwork

## RAINWATER TANK
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO. 15
RAINWATER TANK
The Tenderer is referred to the relevant Clauses in the separate document Model Preambles for Trades (1999 Edition) and to the Supplementary Preambles which are incorporated in these Bills of Quantities.
SUPPLEMENTARY PREAMBLES
Excavation in compacted earth not exceeding 2m
deep in:
1 | Pit Excavation | m³ |  |  | 0
2 | Extra over excavations for working space in pit excavations 500mm wide from the face of the structure exceeding 1.5m and not exceeding 3.0m deep, including backfilling and compaction in 150mm layers to 93% Mod AASHTO density | m² |  |  | 0
3 | Trench excavation not exceeding 2m deep | m³ |  |  | 0
Extra over excavations other than bulk in earth for excavation in:
4 | Soft rock. | m³ |  |  | 0
Risk of collapse to:
5 | Sides of trench and hole excavations not exceeding 2.0m deep. | m² |  |  | 0
Extra over all excavations for carting away
6 | Cart away surplus material to a suitable dumping site to be located by the contractor | m³ |  |  | 0
Earth filling of G5 material supplied by the contractor compacted to 95% Mod AASHTO density
7 | Filling under water tank slab including leveling and compacting | m³ |  |  | 0
8 | Filling under V-drain including compacting | m³ |  |  | 0
UNREINFORCED CONCRETE
20MPa/19mm Concrete in:
9 | V-shaped channel 1000mm wide x average 130mm thick with rounded salient edges and finished on exposed surfaces with 2:1 cement mortar, laid to falls in panels not exceeding 2000mm long, etc and including all necessary excavation, formwork, filling, etc | m |  |  | 0
10 | Extra over 1000mm channel for angles, intersections, ends, dressing into sides of catchpits, etc | No |  |  | 0
11 | Rainwater spreader, 1500mm wide at one end and tapering to 1000mm wide at the other, formed of 125mm thick class 20/19 base concrete whilst still green and 100 x 150mm high upstand edge beam, all with and including necessary excavation, compaction, formwork, etc | No |  |  | 0
| Carried forward |  |  | R | 0
Section No.2
Bill No. 15
Rainwater Tank
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 15
25MPa/19mm Concrete in:
12 | Raft foundation beams | m³ |  |  | 0
13 | Raft foundation slabs | m³ |  |  | 0
14 | In surface beds | m³ |  |  | 0
Test Blocks:
15 | Making and testing set of three 150 x 150 x 150mm concrete strength test cubes. | Sets |  |  | 0
SMOOTH FORMWORK (DEGREE OF ACCURACY II)
Smooth formwork to sides
16 | Edges, risers, ends and reveals not exceeding 300mm high or wid | m |  |  | 0
Expansion joints with 12mm bitumen impregnated softboard between vertical concrete and brick surfaces
17 | 12mm Joints not exceeding 300mm high | m |  |  | 0
Rough formwork to sides
18 | Beams | m² |  |  | 0
REINFORCEMENT
Mild / High tensile steel reinforcement to structural concrete work
19 | Diameter in Varying Diameter bars | t |  |  | 0
Fabric reinforcement with minimum 400mm wide overlaps:
20 | Type 193/245 Fabric reinforcement in concrete surface beds, slabs, etc. | m² |  |  | 0
21 | Type 395 Fabric reinforcement in concrete surface beds, slabs, etc. | m² |  |  | 0
Brickwork in extra hard burnt clay NFX bricks in 3:1 cement mortar:
22 | One brick wall in stretcher bond | m² |  |  | 0
Brick reinforcement:
23 | 150mm Wide reinforcement built in horizontally | m |  |  | 0
| Carried forward |  |  | R | 0
Section No.2
Bill No. 15
Rainwater Tank
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 15
Corobrik Topaz Travertine or other approved FBS face bricks pointed with recessed horizontal and vertical joints
24 | Extra over ordinary brickwork for face brickwork in stretcher with "Corobrik Corngold Satin FBA" or other approved clay facing brick | m² |  |  | 0
25 | Extra over ordinary brickwork for Brick-on-edge header course coping to top of one brick wall, built fair and pointed on top and both edges with "Corobrick Corngold Satin FBA" or other approved facing bricks | m |  |  | 0
Sundries
26 | 30 x 152mm Deep mortar fillet placed around rainwater tank | m |  |  | 0
DAMPPROOFING
Two-part grey polysulphide sealing compound including backing cord bond breaker, primer, etc
27 | 12 x 12mm In vertical expansion joints including raking out expansion joint filler as necessary | No |  |  | 0
PLUMBING TRAPS, ETC.
Taps, valves, etc and joints to 'Polycop" polypropylene pipes including all necessary adaptors, etc
"Cobra Watertech"
28 | 12mm KM2.203-15 brass demand bibcock | No |  |  | 0
TANKS ETC
"Stewards and Lloyds polycon" polyethelene or other approved water tank
29 | 5000 Litre rainwater tank complete with access lid with inlet hole placed in position on concrete slab and anchored with and including four 7mm diameter galvanised steel chain anchors fitted into garden hose protective sleeves with top end of chain secured to tank and bottom end secured to and including 10mm diameter x 650mm girth U-shaped high tensile steel securing lugs, bent to detail and cast into concrete plinth | No |  |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No.2
Bill No. 15
Rainwater Tank

## APRONS AND V - DRAINS
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 2
BILL NO. 16
APRONS AND V - DRAINS (PROVISIONAL)
The Tenderer is referred to the relevant Clauses
in the separate document Model Preambles for
Trades (1999 Edition) and to the Supplementary
Preambles which are incorporated in these Bills
of Quantities.
SUPPLEMENTARY PREAMBLES
Earth filling supplied but Contractor, spread and
levelled in layers not exceeding 300mm deep and
compacted to 93% Mod AASHTO.
1 | Approved earth filling by Contractor under solid floors, steps, pavings, etc | m³ | 45 |  | 0
Compaction of surfaces
2 | Compaction of ground surface under floors etc including
scarifying for a depth of 100mm, breaking down
oversize material, adding suitable material where
| necessary and compacting to 93% Mod AASHTO density | m² | 80 |  | 0
REINFORCED CONCRETE CAST AGAINST
EXCAVATED SURFACES
20MPa/19mm Concrete in:
3 | V-shaped channel 1000mm wide x average 130mm thick with rounded salient edges and finished on exposed surfaces with 2:1 cement mortar, laid to falls in panels not exceeding 2000mm long, etc and including all necessary excavation, formwork, filling, etc | m | 80 |  | 0
4 | Extra over 1000mm channel for angles, intersections, ends, dressing into sides of catchpits, etc | No | 12 |  | 0
5 | Rainwater spreader, 1500mm wide at one end and tapering to 1000mm wide at the other, formed of 125mm thick class 20/19 base concrete filled with 16 No. concrete bricks cast into concrete whilst still green and 100 x 150mm high upstand edge beam, all with and including necessary excavation, compaction, formwork, etc | No | 5 |  | 0
SMOOTH FORMWORK (DEGREE OF ACCURACY II)
Smooth formwork to sides
6 | Edges, risers, ends and reveals not exceeding 300mm | m² | 50 |  | 0
high or wide
Expansion joints with 12mm bitumen impregnated softboard between vertical concrete and brick surfaces
7 | 12mm Joints not exceeding 300mm high | m | 52 |  | 0
Fabric reinforcement
8 | Type 193/245 Fabric reinforcement in concrete surface | m² | 80 |  | 0
beds, slabs, etc.
| Carried forward |  |  | R | 0
Section No.2
Bill No. 16
Aprons and V-Drains
Item No. |  | Unit | Quantity | Rate | Amount
| Brought Forward |  |  |  | 0
SECTION NO. 2
BILL NO. 12
WATERPROOFING
Two-part grey polysulphide sealing compound including backing cord, bond breaker, primer, etc
9 | 12 x 12mm In vertical expansion joints including raking | m | 85 |  | 0
out expansion joint filler as necessary
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No.2
Bill No. 16
Aprons and V-Drains

## SUMMARY
Bill No. | SECTION SUMMARY - Imbalenhle Primary School | Page No |  | Amount
1 | Earthworks (Provisional) |  |  | 0
2 | Concrete, Formwork and Reinforcemet |  |  | 0
3 | Mansory |  |  | 0
4 | Waterproofing |  |  | 0
5 | Roof Coverings, Etc |  |  | 0
6 | Carpentry and Joinery |  |  | 0
7 | Ceilings, Partitions and Access Flooring |  |  | 0
8 | Ironmongery |  |  | 0
9 | Metalwork |  |  | 0
10 | Plastering |  |  | 0
11 | Tiling |  |  | 0
12 | Plumbing and Drainage |  |  | 0
13 | Glazing |  |  | 0
14 | Paintwork |  |  | 0
15 | Rainwater Tank |  |  | 0
16 | Aprons and V-Drains (Provisional) |  |  | 0
| Carried to Final Summary |  | R | 0
Section No.2

## Provisional Sums
Item No. |  | Unit | Quantity | Rate | Amount
SECTION NO. 3
BILL NO. 1
PROVISIONAL SUMS
The tenderer is referred to the relevant clauses in
the separate document Model Preambles for the
trades (1999 Edition) and to the supplementary
Preambles which are incorporated in these bills of
Quantities.
The following sums and amounts are NETT.
Under no circumstances may any Provisional Sum or P.C Item be altered.
ALLOW THE FOLLOWING PROVISIONAL SUMS
EXTERNAL WORKS
1 | Provide the amount of R 500,000.00 (Five Hundred thousand Rands) for the complete installtion of Cleavu fence including all required gates. | Item | 1 | 500000 | 500000
.
2 | Profit on above item. | Item | 1 |  | 0
3 | Attendance on ditto. | Item | 1 |  | 0
COMMUNITY LIASON OFFICER
4 | Provide the amount of R 100,000.00 (One Hundred thousand Rands) nett for Community Liason Officer's Salary to be omitted in part or whole as instructed by Principal Agent (R10 000 per month | Item | 1 | 100000 | 100000
5 | Profit and attendence on above item. | % | % |  | 0
6 | Attendance on ditto. | % | % |  | 0
ELECTRICAL REPAIRS
7 | Provide the amount of R 250,000.00 (Two Hendred and Fifty thousand Rands) for repair works on the existing electrical installation, to be omitted in part or whole as instructed by Principal Agent. | Item | 1 | 250000 | 250000
| Profit and attendence on above item. | % | % |  | 0
| Attendance on ditto. | % | % |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 850000 | `
Section No. 3
Bill No. 1
Provisional Sums

## Final Summary
SECTION No. | FINAL SUMMARY | Page No |  | Amount
1 | Preliminaries and Generals | 7 |  | 0
2 | Imbalenhle Primary School | 32 |  | 0
3 | Provisional Sums | 33 |  | 850000
| SUB-TOTAL |  |  | 850000
| ELECTRICAL INSTALLATION - (PART - B) | N/A |  | 0
| WATER INSTALLATION - (PART-C) | N/A |  | 0
| FIRE INSTALLATION - (PART-C) | N/A |  | 0
| CONTINGENCIES |  |  | 42500
Allow Ten Percent (5%) on the sub-total above for Contingencies to be used at the discretion of the Principal Agent and to be deducted in whole or in part if not required
| SUB-TOTAL |  |  | 892500
| Value Added Tax (15%) |  |  | 133875
| Total to Tender |  |  | 1026375
| Total to tender |  | R | 1026375