## FINAL SUMMARY
MPDOE - MAINTENANCE PROJECT - CLUSTER 1 - ACTIVITY SCHEDULE
| FINAL SUMMARY OF COSTS | BUILDING | PROFESSIONAL FEES | TOTAL
1 | NHANYANE PRIMARY SCHOOL | 0 |  | 0
2 | MAHLATSI HIGH SCHOOL | 0 |  | 0
3 | ETIMBONDVWENI COMBINED SCHOOL | 0 |  | 0
4 | THAMBOKHULU PRIMARY SCHOOL | 0 |  | 0
5 | SIDLOKO PRIMARY SCHOOL | 0 |  | 0
6 | ZAMOKUHLE PRIMARY SCHOOL | 0 |  | 0
7 | DRIEKOPPIES COMBINED SCHOOL | 0 |  | 0
8 | MAGUBHA PRIMARY SCHOOL | 0 |  | 0
9 | SHONGWE BOARDING SCHOOL | 0 |  | 0
| Sub-Total | 0 | 0 | 0
| VAT at 15% | 0 | 0 | 0
| TOTAL CARRIED TO FORM OF OFFER & ACCEPTANCE | 0 | 0 | 0

## NHANYANE
NHANYANE PRIMARY SCHOOL
REF | SCOPE | UNIT | PRICE (Excl. VAT)
Repairs of storm damage to 1 classroom, the school hall roof and damaged walk-way
| BUILDING WORKS |  | 0
1 | ALTERATIONS
| Break up and remove damaged material then store for later re-use or cart away from site as per engineer's instructions | Item
2 | WATERPROOFING
| Waterproofing to surface beds, etc. | Item
| Waterproofing to roofs, etc. | Item
3 | ROOF COVERING, ETC
| Roof sheeeting including ridge covers | Item
4 | CARPENTRY AND JOINERY
| Supply and installation of skirtings, doors, pinning boards, etc. | Item
5 | CEILINGS, PARTITIONS AND ACCESS FLOORING
| Installation of ceilings, including cornices, trap doors, etc | Item
6 | PLASTERING
| Internal, external wall plaster and floor screeds, etc | Item
7 | GLAZING
| 3mm clear glass window panes | Item
8 | PAINTWORK
| All paintwork to internal and external walls, including paintwork to ceilings, doors and frames, etc. | Item
9 | ELECTRICAL WORKS
| Inspection and refurbishment of existing electrical works, complete including the issuing of CoC. | Item
10 | PRELIMINARIES AND GENERAL
| Contractor to allow for related P&G costs | Item
11 | CONTENGENCIES
| Add 10% Contingencies to be used at client's descretion | Item
| Total Carried to Final Summary |  | 0

## MAHLATSI
MAHLATSI HIGH SCHOOL
REF | SCOPE | UNIT | PRICE (Excl. VAT)
12 Pit toilets are to be demolished
| BUILDING WORKS |  | 0
1 | DEMOLITION OF EXISTING TOILETS
| Demolition of existing toilets, including the carting away from site all rubble and including rehabilitating and backfilling redundant pits where applicable | Item
2 | PRELIMINARIES AND GENERAL
| Contractor to allow for related P&G costs | Item
3 | CONTENGENCIES
| Add 10% Contingencies to be used at client's descretion | Item
| Total Carried to Final Summary |  | 0

## ETIMBONDVWENI
ETIMBONDVWENI COMBINED SCHOOL
REF | SCOPE | UNIT | PRICE (Excl. VAT)
Backfilling for old pit toilets already demolished
| BUILDING WORKS |  | 0
1 | DEMOLITION OF EXISTING TOILETS
| Rehabilitating and backfilling of redundant pits toilets, structures already demolished | Item
2 | PRELIMINARIES AND GENERAL
| Contractor to allow for related P&G costs | Item
3 | CONTENGENCIES
| Add 10% Contingencies to be used at client's descretion | Item
| Total Carried to Final Summary |  | 0

## THAMBOKHULU
THAMBOKHULU PRIMARY SCHOOL
REF | SCOPE | UNIT | PRICE (Excl. VAT)
11 Pit toilets are to be demolished
| BUILDING WORKS |  | 0
1 | DEMOLITION OF EXISTING TOILETS
| Demolition of existing toilets, including the carting away from site all rubble and including rehabilitating and backfilling redundant pits where applicable | Item
2 | PRELIMINARIES AND GENERAL
| Contractor to allow for related P&G costs | Item
3 | CONTENGENCIES
| Add 10% Contingencies to be used at client's descretion | Item
| Total Carried to Final Summary |  | 0

## SIDLOKO
SIDLOKO PRIMARY SCHOOL
REF | SCOPE | UNIT | PRICE (Excl. VAT)
15 Pit toilets are to be demolished, they are currently used by the school as the existing waterborne toilets cannot be utilized due to water challenge
| BUILDING WORKS |  | 0
1 | DEMOLITION OF EXISTING TOILETS
| Demolition of existing toilets, including the carting away from site all rubble and including rehabilitating and backfilling redundant pits where applicable | Item
2 | PRELIMINARIES AND GENERAL
| Contractor to allow for related P&G costs | Item
3 | CONTENGENCIES
| Add 10% Contingencies to be used at client's descretion | Item
| Total Carried to Final Summary |  | 0

## ZAMOKUHLE
ZAMOKUHLE PRIMARY SCHOOL
REF | SCOPE | UNIT | PRICE (Excl. VAT)
Refurbishment of all 16 classrooms to meet acceptance criteria
| BUILDING WORKS |  | 0
1 | ALTERATIONS
| Break up and remove damaged material then store for later re-use or cart away from site as per engineer's instructions | Item
2 | CONCRETE, FORMWORK AND REINFORCEMENT
| Repair and install surface beds including backfill, compaction, concrete, steel and concrete not limited to but including engineer's recommendations, etc. | Item
3 | MASONRY
| Brickwork, etc | Item
4 | WATERPROOFING
| Waterproofing to surface beds, etc. | Item
| Waterproofing to roofs, etc. | Item
5 | ROOF COVERING, ETC
| Roof sheeeting including ridge covers | Item
6 | CARPENTRY AND JOINERY
| Supply and installation of skirtings, doors, pinning boards, etc. | Item
| Supply and installation of cupboards and shelves | Item
7 | CEILINGS, PARTITIONS AND ACCESS FLOORING
| Installation of ceilings, including cornices, trap doors, etc | Item
8 | FLOOR COVERINGS, PLASTIC LININGS, ETC.
| Floor coverings, etc | Item
9 | IRONMONGERY
| Door and window components, etc | Item
10 | METALWORK
| Steel window and door frames, etc | Item
11 | PLASTERING
| Internal, external wall plaster and floor screeds, etc | Item
12 | PLUMBING WORKS
| Sanitary fitiings, etc | Item
13 | GLAZING
| 3mm clear glass window panes | Item
14 | PAINTWORK
| All paintwork to internal and external walls, including paintwork to ceilings, doors and frames, etc. | Item
15 | EXTERNAL WORKS
| Provision for stormwater channels, etc. | Item
16 | ELECTRICAL WORKS
| Inspection and refurbishment of existing electrical works, complete including the issuing of CoC. | Item
17 | PRELIMINARIES AND GENERAL
| Contractor to allow for related P&G costs | Item
18 | CONTENGENCIES
| Add 10% Contingencies to be used at client's descretion | Item
| Total Carried to Final Summary |  | 0

## DRIEKOPPIES
DRIEKOPPIES COMBINED SCHOOL
REF | SCOPE | UNIT | PRICE (Excl. VAT)
Refurbishment of all 26 classrooms to meet acceptance criteria
| BUILDING WORKS |  | 0
1 | ALTERATIONS
| Break up and remove damaged material then store for later re-use or cart away from site as per engineer's instructions | Item
2 | CONCRETE, FORMWORK AND REINFORCEMENT
| Repair and install surface beds including backfill, compaction, concrete, steel and concrete not limited to but including engineer's recommendations, etc. | Item
3 | WATERPROOFING
| Waterproofing to surface beds, etc. | Item
| Waterproofing to roofs, etc. | Item
4 | ROOF COVERING, ETC
| Roof sheeeting including ridge covers | Item
CARPENTRY AND JOINERY
5 | Supply and installation of skirtings, doors, pinning boards, etc. | Item
6 | CEILINGS, PARTITIONS AND ACCESS FLOORING
| Installation of ceilings, including cornices, trap doors, etc | Item
7 | FLOOR COVERINGS, PLASTIC LININGS, ETC.
| Floor coverings, etc | Item
8 | IRONMONGERY
| Door and window components, etc | Item
9 | METALWORK
| Steel door frames | Item
10 | PLASTERING
| Internal, external wall plaster and floor screeds, etc | Item
11 | GLAZING
| 3mm clear glass window panes | Item
12 | PAINTWORK
| All paintwork to internal and external walls, including paintwork to ceilings, doors and frames, etc. | Item
13 | EXTERNAL WORKS
| Provision for stormwater channels, etc. | Item
14 | ELECTRICAL WORKS
| Inspection and refurbishment of existing electrical works, complete including the issuing of CoC. | Item
15 | PRELIMINARIES AND GENERAL
| Contractor to allow for related P&G costs | Item
16 | CONTENGENCIES
| Add 10% Contingencies to be used at client's descretion | Item
| Total Carried to Final Summary |  | 0

## MAGUBHA
MAGUBHA PRIMARY SCHOOL
REF | SCOPE | UNIT | PRICE (Excl. VAT)
Renovation of 16 classrooms
| BUILDING WORKS |  | 0
1 | ALTERATIONS
| Break up and remove damaged material then store for later re-use or cart away from site as per engineer's instructions | Item
2 | CONCRETE, FORMWORK AND REINFORCEMENT
| Repair and install surface beds including backfill, compaction, concrete, steel and concrete not limited to but including engineer's recommendations, etc. | Item
3 | MASONRY
| Brickwork, etc | Item
4 | WATERPROOFING
| Waterproofing to surface beds, etc. | Item
| Waterproofing to roofs, etc. | Item
5 | ROOF COVERING, ETC
| Roof sheeeting including ridge covers | Item
6 | CARPENTRY AND JOINERY
| Supply and installation of skirtings, doors, pinning boards, etc. | Item
| Provision for Furniture | Item
7 | CEILINGS, PARTITIONS AND ACCESS FLOORING
| Installation of ceilings, including cornices, trap doors, etc | Item
8 | FLOOR COVERINGS, PLASTIC LININGS, ETC.
| Floor coverings, etc | Item
9 | IRONMONGERY
| Door and window components, etc | Item
10 | METALWORK
| Steel window and door frames, etc | Item
11 | PLASTERING
| Internal, external wall plaster and floor screeds, etc | Item
12 | GLAZING
| 3mm clear glass window panes | Item
13 | PAINTWORK
| All paintwork to internal and external walls, including paintwork to ceilings, doors and frames, etc. | Item
14 | EXTERNAL WORKS
| Provision for stormwater channels, etc. | Item
15 | ELECTRICAL WORKS
| Inspection and refurbishment of existing electrical works, complete including the issuing of CoC. | Item
16 | PRELIMINARIES AND GENERAL
| Contractor to allow for related P&G costs | Item
17 | CONTENGENCIES
| Add 10% Contingencies to be used at client's descretion | Item
| Total Carried to Final Summary |  | 0

## SHONGWE
SHONGWE BOARDING SCHOOL
REF | SCOPE | UNIT | PRICE (Excl. VAT)
Refurbishment of all boarding hostels and hall to meet acceptance criteria
| BUILDING WORKS |  | 0
1 | ALTERATIONS
| Break up and remove damaged material then store for later re-use or cart away from site as per engineer's instructions | Item
2 | CONCRETE, FORMWORK AND REINFORCEMENT
| Repair and install surface beds including backfill, compaction, concrete, steel and concrete not limited to but including engineer's recommendations, etc. | Item
3 | MASONRY
| Brickwork, etc | Item
4 | WATERPROOFING
| Waterproofing to surface beds, etc. | Item
| Waterproofing to roofs, etc. | Item
5 | ROOF COVERING, ETC
| 225mm High fibre cement fascias and barge boards | Item
6 | CARPENTRY AND JOINERY
| Supply and installation of skirtings, doors, pinning boards, etc. | Item
| Supply and installation of kitchen shelving | Item
| Supply and installation of dormitory wardrobes | Item
7 | CEILINGS, PARTITIONS AND ACCESS FLOORING
| Installation of ceilings, including cornices, trap doors, etc | Item
8 | FLOOR COVERINGS, PLASTIC LININGS, ETC.
| Floor coverings, etc | Item
9 | IRONMONGERY
| Door and window components, etc | Item
10 | METALWORK
| Steel window and door frames, etc | Item
11 | PLASTERING
| Internal, external wall plaster and floor screeds, etc | Item
12 | PLUMBING AND DRAINAGE
| Sanitary fitiings, etc | Item
13 | GLAZING
| 3mm clear glass window panes and mirror | Item
14 | PAINTWORK
| All paintwork to internal and external walls, including paintwork to ceilings, doors and frames, etc. | Item
15 | EXTERNAL WORKS
| Provision for stormwater channels, etc. | Item
16 | ELECTRICAL WORKS
| Inspection and refurbishment of existing electrical works, complete including the issuing of CoC. | Item
MECHANICAL WORKS
| Inspection and refurbishment or maintenance of air conditioners and if necessary, supply and installation of new air conditioners to Client's approval | Item
PLUMBING WORKS
| Servicing and repairs of plumbing including sewer line in the hostel and dining hall including replacement of sanitaryware where necessary. Scope to be verified on site. | Item
17 | PRELIMINARIES AND GENERAL
| Contractor to allow for related P&G costs | Item
18 | CONTENGENCIES
| Add 10% Contingencies to be used at client's descretion | Item
| Total Carried to Final Summary |  | 0