## 1-1 BILL NO. 1
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 1 | H1 | 0
PRELIMINARIES | H1 | 0
BUILDING AGREEMENT AND PRELIMINARIES | H2 | 0
The JBCC Series 2000 Principal Building Agreement (March 2005 edition 4.1) prepared by the Joint Building Contracts Committee, shall be the agreement, amended as hereinafter described |  | 0
The Preliminaries for use with the JBCC Series 2000 Principal Building Agreement (March 2005 edition) prepared by the Joint Building Contracts Committee, shall be deemed to be incorporated in these bills of quantities |  | 0
Contractors are referred to the above-mentioned documents for the full intent and meaning of each clause thereof |  | 0
These clauses are hereinafter referred to by clause number and heading only. Where standard clauses or alternatives are not entirely applicable to this contract such modifications, corrections or supplements as will apply are given under each relevant clause heading and such modifications, corrections or supplements shall take precedence notwithstanding anything contrary contained in the above-mentioned documents |  | 0
Where any item is not relevant to this specific contract such item is marked N/A, signifying "not applicable" |  | 0
Notwithstanding anything to the contrary contained in any of the contract documents including the Principal Building Agreement and the Preliminaries, the provision of the "Preliminaries" as hereinafter set forth shall prevail and shall take precedence |  | 0
PREAMBLES FOR TRADES | H2 | 0
The Model Preambles for Trades (1999 edition) as published by the Association of South African Quantity Surveyors shall be deemed to be incorporated in these bills of quantities and no claim arising from brevity of description of items fully described in the said Model Preambles for Trades will be entertained |  | 0
Supplementary preambles to the Model Preambles covering clauses of a general nature, clauses pertaining to specific materials and amendments to clauses in the Model Preambles are incorporated in these bills of quantities to satisfy the requirements of this project |  | 0
The contractor's prices for all items throughout these bills of quantities must take account of and include for all of the obligations, requirements and specifications given in the Model Preambles and in any supplementary preambles |  | 0
GENERAL | H2 | 0
If Alternative A as set out in clause B10.3 hereinafter is to be used for the adjustment of the preliminaries each item priced is to be allocated to one or more of the three categories "F", "T" or "V" as the case may be below such item, where "F" denotes a fixed amount (amount not to be varied), "T" denotes an amount variable in proportion to time and "V" denotes an amount variable in proportion to value |  | 0
SECTION A - PRINCIPAL BUILDING AGREEMENT | H2 | 0
Definitions (A1) | H3 | 0
Definitions and interpretation (clause 1)F:............................. V:............................ T:............................ | Item | 1
Objective and Preparation (A2 to A14) | H3 | 0
Offer acceptance and performance (clause 2)F:............................. V:............................ T:............................ | Item | 0
Documents (clause 3)F:............................. V:............................ T:............................ | Item | 0
Design responsibility (clause 4)F:............................. V:............................ T:............................ | Item | 0
Employer's agents (clause 5)F:............................. V:............................ T:............................ | Item | 0
The principal agent shall:- monitor and control progress and scheduling- monitor all contract conditions, and- coordinate the efforts of the employer's agents, the contractor and subcontractorsThe powers conferred on the principal agent in terms of this clause and/or the exercising of these powers shall not be construed as removing or diminishing any of the obligations of the Contractor in terms of the Principal Building Agreement, whether financial, contractual or otherwise, nor shall the exercising of these powers create any privity of contract as between the Employer or his agents on the one part and the Contractor or subcontractors or suppliers on the other part |  | 0
The principal agent reserves the right to attend and participate in all contractor/subcontractor's meetings, to invite other employer's agents to attend such meetings at his discretion and to converse and chair any such meetings if the contractor is derelict in his duty in arranging such meetings to the degree of frequency and comprehensiveness dictated in the opinion of the project manager by the circumstances and exigencies of the construction process |  | 0
Site representative (clause 6)F:............................. V:............................ T:............................ | Item | 0
Compliance with regulations (clause 7)F:............................. V:............................ T:............................ | Item | 0
Works risk (clause 8) F:..................... V:............................ T:............................ | Item | 0
Indemnities (clause 9)F:............................. V:............................ T:............................ | Item | 0
Works insurances (clause 10) F:............................. V:............................ T:............................ | Item | 0
Liability insurances (clause 11)F:............................. V:............................ T:............................ | Item | 0
Effecting insurance (clause 12)F:............................. V:............................ T:............................ | Item | 0
NO CLAUSE | N/A | 0
Security (clause 14)F:............................. V:............................ T:............................ | Item | 0
Execution (A15-A23) | H3 | 0
Preparation for and execution of the works (clause 15) F:............................. V:............................ T:............................ | Item | 0
Access to the works (clause 16)F:............................. V:............................ T:............................ | Item | 0
Contract instructions (clause 17)F:............................. V:............................ T:............................ | Item | 0
Setting out of the works (clause 18)F:............................. V:............................ T:............................ | Item | 0
The contractor shall notify the principal agent if any encroachments of adjoining foundations, buildings, structures, pavements, boundaries, etc exist in order that the necessary arrangements may be made for the rectification of any such encroachments |  | 0
Assignment (clause 19)F:............................. V:............................ T:............................ | Item | 0
The contractor shall not cede his rights or delegate his obligations in terms of this agreement unless specifically called for by the employer |  | 0
Nominated subcontractors (clause 20)F:............................. V:............................ T:............................ | Item | 0
Selected subcontractors (clause 21)F:............................. V:............................ T:............................ | Item | 0
Written proof is required from subcontract tenderers at tendering that they can meet the JBCC Selected Subcontract Agreement or other tender agreements and provide security in terms of the agreement. If the above is not provided the tender may not be accepted All amounts allowed under Provisional Amounts are intended to be awarded to Selected Subcontractors |  | 0
Employer's Direct Contractors (clause 22) F:............................. V:............................ T:............................ | Item | 0
Contractor's Domestic Sub-Contractors (Clause 23) F:............................. V:............................ T:............................ | Item | 0
Completion (A24-A30) | H3 | 0
Practical completion (clause 24)F:............................. V:............................ T:............................ | Item | 0
Works completion (clause 25)F:............................. V:............................ T:............................ | Item | 0
Final completion (clause 26)F:............................. V:............................ T:............................ | Item | 0
Latent defects liability period (clause 27)F:............................. V:............................ T:............................ | Item | 0
Sectional completion (clause 28)F:............................. V:............................ T:............................ | Item | 0
Revision of date of practical completion (clause 29)F:............................. V:............................ T:............................ | Item | 0
The removal and replacement of materials and/or workmanship that do not conform to specification or drawings shall not constitute grounds for an extension of the construction period nor for an adjustment to the contract sum (clause 29.3) |  | 0
Penalty for non-completion (clause 30)F:............................. V:............................ T:............................ | Item | 0
Payment (A31 - A35) | H3 | 0
Interim payment to the contractor (clause 31)F:............................. V:............................ T:............................ | Item | 0
Adjustment to the contract value (clause 32)F:............................. V:............................ T:............................ | Item | 0
Where prices are submitted by the contractor or nominated/selected subcontractors during the progress of the works in respect of contract instructions or in regard to a claim under the terms of the contract and notwithstanding the fact that such prices may be used in an interim payment certificate, there is to be no presumption of acceptance. Should the principal agent wish to accept any such prices prior to the issue of the final certificate, it will be in writing |  | 0
Recovery of expense and loss (clause 33)F:............................. V:............................ T:............................ | Item | 0
Final account and final payment (clause 34)F:............................. V:............................ T:............................ | Item | 0
The employer shall not pay any interest on amounts payable to the contractor for one hundred and forty two (142) days after the date of issue of the certificate of practical completion |  | 0
The employer shall, however, pay interest to the contractor at the rate stipulated in clause 34.11 on any amounts payable to the contractor more than one hundred and forty two (142) days after the date of issue of the certificate of practical completion but only for such period as the settlement of the final account is delayed by the non-performance of the principal agent or the employer or his agents. In evaluating non-performance for purposes of this clause a reasonable time shall be allowed to the employer or his agents to respond to any matter brought to his/their attention and which may affect the settlement of the final account |  | 0
Payment to other parties (clause 35) F:............................. V:............................ T:............................ | Item | 0
Cancellation (A36-A39) | H3 | 0
Cancellation by employer - contractor's default (clause 36)F:............................. V:............................ T:............................ | Item | 0
Cancellation by employer - loss and damage (clause 37)F:............................. V:............................ T:............................ | Item | 0
Cancellation by contractor - employer's default (clause 38)F:............................. V:............................ T:............................ | Item | 0
Cancellation - cessation of the works (clause 39)F:............................. V:............................ T:............................ | Item | 0
Dispute (A40) | H3 | 0
Dispute Settlement (clause 40) F:............................. V:............................ T:............................ | Item | 0
Substitute Provisions (A41) | H3 | 0
State clauses (Clause 41) F:............................. V:............................ T:............................ | Item | 0
Information necessary for the completion of those clauses contained in the schedule which are necessary for tender purposes is given hereunder |  | 0
THE SCHEDULE | H3 | 0
Information necessary for completion of those clauses contained in the schedule which are necessary for tender purposes is given hereunder |  | 0
Pre-tender information (clause 42) F:............................. V:............................ T:............................ | Item | 0
42.1 CONTRACTING AND OTHER PARTIES | H3 | 0
42.1.1Employer: DEVELOPMENT BANK OF SOUTHERN AFRICAPostal Address:P O Box 1234HALFWAY HOUSE, 1685Physical Address:Headway Hill, 1258 Lever RoadMIDRAND, 1685Tel : 011 313 5000/3911/3297 Fax : Email : webmaster@debsa.org |  | 0
42.2 CONTRACT DETAILS | H3 | 0
42.2.1 Works Description: |  | 0
42.2.2 Site Description: |  | 0
42.2.3 Work or installations by direct contractors: N/A |  | 0
42.2.4 This agreement is for a government contract where there are specific options that are applicable to a State organ only Yes |  | 0
42.2.5 Date on which possession of the site is intended to be given: T.B.A |  | 0
42.2.6 Period for the commencement of the works after the contractor takes possession of the site 5 working days |  | 0
42.2.7 For the works as a whole. Intended date of practical completion and the penalty per calendar day 12 months after contractual commencement date Date Penalty Amount is 0,05% of the Contract Amount per calendar day |  | 0
42.2.8 For the works in sections: Intended date of practical completion and the penalty per calender day Section 1N/A ........................................ DateN/A ........................ Penalty Amount |  | 0
42.2.9 The law applicable to this agreement shall be that of South Africa (country) |  | 0
42.3 INSURANCES | H3 | 0
42.3.1 Contract works insurance to be effected by:Contractor: For the Sum of R Contract Sum + 10% With a deductible of - to be determined by the contractor |  | 0
42.3.2 Supplementary insurance is required Yes |  | 0
42.3.3 Public liability insurance to be effected by:Contractor: For the Sum of R10,000,000.00With a deductible of - to be determined by the contractor |  | 0
42.4 DOCUMENTS | H3 | 0
42.4.1 Waivers of contractors lien or right of continuing possession is required Yes |  | 0
42.4.2 Number of construction document copies to be supplied to the contractor free of charge: 3 Number of |  | 0
42.4.3 Bills of Quantities/Lump sum document schedule of rates drawn up in accordance with: “Standard System of Measuring Builders’ Work” |  | 0
42.4.4 On acceptance of the tender the bills of quantities/lump sum document is to be submitted within working days The priced bills of quantities must be handed in with the tender |  | 0
42.4.5 JBCC Engineering General Conditions are to be included in the contract documents: No |  | 0
42.4.6 The contract value is to be adjusted using escalation adjustment indices No Where JBCC CPAP is to be used Base Month |  | 0
42.4.7 Details of changes made to the provision of JBCC standard documentation: The base month for escalation will be as stated in this document. N/A |  | 0
SECTION B: PRELIMINARIES | H2 | 0
Definitions and interpretation (B1) | H3 | 0
Definition and interpretation (B1.1 - B1.4.6) F:............................. V:............................ T:............................ | Item | 0
Documents (B2) | H3 | 0
Checking of documents (B2.1)F:............................. V:............................ T:............................ | Item | 0
Provisional bills of quantities (B2.2)F:............................. V:............................ T:............................ | N/A | 0
Availability of construction documentation (B2.3) F:............................. V:............................ T:............................ | Item | 0
Interests of agents (B2.4)F:............................. V:............................ T:............................ | Item | 0
Priced documents (B2.5)F:............................. V:............................ T:............................ | Item | 0
Tender submission (B2.6)F:............................. V:............................ T:............................ | Item | 0
The site (B3) | H3 | 0
Defined works area (B3.1)F:............................. V:............................ T:............................ | Item | 0
Geotechnical investigation (B3.2)F:............................. V:............................ T:............................ | Item | 0
Inspection of the site (B3.3)F:............................. V:............................ T:............................ | Item | 0
Existing premises occupied (B3.4)F:............................. V:............................ T:............................ |  | 0
Previous work - dimensional accuracy (B3.5)F:............................. V:............................ T:............................ |  | 0
Previous work - defects (B3.6)F:............................. V:............................ T:............................ |  | 0
Services - known (B3.7)F:............................. V:............................ T:............................ | Item | 0
Services - unknown (B3.8)F:............................. V:............................ T:............................ | Item | 0
Protection of trees etc (B3.9)F:............................. V:............................ T:............................ | Item | 0
Articles of value (B3.10)F:............................. V:............................ T:............................ | Item | 0
Inspection of adjoining properties etc (B3.11)F:............................. V:............................ T:............................ | Item | 0
Management of contract (B4) | H3 | 0
Management of the works (B4.1) F:............................. V:............................ T: ........... | Item | 0
Programme for the works (B4.2) F:............................. V:............................ T:............................ | Item | 0
Progress meetings (B4.3)F:............................. V:............................ T:............................ | Item | 0
Technical meetings (B4.4)F:............................. V:............................ T:............................ | Item | 0
Labour and Plant records (B4.5) F:............................. V:............................ T:............................ | Item | 0
Samples, Shop Drawings and Manufacturer's Instructions (B5) | H3 | 0
Samples of materials (B5.1)F:............................. V:............................ T:............................ | Item | 0
Workmanship samples (B5.2)F:............................. V:............................ T:............................ | Item | 0
Shop drawings (B5.3) F:............................. V:............................ T:............................ | Item | 0
Compliance with Manufacturer's Instructions (B5.4) F:............................. V:............................ T:............................ | Item | 0
Temporary works and plant (B6) | H3 | 0
Deposits and fees (B6.1)F:............................. V:............................ T:............................ | Item | 0
Enclosure of the works (B6.2)F:............................. V:............................ T:............................ | Item | 0
Advertising (B6.3)F:............................. V:............................ T:............................ | Item | 0
Plant, equipment, sheds and offices (B6.4) F: ..................... V:............................ T: .................... | Item | 0
Main notice board (B6.5)F:............................. V:............................ T:............................ | Item | 0
Subcontractors' notice board (B6.6) F:............................. V:............................ T:............................ | Item | 0
Temporary services (B7) | H3 | 0
Location (B7.1)F:............................. V:............................ T:............................ | Item | 0
Water (B7.2) Option [A] shall apply F:............................. V:............................ T:............................ | Item | 0
Electricity (B7.3) Option [A] shall apply F:............................. V:............................ T:............................ | Item | 0
Telecommunication facilities (B7.4) F:............................. V:............................ T:............................ | Item | 0
Ablution facilities (B7.5) Option [A] shall apply F:............................. V:............................ T:............................ | Item | 0
Prime cost amounts (B8) | H3 | 0
Responsibility for prime cost amounts (B8.1)F:............................. V:............................ T:............................ | Item | 0
Attendance on N/S Subcontractors (B9) | H3 | 0
General attendance (B9.1)F:............................. V:............................ T:............................ | Item | 0
Special attendance (B9.2)F:............................. V:............................ T:............................ | Item | 0
Commissioning - Fuel, water and power (B9.3)F:............................. V:............................ T:............................ | Item | 0
Financial aspects (B10) | H3 | 0
Statutory taxes, duties and levies (B10.1)F:............................. V:............................ T:............................ | Item | 0
Payment of preliminaries (B10.2) Option [B] shall apply F:............................. V:............................ T:............................ | Item | 0
Adjustment of preliminaries (B10.3) Option [A] shall apply F:............................. V:............................ T:............................ | Item | 0
Payment certificate cash flow (B10.4)F:............................. V:............................ T:............................ | Item | 0
General (B11) | H3 | 0
Protection of works (B11.1)F:............................. V:............................ T:............................ | Item | 0
Protection/isolation of existing/sectionally occupied works (B11.2)F:............................. V:............................ T:............................ | N/A | 0
Security of the Works (B11.3) F:............................. V:............................ T:............................ | Item | 0
Notice before covering work (B11.4)F:............................. V:............................ T:............................ | Item | 0
Disturbance (B11.5) F:............................. V:............................ T:............................ | Item | 0
Environmental Disturbance (B11.6) F:............................. V:............................ T:............................ | Item | 0
Works cleaning and clearing (B11.7) F:............................. V:............................ T:............................ | Item | 0
Vermin (B11.8) F:............................. V:............................ T:............................ | Item | 0
Overhand work (B11.9) F:............................. V:............................ T:............................ | Item | 0
Instruction manuals and guarantees (B11.10) F:............................. V:............................ T:............................ | Item | 0
As built information (B11.11) F:............................. V:............................ T:............................ | Item | 0
Tenant Installations (B11.12) F:............................. V:............................ T:............................ | Item | 0
Schedule of variables (B12) | H3 | 0
Pre-tender information (B12.1)F:............................. V:............................ T:............................ | Item | 0
12.1.1 Provisional bills of quantities (B2.2) The quantities are provisional: No |  | 0
12.1.2 Availability of construction documentation (B2.3) Construction documentation is not complete No |  | 0
12.1.3 Interest of agents (B2.4) |  | 0
12.1.4 Defined works area (B3.1) |  | 0
12.1.5 Geotechnical investigation (B3.2) N/A |  | 0
12.1.6 Existing premises occupied (B3.4) Yes |  | 0
12.1.7 Previous work - dimensional accuracy (B3.4) |  | 0
12.1.8 Previous work - defects (B3.5) |  | 0
12.1.9 Services - known (B3.7) |  | 0
12.1.10 Protection of trees (B3.9) All trees should be protected and only on instruction of the Principal Agent may any trees be removed |  | 0
12.1.11 Inspection of adjoining properties (B3.11) |  | 0
12.1.12 Enclosure of the works (B6.2) |  | 0
12.1.13 Offices (B6.4.3) An office for the clerck of works should be provided |  | 0
12.1.14 Main notice board (B6.5) No |  | 0
12.1.15 Subcontractors notice board (B6.6) A notice board is required No |  | 0
12.1.16 Water (B7.2) Alternative Selected: A |  | 0
12.1.17 Electricity (B7.3) Alternative selected: A |  | 0
12.1.18 Telecommunications (B7.4) |  | 0
12.1.19 Ablution facilities (B7.5) Alternative selected: A |  | 0
12.1.20 Protection of existing/sectionally occupied works (B11.2) |  | 0
12.1.21 Special attendance (B9.2) Subcontractor (1) details: N/A |  | 0
12.1.22 Protection of the works (B11.1) N/A |  | 0
12.1.23 Disturbance (B11.5) N/A |  | 0
12.1.24 Environmental Disturbance (B11.6) N/A |  | 0
Post tender information (B12.2) | H3 | 0
12.2.1 Payment of preliminaries Alternative selected: A |  | 0
12.2.2 Adjustment of preliminaries Alternative selected: A |  | 0
12.2.3 Additional agreed preliminaries items N/A |  | 0
SECTION C: SPECIFIC PRELIMINARIES | H2 | 0
Any special items to meet the particular circumstances of a specific project are embodied in this section. Where required for an aspect of the works to be executed according to a design by a consulting engineer, a recital of the headings to the individual clauses of the JBCC Engineering General Conditions are included |  | 0
Black economic empowerment and training F:............................. V:............................ T:............................ | Item | 0
Proprietary branded products F:............................. V:............................ T:............................ | Item | 0
The contractor shall take delivery of, handle, store, use, apply and/or fix all proprietary branded products in strict accordance with the manufacturers' instructions after consultation with the manufacturer's authorised representative |  | 0
Contract instructions F:............................. V:............................ T:............................ | Item | 0
Contract instructions issued on site are to be recorded in triplicate in a contract instruction book which is to be supplied and maintained on site by the contractor |  | 0
Labour record F:............................. V:............................ T:............................ | Item | 0
At the end of each week the contractor shall provide the principal agent with a written record, in schedule form, reflecting the number and descriptions of tradesmen and labourers employed by him and all subcontractors on the works each day of that week |  | 0
Plant record F:............................. V:............................ T:............................ | Item | 0
At the end of each week the contractor shall provide the principal agent with a written record, in schedule form, reflecting the number, type and capacity of all plant, excluding hand tools used on the works each day of that week |  | 0
Guarantees F:.................... V:............................ T:............................ | Item | 0
Where guarantees are called for, the contractor shall obtain a written guarantee, addressed to the employer, from the firm supplying the materials and/or doing the work and shall deliver same to the principal agent on the certified completion of the contract. The guarantee shall state that workmanship, materials and installation are guaranteed for a specified period from the date of certified completion of the contract, and that any defects that may arise during the specified period shall be made good at the expense of the firm supplying the materials and/or doing the work, upon written notice from the principal agent to do so. This guarantee will not be enforced if the work is damaged by defects in the construction of the building in which case the responsibility for replacement shall rest entirely with the contractor. The principal agent shall be the sole judge of the cause responsible for defects in the work and his decision shall be final and binding in terms of clause 40.2 of the agreement |  | 0
Overtime F:............................. V:............................ T:............................ | Item | 0
Should overtime be required to be worked for any reason whatsoever, the costs of such overtime are to be borne by the contractor unless the principal agent has specifically authorised, in writing, prior to execution thereof, that costs for such overtime are to be borne by the employer |  | 0
Co-operation of contractor for cost management F:............................. V:............................ T:............................ | Item | 0
It is specifically agreed that the contractor accepts the obligation of assisting the professional consultants in implementing proper cost management. The contractor will be advised by the principal agent of all cost management procedures which will be implemented to ensure that the final building cost does not exceed the budget. The quantity surveyor undertakes to make available to the contractor all budgetary allowances and cost assessments/reports to enable the proper procedures to be implemented and the contractor will attend all cost plan review and cost management meetings. The contractor undertakes to extend these procedures in regard to all subcontractors |  | 0
Occupational Health and Safety Specification F:............................. V:............................ T: .................. | Item | 0
Any Principal Contractor entering into a contract with The Developer must achieve an acceptable level of Occupational Health and Safety performance. Refer to "Project Specification" and "Safety, Health and Environmental Evaluation Questionaire" The contractor to comply with all provisions of the above and to be enforced on all selected and or other sub-contractors, as no claim afterwards will be entertained |  | 0
BILL NO. 1 | H1 | 0
ALTERATIONS (PROVISIONAL) | H1 | 0
PREAMBLES | H3 | 0
The Tenderer is referred to the relevant Clauses in a separate document Model Preambles for Trades (1999 Edition) and to the Supplementary Preambles. |  | 0
SUPPLEMENTARY PREAMBLES | H3 | 0
Short descriptions: For the preambles and full descriptions of items not fully described in this Bill, reference must be made to supplementary preambles and descriptions in other Sections. Such supplementary preambles and descriptions shall apply equally to the work in this Bill |  | 0
General: In taking down and removing existing work the utmost care shall be observed to prevent any structural or other damage to remaining portions of the building and the Contractor shall provide all shoring, needling, strutting, etc. to ensure the stability of all structures during alteration work Special care shall be exercised during the progress of the work to ensure that any electrical installations, water supply pipes, telephone and other services which may be encountered are not interfered with and notice shall be given to the Representative/Agent if any disconnection or alterations become necessary Any water supply and other piping that may be encountered and which is found necessary to disconnect, shall after such disconnection or cutting has been authorised by the Representative/Agent, be effectively stopped off and any new connections that may be necessary made with the proper tees, junction pieces, etc. to the satisfaction of the Representative/Agent The Contractor shall afford every facility to workmen not under his control making disconnections and new connections as required to any services |  | 0
OLD MATERIALS TO BECOME PROPERTY OF THE CONTRACTOR |  | 0
Old materials from alterations, except where described as to be "re-used" or "handed over" shall become the property of the Contractor who may allow credit for same where provided for in these Bills of Quantities |  | 0
OLD MATERIALS TO BE CARTED AWAY |  | 0
Old materials from the alterations, where described as to be "re-used" as well as all rubbish, etc must be regularly carted from the site and not be allowed to accumulate on or around the site |  | 0
OLD MATERIALS NOT TO BE RE-USED |  | 0
None of the old materials are to be used for new work except where specifically described as being "set aside for re-use" |  | 0
HANDING OVER OF MATERIALS |  | 0
Where certain materials or articles from alterations are described as to be "handed over" to the Representative/Agent, such material or articles shall be properly stored by the Contractor, until handing over thereof. The Contractor must obtain an official receipt listing the materials or articles and dates of handing over. If the Contractor fails to submit the receipt when requested, it shall be deemed that the materials or articles are still in his possession and he will be held liable to the Department for the full replacement value thereof, which amount will be deducted from any monies due to the Contractor. |  | 0
EXISTING BUILDINGS (NOT APPLICABLE) |  | 0
The existing buildings will be in use and occupied during the progress of the contract and the Contractor will be required to carry out the works in such a manner as will least interfere with the occupants and with the minimum of disturbance |  | 0
SIZE PERTAINING TO EXISTING WORK |  | 0
The Contractor is advised to take all dimensions affecting the existing buildings on the site and he will be held solely responsible for the correctness of sizes of all new work All sizes given in relation to existing work are approximate |  | 0
MAKING GOOD DAMAGED WORK |  | 0
The contractor shall make good in all trades to existing work where damaged or disturbed through the alterations with all necessary new materials to match the existing |  | 0
FORMING NEW OPENINGS OR ALTERING OPENINGS IN EXISTING WALLS |  | 0
Descriptions of forming new openings or altering openings in existing walls shall be deemed to include breaking out for and forming new brick, in-situ concrete or prestressed concrete lintels, including all reinforcement, formwork, turning pieces, etc., building up jambs or portion of openings as described with brickwork properly toothed and bonded to existing, building cavities of hollow walls solid where necessary and making good finishes all round on both sides and into reveals as described |  | 0
DEMOLITION OF EXISTING STRUCTURES |  | 0
Descriptions of demolition of existing structures where given in number shall be deemed to include demolitions, carting away rubble, levelling and compaction of surfaces |  | 0
BUILDING UP OPENINGS |  | 0
Descriptions of building up existing openings where given in number shall be deemed to include preparing existing surfaces all around, brickwork properly toothed and bonded to existing, wedging up and making good on both sides as described |  | 0
PAINTWORK |  | 0
Where plasterwork on walls, ceilings, etc. is required to be patched or made good, prices are to include for the appropriate priming coat and one undercoat to receive paint finishing coats which are measured elsewhere |  | 0
REMOVAL OF ASBESTOS MATERIAL ON SITE Removal of asbestos material from existing building is to be done strictly in accordance to the ASBESTOS ABATEMENT REGULATIONS, 2020 guidelines published under Government Notice R1196 in GG 43893 of 10 November 2020. The bidder is deemed to have studied the regulation before pricing the works as no claims arising from under pricing will be entertained. |  | 0
REMOVAL OF EXISTING WORK | H1 | 0
Taking out and removing doors, windows, etc. from frame: | H3 | 0
Timber single door not exceeding 2.5m2 | No | 26
Steel door frames size 813 x 2 032mm high | No | 5
Steel Burglar gate for door size 813 x 2 032mm high | No | 18
Taking out/off and removing glass and mirrors | H3 | 0
Glass from steel windows, including cleaning out rebates and preparing for new glass | m2 | 24
Taking down and removing roofs, floors, panelling, ceilings, partitions, etc | H3 | 0
Roof covering, fascia and barge boards, gutters, down pipes, ceilings and cornices etc. approximately 12m2 on plan including carting away rubble to dumping site located by the contractor | No | 1
Asbestos roof covering, roof trusses, fascia and barge boards, gutters, down pipes, ceilings and cornices etc. approximately 431m2 on plan including carting away to an approved disposal site by an approved registered asbestos contractor | No | 1
Taking out and removing ironmongery | H3 | 0
Chalk boards | No | 25
Pinning boards | m | 25
Hacking up/off and removing vinyl tiles including removing mortar bed or adhesive from concrete or brickwork and preparing surfaces for new screed, plaster, tile finish, etc | H2 | 0
Vinyl floor tiles | m2 | 1159
BUILDING UP OPENINGS | H2 | 0
Brickwork in NFP bricks in class II mortar in building in door and window frame | H3 | 0
813 x 2032mm High steel door frame in one brick wall including making good finishes around frame | No | 5
PREPARATORY WORK TO EXISTING SURFACES | H2 | 0
Making good defects in existing screeded floors | m2 | 349
Deep cleaning to concrete tile roof with approved chemicals | m2 | 113

## 2-2 BILL NO. 2
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 2 | H1 | 0
MASONRY | H1 | 0
SUPPLEMENTARY PREAMBLES | H2 | 0
BRICKWORK | H2 | 0
Sizes in descriptions | H3 | 0
Where sizes in descriptions are given in brick units, "one brick" shall represent the length and "half brick" the width of a brick |  | 0
Face bricks | H3 | 0
Bricks shall be ordered timeously to obtain uniformity in size and colour |  | 0
Pointing | H3 | 0
Descriptions of recessed pointing to fair face brickwork and face brickwork shall be deemed to include square recessed, hollow recessed, weathered pointing, etc. |  | 0
SUPERSTRUCTURE | H2 | 0
Brickwork of NFP bricks in class II mortar | H3 | 0
Half brick walls in beamfilling | m2 | 103
BRICKWORK SUNDRIES | H2 | 0
Brickwork reinforcement | H3 | 0
75mm Wide reinforcement built in horizontally | m | 403
Galvanised hoop iron cramps, ties, etc | H3 | 0
30 x 1,6mm Roof tie 1,5m long with one end fixed to timber and other end built into brickwork | No | 268

## 2-3 BILL NO. 3
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 3 | H1 | 0
ROOF COVERINGS ETC | H1 | 0
PROFILED METAL SHEETING AND ACCESSORIES | H2 | 0
0,8mm Pre-painted continuous corrugated iron profile roof sheeting fixed to timber purlins including accessories | H3 | 0
Roof covering with pitch not exceeding 25 degrees | m2 | 1185
Ridge cap flashing | m | 101
ROOF AND WALL INSULATION | H2 | 0
"Sisalation 410" housing grade glass fibre reinforced aluminium foil bonded insulation | H3 | 0
Insulation laid taut over purlins (at approximately 1 100mm centres) and fixed concurrent with roof covering including galvanised steel straining wires | m2 | 1185

## 2-4 BILL NO. 4
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 4 | H1 | 0
CARPENTRY AND JOINERY | H1 | 0
SUPPLEMENTARY PREAMBLES | H2 | 0
Particle board: | H3 | 0
Particle board shall comply with the following specifications: a) SABS 1300 Particle board: exterior and flooring type b) SABS 1301 Particle board: interior type |  | 0
Joinery: | H3 | 0
Descriptions of frames shall be deemed to include frames, transoms, mullions, rails, etc |  | 0
Descriptions of hardwood joinery shall be deemed to include pelleting of bolt holes |  | 0
Fixing | H3 | 0
Items described as "nailed" shall be deemed to be fixed with hardened steel nails or shot pins to brickwork or concrete |  | 0
Decorative laminate finish: | H3 | 0
Laminate finish shall be glued under pressure. Edge strips shall be butt jointed at junctions with adjacent similar finish |  | 0
ROOFS, ETC | H2 | 0
Plate nailed timber roof truss construction | H3 | 0
The following is applicable in respect of roof trusses:Trusses are at maximum 1,10m centresRoof covering is pre-painted corrugated roof sheeting on 50 x 75mm purlins at 1,1m maximum centres.Ceilings are generally 6,4mm gypsum plasterboard on 38 x 38mm brandering.All timber to be sawn softwood in accordance with V4 or M4 as defined in SABS 563 or SABS 1245.Metal connector plates shall have a minimum yield strength of 228 MPa and a minimum ultimate tensile strength of 330 Mpa with hot-dip galvanised finish.All joints to be close fitted butt joints.Trusses shall be designed by a registered supplier of prefabricated trusses who shall issue an Engineers Certificate upon completion of the installation. The dimensions in the descriptions of the trusses are nominal and actual measurements are to be obtained on site before design or fabricaton commences.Tenderers must study the roof plan and sections as attached to the back of these bills of quantities (refer drawing No.'s CLASS-3 - 001 to 002) and must obtain prices from a qualified and registered roof truss supplier as no claims in this regard will be entertained. |  | 0
Sawn softwood | H3 | 0
38 x 114mm Wall plates | m | 201
Design, manufacture and deliver on site, plate nailed roof truss construction to Classroom Block, size 50 320 x 9 348mm overall on plan consisting of double pitched trusses, each truss 9 348 x 2 573mm high overall with 600mm eaves overhang projecting both sides, including all necessary purlins, runners, bracing and cross bracing (wall plates elsewhere) | No | 2
Take delivery, temporary store, hoist in position and erect plate nailed timber roof trusses, purlins, gangboarding, temporary and permanent bracing, etc (measured on slope of roof) | m2 | 936
Sundries | H3 | 0
Two coats creosote on sawn timbers | m2 | 107
EAVES , VERGES , ETC | H2 | 0
"Everite" pressed nutec-cement | H3 | 0
12 x 225mm Fascias and barge boards including galvanised steel H-profile jointing strips | m | 605
SKIRTINGS | H2 | 0
Wrought meranti | H3 | 0
19 x 76mm Skirting including 19mm quadrant bead nailed | m | 645
DOORS ETC | H2 | 0
Wrought hardwood flushback doors with sapele veneer hung to steel frames | H3 | 0
44mm "TDM" Framed and ledged door 813 x 2 032mm high | No | 27

## 2-5 BILL NO. 5
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 5 | H1 | 0
CEILINGS, PARTITIONS AND ACCESS FLOORING | H1 | 0
SUPPLEMENTARY PREAMBLES | H2 | 0
Descriptions: | H3 | 0
Items described as "nailed" shall be deemed to be fixed with hardened steel nails or pins or shot pinned to brickwork or concrete |  | 0
Items described as "plugged" shall be deemed to include screwing to fibre, plastic or metal plugs at not exceeding 600mm centres, and where described as "bolted" the bolts have been given elsewhere |  | 0
CEILINGS ETC | H2 | 0
NAILED UP CEILINGS | H2 | 0
9mm "Rhino" gypsum plasterboard with H-type pressed steel jointing strips | H3 | 0
Ceilings including 38 x 38mm sawn softwood brandering at 400mm centres | m2 | 963
Extra over ceiling for 650 x 650mm trap door of 38 x 50mm wrought softwood rebated framing with one 38 x 50mm sawn softwood cross brander covered with ceiling board and fitted flush in opening | No | 5
"Rhino" gypsum plasterboard cornices | H3 | 0
75mm Coved cornices | m | 682

## 2-6 BILL NO. 6
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 6 | H1 | 0
FLOOR COVERINGS, PLASTIC LININGS, ETC | H1 | 0
FLOOR COVERINGS | H2 | 0
300 x 300 x 2,5mm "Marley" or other equal and approved semi-flexible vinyl tiles | H3 | 0
On floors | m2 | 1298
POLISH, SEALERS, ETC | H2 | 0
Two coats wax polish | H3 | 0
On vinyl floors | m2 | 1298

## 2-7 BILL NO. 7
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 7 | H1 | 0
IRONMONGERY | H1 | 0
SUPPLEMENTARY PREAMBLES | H2 | 0
Finishes to ironmongery | H3 | 0
Where applicable finishes to ironmongery are indicated by suffixes in accordance with the following list: BS Satin bronze lacquered CH Chromium plated SC Satin chromium plated SE Silver enamelled GE Grey enamelled AS Anodised silver AB Anodised bronze AG Anodised gold ABL Anodised black PB Polished brass PL Polished and lacquered PT Epoxy coated SD SandedNP Nickle plated |  | 0
LOCKS | H2 | 0
"Mazac Tarpon" | H3 | 0
"952/4L" four lever lockset and handles with chrome plated finish | No | 27
LETTERS, NAMEPLATES, ETC | H2 | 0
60 x 3mm Thick perspex plate with two 40mm high engraved and painted numerals | No | 24
SUNDRIES | H2 | 0
"Union" | H3 | 0
38mm door stop plugged | No | 27
WRITING BOARDS, PINNING BOARD, ETC | H2 | 0
"Virtrex" virtreous enamelled writing boards, etc to SABS CSK-36-1980 | H3 | 0
Green writing board 4 800 x 1 140mm high consisting of two fixed panels each 2 400 x 1 140mm high complete with aluminium chalk rail, etc, plugged | No | 20
"Parrot products" | H3 | 0
"BD0476" 2 400 x 1 200mm Aluminium framed carpet bulletin board | No | 20

## 2-8 BILL NO. 8
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 8 | H1 | 0
METALWORK | H1 | 0
SUPPLEMENTARY PREAMBLES | H2 | 0
Descriptions | H3 | 0
Descriptions of bolts shall be deemed to include nuts and washers |  | 0
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete |  | 0
Metalwork described as"holed for bolt(s)" shall be deemed to exclude the bolts unless otherwise described |  | 0
GALVANISED WELDED SCREENS, GATES, ETC | H2 | 0
Galvanised Steel gates and frames | H3 | 0
Single gate and frame 965 x 2 067mm high overall, the outer frame of 45 x 45 x 3mm hollow section bolted to wall with and including eight 70mm M80 expansion bolts and the gate 813 x 2 032mm high of 40 x 60 x 2mm hollow section frame with two 40 x 6mm flat section horizontal rails filled in with 20mm diameter vertical rails at 110mm centres fitted with one and a half pairs of suitable pin hinges welded to hollow section steel frame, complete with and including 150mm barrelbolt and padlock | No | 10
PRESSED STEEL GALVANISED DOOR FRAMES | H2 | 0
1,2mm Galvanised double rebated frames suitable for one brick walls | H3 | 0
Frame for door 813 x 2 032mm high | No | 9

## 2-9 BILL NO. 9
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 9 | H1 | 0
PLASTERING | H1 | 0
EXTERNAL PLASTER | H2 | 0
Cement plaster on brickwork | H3 | 0
On walls | m2 | 188
INTERNAL PLASTER | H2 | 0
On walls in patches | m2 | 73
CORNER PROTECTORS, DIVIDING STRIPS, ETC | H2 | 0
3 x 32mm Flat section brass dividing strips between different floor finishes | m | 21

## 2-10 BILL NO. 10
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 10 | H1 | 0
PLUMBING AND DRAINAGE | H1 | 0
RAINWATER DISPOSAL | H2 | 0
Pre-painted seamless water rainwater disposal | H3 | 0
150 x 75mm Eaves gutters | m | 453
Extra over eaves gutter for angle | No | 45
Extra over eaves gutter for outlet for 125mm pipe | No | 45
75mm Diameter rainwater pipes | m | 137
Extra over rainwater pipe for shoe | No | 45
Extra over rainwater pipe for bend | No | 45
Extra over rainwater pipe for eaves or plinth offset 600mm projection | No | 45
FIRE APPLIANCES ETC | H2 | 0
"Chubb" | H3 | 0
4,5kg Carbon dioxide fire extinguisher complete with 520 x 115 x 22mm thick timber backboard plugged to wall and varnished | No | 25

## 2-11 BILL NO. 11
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 11 | H1 | 0
GLAZING | H1 | 0
GLAZING TO STEEL WITH PUTTY | H2 | 0
6,38mm Normal strength clear laminated safety glass | H3 | 0
Panes not exceeding 0,1 m2 | m2 | 24

## 2-12 BILL NO. 12
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 12 | H1 | 0
PAINTWORK | H1 | 0
Note: Tenderers are advised to study the Model Preambles for Trades before pricing this Bill |  | 0
Note: Where reference is made to trade names in these Bills of Quantities, it shall be taken to read "or other equal approved." |  | 0
---------------------------------- |  | 0
PREPARATORY WORK TO EXISTING WORK | H2 | 0
Previously painted plastered surfaces | H3 | 0
Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth |  | 0
Previously painted metal surfaces | H3 | 0
Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal |  | 0
Previously painted wood surfaces | H3 | 0
Surfaces shall be thoroughly cleaned down. Blistered or peeling paint shall be completely removed and cracks and crevices shall be primed, filled with a suitable filler and finished smooth |  | 0
PAINTWORK ETC TO PREVIOUSLY PAINTED WORK | H2 | 0
ON FLOATED PLASTER | H2 | 0
One coat merit plaster primer thinned with 20% mineral turpentine and two coats Plascon Wall & All emulsion paint | H3 | 0
On external walls | m2 | 1765
One coat alkali resistant primer, one undercoat and two coats eggshell enamel paint | H3 | 0
On internal walls | m2 | 1862
ON PLASTERBOARD | H2 | 0
One coat primer and two coats interior quality PVA emulsion paint | H3 | 0
On ceilings and cornices | m2 | 1235
ON FIBRE-CEMENT | H2 | 0
One coat primer and two coats interior quality acrylic PVA paint | H3 | 0
On fascias and barge boards | m2 | 138
One coat primer and two coats exterior quality PVA emulsion paint | H3 | 0
ON METAL | H2 | 0
Spot priming defects in pre primed surfaces with zinc chromate primer and applying one undercoat and two coat high gloss enamel paint on steel | H3 | 0
On windows with burglar bars | m2 | 412
ON WOOD | H2 | 0
Three coats polyurethane semi-gloss varnish | H3 | 0
On doors | m2 | 89
On skirtings, rails, etc not exceeding 300mm girth | m | 643

## 2-13 Summary
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Alterations & Refurbishments | Page | 32 | 0
Masonry | Page | 33 | 0
Roof Covering | Page | 34 | 0
Carpentry and Joinery | Page | 38 | 0
Ceilings, Partitions and Access Flooring | Page | 39 | 0
Floor Coverings, Wall Linings, etc | Page | 40 | 0
Ironmongery | Page | 43 | 0
Metalwork | Page | 44 | 0
Plastering | Page | 45 | 0
Plumbing and Drainage | Page | 46 | 0
Glazing | Page | 47 | 0
Paintwork | Page | 50 | 0

## 3-1 BILL NO. 1
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 1 | H1 | 0
WATER SUPPLY PIPES | H2 | 0
"Jojo" tanks or similar approved | H3 | 0
Low profile 5 000L water harvesting tank tied down on concrete surface complete with wires | No | 1
BILL NO. 1 | H1 | 0
PROVISIONAL SUMS AND BUDGETRY ALLOWANCES | H1 | 0
NOTES: | H3 | 0
1. The Contractor's attention is drawn specifically to the Principal Building Agreement Clause 20.0 (Nominated Sub-Contractors), Clause 21.0 (Selected Sub-Contractors) and Clause 22 (Work by Others) and to the related Clauses in Section 1, Bill No. 1 - Preliminaries |  | 0
2. The Contractor's attention is drawn also to the definition of attendance on Nominated or Selected Sub-Contractors and of fuel, power and water for commissioning of mechanical and other specialised installations given in the JBCC Preliminaries |  | 0
3. Where special attendance includes the provision of hoisting facilities for a Sub-Contractor then the Contractor shall:- |  | 0
* Ensure that the capacities of his hoisting equipment are sufficient to deal with the masses and the quantities of the items to be hoisted, |  | 0
* Schedule the times of availability of the hoisting equipment for each Sub-Contractor, |  | 0
* Provide all necessary personnel to operate the hoisting equipment, |  | 0
all to enable the Sub-Contractor to execute the hoisting or lowering of his material, etc. using the facilities provided by the Contractor |  | 0
4. Under no circumstances may any Provisional Amount, etc. be extended at an amount lower than the amount given in this Bill |  | 0
5. CPAP Formula Work Group 190 shall apply to all lump sum amounts of profit and attendance |  | 0
PROVISIONAL SUMS | H1 | 0
ASBESTOS INSPECTION AUTHORITY (AIA) | H2 | 0
Allow a Provisional Amount of R R60,000.00 Sixty Thousand for appointment of AIA to be used at the discretion of the Principal Agent and to be deducted in whole or in part if not required | Item | 1 | 60000 | 60000
Profit | %IT
Allow for general attendance | %IT
COMMUNITY LIASON OFFICER (CLO) | H2 | 0
Allow a Provisional Amount of R R100,000.00 One hundred Thousand for appointment of CLO to be used at the discretion of the Principal Agent and to be deducted in whole or in part if not required | Item | 1 | 100000 | 100000
Profit | %IT
Allow for general attendance | %IT
MINIMUM TARGETED ENTERPRISE DEVELOPMENT
A provisional amount has been allowed for in the execution of this project as described in C3.1 Project Specifications. The provisional amount allowed is for the appointment of training coordinator, mentor, training service providers and training of the beneficiary enterprises including monitoring and monthly reporting. | PS | 1 | 109057.6375 | 109057.6375
Allowance for profit all inclusive of associated costs to the contractor for implementation. | %
Allowance for attendance all inclusive of associated costs to the contractor for implementation. | %
FINAL SUMMARY | H3 | 0 |  | Total
PART A | H3 | 0
Preliminary and General | Page | 24
Alterations and Refurbishments | Page | 51
External Works | Page | 52
Provisional Sums | Page | 56
Sub Total (A) | ST | 0
PART B | H3 | 0
Electrical Installations (See separate document - Part B) (Value-Added Tax excluded) | Item | 1
Sub-Total (B) | ST | 0
CONTINGENCIES | H2 | 0
Allow 5% contingencies to be used at the discretion of the Principal Agent and to be deducted in whole or in part if not required | TAX | 5
Sub-Total (C) | ST | 0
Add Value Added Tax | TAX | 15
TOTAL CARRIED TO FORM OF OFFER