## Emunywana PS
COUNTER | ISC | SECTION | BILL | PAGE NO | ITEM NO | DOC REF | PAY REF |  | ITEM | QUANTITY | RATE | AMOUNT
1 | 9443 | 1 | 1 | 1 |  | 1 |  | SECTION 1
2 | 9444 | 1 | 1 | 1 |  | 1 |  | BILL NO. 1
3 | 9445 | 1 | 1 | 1 |  | 1 |  | PRELIMINARIES
4 | 10867 | 1 | 1 | 1 |  |  |  | BUILDING AGREEMENT AND PRELIMINARIES
5 | 10868 | 1 | 1 | 1 |  | 1 |  | The JBCC Series 2000 Minor Works Agreement (Edition 5.2 dated 2024) prepared by the Joint Building Contract Committee shall be the applicable building agreement, amended as hereinafter described
6 | 10869 | 1 | 1 | 1 |  | 1 |  | The ASAQS Preliminaries (November 2007 edition) published by the Association of South African Quantity Surveyors for use with the said JBCC Principal Building Agreement shall be deemed to be incorporated in these bills of quantities
7 | 10870 | 1 | 1 | 1 |  | 1 |  | The contractor is deemed to have referred to the abovementioned documents for the full intent and meaning of each clause
8 | 10871 | 1 | 1 | 1 |  | 1 |  | The clauses in the abovementioned documents are hereinafter referred to by clause number and heading only
9 | 10872 | 1 | 1 | 1 |  | 1 |  | Where any item is not relevant to this agreement such item is marked N/A signifying "not applicable"
10 | 10873 | 1 | 1 | 1 |  |  |  | PREAMBLES FOR TRADES
11 | 10874 | 1 | 1 | 1 |  |  |  | The Model Preambles for Trades 2008 as published by the Association of South African Quantity Surveyors shall be deemed to be incorporated in these bills of quantities and no claims arising from brevity of description of items fully described in the said Model Preambles will be entertained
12 | 10875 | 1 | 1 | 1 |  |  |  | Supplementary preambles and/or specifications are incorporated in these bills of quantities to satisfy the requirements of this project. Such supplementary preambles and/or specifications shall take precedence over the provisions of the Model Preambles
13 | 10876 | 1 | 1 | 2 |  |  |  | The contractor's prices for all items throughout these bills of quantities shall take account of and include for all of the obligations, requirements and specifications given in the Model Preambles and in any supplementary preambles and/or specifications
14 | 10877 | 1 | 1 | 2 |  | 2 |  | SECTION A: PRINCIPAL BUILDING AGREEMENT
15 | 10878 | 1 | 1 | 2 |  | 2 |  | Definitions
16 | 10879 | 1 | 1 | 2 | 1 | 2.1 |  | Clause 1.0 - Definitions and interpretation | Item | 1 | 0 | 0
17 | 10880 | 1 | 1 | 2 | 2 | 2.2 |  | Clause 2.0 - Offer, acceptance and performance obligations | Item | 1 | 0 | 0
18 | 10881 | 1 | 1 | 2 | 3 | 2.1 |  | Clause 3.0 - Documents | Item | 1 | 0 | 0
19 | 10882 | 1 | 1 | 2 | 4 |  |  | Clause 4.0 - Design responsibility | Item | 1 | 0 | 0
20 | 10883 | 1 | 1 | 2 | 5 |  |  | Clause 5.0 - Employer's agents | Item | 1 | 0 | 0
21 | 10884 | 1 | 1 | 2 | 6 |  |  | Clause 6.0 - Contractor's site representative | Item | 0 | 0 | 0
22 | 10885 | 1 | 1 | 2 | 7 |  |  | Clause 7.0 - Compliance with laws and regulations | Item | 1 | 0 | 0
23 | 10886 | 1 | 1 | 2 | 8 |  |  | Clause 8.0 - Works risk | Item | 1 | 0 | 0
24 | 10887 | 1 | 1 | 2 | 9 |  |  | Clause 9.0 - Indemnities | Item | 1 | 0 | 0
25 | 10888 | 1 | 1 | 2 | 10 |  |  | Clause 10.0 - General insurances | Item | 1 | 0 | 0
26 | 10889 | 1 | 1 | 2 | 11 |  |  | Clause 11.0 - Special insurances | Item | 1 | 0 | 0
27 | 10890 | 1 | 1 | 3 | 12 | 3.15 |  | Clause 12.0 - Effective insurances | Item | 1 | 0 | 0
28 | 10891 | 1 | 1 | 3 | 13 | 3.16 |  | Clause 13.0 - Assignment | Item | 1 | 0 | 0
29 | 10892 | 1 | 1 | 3 | 14 | 3.20 |  | Clause 14.0 - Security | Item | 1 | 0 | 0
30 | 10893 | 1 | 1 | 3 |  | 3 |  | Execution
31 | 10894 | 1 | 1 | 3 | 15 | 3.20 |  | Clause 15.0 - Preparation for and execution of the works | Item | 1 | 0 | 0
32 | 10895 | 1 | 1 | 3 | 16 |  |  | Clause 16.0 - Site and access | Item | 1 | 0 | 0
33 | 10896 | 1 | 1 | 3 | 17 | 3.17 |  | Clause 17.0 - Contract instructions | Item | 1 | 0 | 0
34 | 10897 | 1 | 1 | 3 | 18 | 3.18 |  | Clause 18.0 - Setting Out Of The Works The contractor shall notify the Principal Agent if any encroachments of adjoining foundations, buildings, structures, pavements, boundaries, etc exist in order that the necessary arrangements may be made for the rectification of any such encroachments. | Item | 1 | 0 | 0
35 | 10898 | 1 | 1 | 3 | 19 | 3.19 |  | Clause 19.0 - Temporary works and plant The contractor shall notify the Principal Agent if any encroachments of adjoining foundations, buildings, structures, pavements, boundaries, etc exist in order that the necessary arrangements may be made for the rectification of any such encroachments. | Item | 1 | 0 | 0
36 | 10899 | 1 | 1 | 3 | 20 | 3.20 |  | Clause 20.0 - Nominated subcontractors | Item | 1 | 0 | 0
37 | 10900 | 1 | 1 | 3 | 21 | 4.21 |  | Clause 21.0 - Selected subcontractors | Item | 1 | 0 | 0
38 | 10901 | 1 | 1 | 3 | 22 | 4.22 |  | Clause 22.0 - Employer's direct contractors | Item | 1 | 0 | 0
39 | 10902 | 1 | 1 | 3 | 23 | 4.23 |  | Clause 23.0 - Contractor's domestic subcontractors | Item | 1 | 0 | 0
40 | 10903 | 1 | 1 | 3 |  | 4 |  | Completion
41 | 10904 | 1 | 1 | 3 | 24 | 4.24 |  | Clause 24.0 - Practical completion | Item | 1 | 0 | 0
42 | 10905 | 1 | 1 | 4 | 25 |  |  | Clause 25.0 - Works completion | Item | 1 | 0 | 0
43 | 10906 | 1 | 1 | 4 | 26 |  |  | Clause 26.0 - Final completion | Item | 1 | 0 | 0
44 | 10907 | 1 | 1 | 4 | 27 |  |  | Clause 27.0 - Latent defects liability period | Item | 1 | 0 | 0
45 | 10908 | 1 | 1 | 4 | 28 |  |  | Clause 28.0 - Sectional completion | Item | 1 | 0 | 0
46 | 10909 | 1 | 1 | 4 | 29 |  |  | Clause 29.0 - Revision of date for practical completion The removal and replacement of materials and/or workmanship which do not conform to specification or drawing shall not constitute grounds for the extension of the construction period nor the adjustment of contract value (Clause 29.3) | Item | 1 | 0 | 0
47 | 10910 | 1 | 1 | 4 | 30 |  |  | Clause 30.0 - Penalty for late or Non-completion | Item | 1 | 0 | 0
48 | 10911 | 1 | 1 | 4 |  | 4 |  | Payment
49 | 10912 | 1 | 1 | 4 | 31 | 4.25 |  | Clause 31.0 - Interim Payment to the Contractor The inclusion of materials and goods stored off site in the amount authorized for payment in terms of Clause 31.4 shall be at the sole discretion of the Principal Agent and such inclusion shall only be considered upon the provision, by the contractor, of an approved guarantee issued by a registered commercial bank. Clause 31.6.5 is therefore not applicable. | Item | 1 | 0 | 0
50 | 10913 | 1 | 1 | 4 | 32 | 4.26 |  | Clause 32.0 - Adjustment to the contract value All fluctuations in costs, with the exception of fluctuations in the rate of Value Added Tax, shall be for the account of the contractor. | Item | 1 | 0 | 0
51 | 10914 | 1 | 1 | 4 | 33 | 4.27 |  | Clause 33.0 - Recovery of expense and loss | Item | 1 | 0 | 0
52 | 10915 | 1 | 1 | 4 | 34 |  |  | Clause 34.0 - Final account and final payment | Item | 1 | 0 | 0
53 | 10916 | 1 | 1 | 4 | 35 |  |  | Clause 35.0 - Payment to other parties | Item | 1 | 0 | 0
54 | 10917 | 1 | 1 | 4 |  | 5 |  | Termination
55 | 10918 | 1 | 1 | 4 | 36 | 4.28 |  | Clause 36.0 - Termination by Employer - contractor's default | Item | 1 | 0 | 0
56 | 10919 | 1 | 1 | 5 | 37 |  |  | Clause 37.0 - Termination by Employer - loss and damage | Item | 1 | 0 | 0
57 | 10920 | 1 | 1 | 5 | 38 | 4.29 |  | Clause 38.0 - Termination by contractor - Employer's default | Item | 1 | 0 | 0
58 | 10921 | 1 | 1 | 5 | 39 |  |  | Clause 39.0 - Termination - Cessation of the works | Item | 1 | 0 | 0
59 | 10922 | 1 | 1 | 5 |  | 6 |  | Dispute
60 | 10923 | 1 | 1 | 5 | 40 | 4.30 |  | Clause 40.0 - Dispute settlement | Item | 1 | 0 | 0
61 | 10924 | 1 | 1 | 5 |  |  |  | Contract Agreement
62 | 10925 | 1 | 1 | 5 | 41 |  |  | Clause 41.0 - Post tender provisions The required post tender information shall be inserted in the post tender provisions after consultation with the contractor | Item | 1 | 0 | 0
63 | 10926 | 1 | 1 | 5 | 42 |  |  | Clause 42.0 - Contractual agreement The required information of the contracting parties and the amount of the accepted contract sum shall be inserted in the contractual agreement for signature of the agreement by the contracting parties | Item | 1 | 0 | 0
64 | 10927 | 1 | 1 | 5 |  | 9 |  | SECTION B: PRELIMINARIES
65 | 10928 | 1 | 1 | 5 |  | 9 |  | Definitions and interpretation
66 | 10929 | 1 | 1 | 5 | 43 | 9.45 |  | Clause 1.0 - Definitions and interpretation | Item | 1 | 0 | 0
67 | 10930 | 1 | 1 | 5 |  | 9 |  | Documents
68 | 10931 | 1 | 1 | 5 | 44 | 9.46 |  | Clause 2.1 - Checking of documents | Item | 1 | 0 | 0
69 | 10932 | 1 | 1 | 5 | 45 | 9.47 |  | Clause 2.2 - Provisional bills of quantities | Item | 1 | 0 | 0
70 | 10933 | 1 | 1 | 5 | 46 | 9.48 |  | Clause 2.3 - Availability of construction documentation | Item | 1 | 0 | 0
71 | 10934 | 1 | 1 | 6 |  | 10 |  | Previous work and adjoining properties
72 | 10935 | 1 | 1 | 6 | 47 |  |  | Clause 3.1 - Previous work - dimensional accuracy | Item | 1 | 0 | 0
73 | 10936 | 1 | 1 | 6 | 48 |  |  | Clause 3.2 - Previous work - defects | Item | 1 | 0 | 0
74 | 10937 | 1 | 1 | 6 | 49 |  |  | Clause 3.3 - Inspection of adjoining properties | Item | 1 | 0 | 0
75 | 10938 | 1 | 1 | 6 |  | 11 |  | Samples, shop drawings and manufacturer's instructions
76 | 10939 | 1 | 1 | 6 | 50 | 11.69 |  | Clause 4.1 - Samples of materials | Item | 1 | 0 | 0
77 | 10940 | 1 | 1 | 6 | 51 | 11.70 |  | Clause 4.2 - Workmanship samples | Item | 1 | 0 | 0
78 | 10941 | 1 | 1 | 6 | 52 | 11.71 |  | Clause 4.3 - Shop drawings | Item | 1 | 0 | 0
79 | 10942 | 1 | 1 | 6 | 53 | 11.72 |  | Clause 4.4 - Compliance with manufacturer's instructions | Item | 1 | 0 | 0
80 | 10943 | 1 | 1 | 6 |  | 12 |  | Deposits and fees
81 | 10944 | 1 | 1 | 6 | 54 | 12.73 |  | Clause 5.1 - Deposits and fees | Item | 1 | 0 | 0
82 | 10945 | 1 | 1 | 6 |  | 12 |  | Temporary services
83 | 10946 | 1 | 1 | 6 | 55 | 12.76 |  | Clause 6.1 - Water | Item | 1 | 0 | 0
84 | 10947 | 1 | 1 | 7 | 56 | 12.77 |  | Clause 6.2 - Electricity | Item | 1 | 0 | 0
85 | 10948 | 1 | 1 | 7 | 57 | 12.78 |  | Clause 6.3 - Telecommunication equipment | Item | 1 | 0 | 0
86 | 10949 | 1 | 1 | 7 | 58 | 12.79 |  | Clause 6.4- Ablution facilities | Item | 1 | 0 | 0
87 | 10950 | 1 | 1 | 7 |  | 12 |  | Prime cost amounts
88 | 10951 | 1 | 1 | 7 | 59 | 12.82 |  | Clause 7.1 - Responsibility for prime cost amounts | Item | 0 | 0 | 0
89 | 10952 | 1 | 1 | 7 |  |  |  | Special attendance on N/S subcontractors
90 | 10953 | 1 | 1 | 7 | 60 |  |  | Clause 8.1 - Special attendance | Item | 1 | 0 | 0
91 | 10954 | 1 | 1 | 7 |  | 13 |  | General
92 | 10955 | 1 | 1 | 7 | 61 | 13.88 |  | Clause 9.1 - Protection of the works | Item | 1 | 0 | 0
93 | 10956 | 1 | 1 | 7 | 62 | 13.89 |  | Clause 9.2 - Protection/isolation of existing/sectionally occupied works | Item | 1 | 0 | 0
94 | 10957 | 1 | 1 | 7 | 63 |  |  | Clause 9.3 - Security of the works | Item | 1 | 0 | 0
95 | 10958 | 1 | 1 | 7 | 64 |  |  | Clause 9.4 - Notice before covering work | Item | 1 | 0 | 0
96 | 10959 | 1 | 1 | 7 | 65 |  |  | Clause 9.5 - Disturbance | Item | 1 | 0 | 0
97 | 10960 | 1 | 1 | 7 | 66 |  |  | Clause 9.6 - Environmental disturbance | Item | 1 | 0 | 0
98 | 10961 | 1 | 1 | 8 | 67 |  |  | Clause 9.7 - Works cleaning and clearing | Item | 1 | 0 | 0
99 | 10962 | 1 | 1 | 8 | 68 |  |  | Clause 9.8 - Vermin | Item | 1 | 0 | 0
100 | 10963 | 1 | 1 | 8 | 69 |  |  | Clause 9.9 - Overhand work | Item | 1 | 0 | 0
101 | 10964 | 1 | 1 | 8 |  | 17 |  | SECTION C: SPECIFIC PRELIMINARIES
102 | 10965 | 1 | 1 | 8 |  |  |  | Contract price adjustment provisions
103 | 10966 | 1 | 1 | 8 | 70 |  |  | Bidders are advised that this Contract shall be a Fixed Price Contract and shall not be subject to the Contract Price Adjustment Provisions (CPAP) or any other escalation formula and therefore bidder are to allow for any increases (except any variations in the rate of Value Added Tax) in cost of labour, materials, transport, etc. | Item | 1 | 0 | 0
104 | 10967 | 1 | 1 | 8 |  |  |  | Site instruction
105 | 10968 | 1 | 1 | 8 | 71 |  |  | Site Instructions issued on site are to be recorded in triplicate in a site instruction book which is maintained on site by the contractor. | Item | 1 | 0 | 0
106 | 10969 | 1 | 1 | 8 | 72 |  |  | Propping of floors below The contractor is advised that propping of floors below may be required if he wishes to use any areas of completed suspended reinforced concrete slabs for vehicle access, storage of materials and goods and location of plant, scaffolding, etc. The location of these areas and any necessary propping shall be approved by the principal agent and the cost thereof shall be borne by the contractor F:............................. V:............................ T:............................ | Item | 1 | 0 | 0
107 | 10970 | 1 | 1 | 9 | 73 |  |  | Warranties for material and workmanship Where warranties for materials and /or workmanship are called for, the contractor shall obtain a written warranty, addressed to the employer, from the firm supplying the materials and/or doing the work and shall deliever same to the Principal Agent on certified completion of contract. The warranty shall state that workmanship, materials and installation are warranteed for a specified period from the date of final completion and that any defects that may arise during the specified period shall be made good at the expense of the firm supplying the materials and/or doing the work, upon written notice to do so. The warranty will not be enforced if the work is damaged by defects in the construction of the building in which case the responsibility for replacement shall rest entirely with the contractor. | Item | 1 | 0 | 0
108 | 10971 | 1 | 1 | 9 | 74 |  |  | Co-operation of the contractor for cost management It is specifically agreed that the contractor accepts the obligation of assisting the principal agent in implementing proper cost management. The contractor will be advised by the principal agent of all cost management procedures which will be implemented to ensure that the contract value does not exceed the budget F:............................. V:............................ T:............................ | Item | 1 | 0 | 0
109 | 10972 | 1 | 1 | 9 | 75 |  |  | Confidentiality The contractor undertakes to maintain in confidence any and all information regarding this project and shall obtain appropriate similar undertakings from all subcontractors and suppliers. Such information shall not be used in any way except in connection with the execution of the works No information regarding this project shall be published or disclosed without the prior written consent of the employer F:............................. V:............................ T:............................ | Item | 1 | 0 | 0
110 | 10973 | 1 | 1 | 10 | 76 |  |  | Testing of windows for watertightness. Each window shall be tested for watertightness with water sprayed on by means of a 20mm hosepipe using adequate pressure. If in the opinion of the principal agent, the pressure proves to be inadequate, then the pressure in the hosepipe shall be boosted by means of compressed air or other approved means F:............................. V:............................ T:............................ | Item | 1 | 0 | 0
Occupational Health and Safety Act
[5 empty] | 77 |  |  | The Contractor will allow for Health and Safety to ensure compliance with requirements set out in the Construction Regulation 2014, issued under the Occupational Health and Safety Act, 1933 (Act No. 85 of 1933). It is a required of the Contractor to thoroughly study the attached Health and Safety Specifications (Annexure A) that must be read together with and is deemed to be incorporated under this Section in the Bills of Quantities. The Contractor must take note that compliance with the Occupational Health and Safety Act, the Construction Regulations and the Health and Safety Specifications is compulsory. In the event of partial or total non-compliance, the Principal Agent, not withstanding the provisions of clause A31.0 of Section A or any other clause to the contrary, reserves the right to delay issuing any Progress Payment Certificate until the Contractor provides satisfactory proof of compliance. The Contractor shall not be entitled to any compensation of whatsoever nature, including interest, due to such delay in payment. Provision for pricing of the Occupational Health and Safety Act, the Construction Regulations and Health and Safety Specifications is made under this clause and it is explicitly pointed out that all requirements of the aforementioned are deemed to be priced hereunder and no additional claims in this regard shall be entertained.
[8 empty] | Category : Fixed R................. Category : Value R......................... Category : Time R......................... | Item | 1 | 0 | 0
111 | 10974 | 1 | 1 | 10 |  | 18 |  | SUMMARY OF CATEGORIES
112 | 10975 | 1 | 1 | 10 | 78 | 18 |  | Category : Fixed R........................................ Category : Value R........................................ Category : Time R........................................ | Item | 1 | 0 | 0
[8 empty] | SECTION NO. 1 SUMMARY |  |  |  | 0
114 | 9869 | 2 | 1 | 11 |  | 2 |  | SECTION 2
115 | 1289 | 2 | 1 | 11 |  | 2 |  | BILL NO. 1
116 | 1290 | 2 | 1 | 11 |  | 2 |  | EARTHWORKS
117 | 10618 | 2 | 1 | 11 |  | 2 |  | EXCAVATION, FILLING, ETC OTHER THAN BULK
118 | 10619 | 2 | 1 | 11 |  | 3 |  | EXCAVATION, ETC
119 | 10625 | 2 | 1 | 11 |  | 2 |  | Extra over all excavations for carting away
120 | 10626 | 2 | 1 | 11 | 1 | 2.7 |  | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m³ | 34 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  | 0
122 | 9870 | 2 | 2 | 12 |  | 9 |  | SECTION 2
123 | 1404 | 2 | 2 | 12 |  | 9 |  | BILL NO. 2
124 | 1405 | 2 | 2 | 12 |  | 9 |  | MASONRY
125 | 10298 | 2 | 2 | 12 |  | 10 |  | BRICKWORK
126 | 1414 | 2 | 2 | 12 |  | 10 |  | SUPERSTRUCTURE
127 | 1415 | 2 | 2 | 12 |  | 10 |  | Brickwork of NFP bricks (7MPa nominal compressive strength) in class II mortar
128 | 1418 | 2 | 2 | 12 | 1 | 10.4 |  | Half brick walls in beamfilling | m² | 4 | 0 | 0
129 | 1429 | 2 | 2 | 12 |  | 11 |  | FACE BRICKWORK
130 | 1430 | 2 | 2 | 12 |  | 11 |  | Approved face bricks pointed with recessed horizontal and vertical joints (Allow PC amount of R 5 500.00 per thousand delivered to site excluding VAT)
131 | 9955 | 2 | 2 | 12 | 2 | 11.15 |  | Extra over brickwork for face brickwork in beam filling | m² | 4 | 0 | 0
132 | 1432 | 2 | 2 | 12 |  | 12 |  | Brick-on-edge header course copings, sills, etc approved face bricks pointed with recessed joints on all exposed faces
133 | 1433 | 2 | 2 | 12 | 3 | 12.20 |  | Cut face face brick-on-edge external window cill,180mm wide, set sloping and slightly projecting in cement mortar and pointed on top, front edge and projecting soffit including all necessary fair raking cutting to facings under and fair and fitted ends | m | 9 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  | 0
135 | 9877 | 2 | 3 | 13 |  | 24 |  | SECTION 2
136 | 1551 | 2 | 3 | 13 |  | 24 |  | BILL NO. 3
137 | 1552 | 2 | 3 | 13 |  | 24 |  | IRONMONGERY
138 | 1557 | 2 | 3 | 13 |  | 24 |  | HINGES, BOLTS, ETC.
139 | 9971 | 2 | 3 | 13 |  | 24 |  | Samples to be approved by architect
140 | 1558 | 2 | 3 | 13 | 1 | 24.1 |  | 100mm Brass barrel bolt with keep let into concrete | No | 40 | 0 | 0
141 | 9974 | 2 | 3 | 13 | 2 | 24.2 |  | 150mm Approved flush bolt with keep fixed to metal | No | 40 | 0 | 0
142 | 1566 | 2 | 3 | 13 |  | 25 |  | LOCKS
143 | 1567 | 2 | 3 | 13 |  | 25 |  | Samples to be approved by Architect
144 | 9975 | 2 | 3 | 13 | 3 | 25.5 |  | Pad lock | No | 1 | 0 | 0
145 | 1577 | 2 | 3 | 13 |  | 25 |  | DOOR CLOSERS
146 | 1578 | 2 | 3 | 13 |  | 25 |  | Samples to be approved by Architect
147 | 1579 | 2 | 3 | 13 | 4 | 25.6 |  | Delayed action door closer with guide rail | No | 1 | 0 | 0
148 | 1580 | 2 | 3 | 13 |  | 25 |  | SUNDRIES
149 | 9976 | 2 | 3 | 13 |  | 25 |  | In accordance with Architect's specifications
150 | 1581 | 2 | 3 | 13 | 5 | 25.7 |  | 38mm Diameter rubber door stop plugged | No | 21 | 0 | 0
151 | 1582 | 2 | 3 | 13 | 6 | 25.8 |  | Chromium plated hat and coat hook with rubber buffer | No | 21 | 0 | 0
152 | 9977 | 2 | 3 | 13 | 7 | 25.9 |  | 147mm long Stainless steel foot operated telescopic door holder plugged | No | 21 | 0 | 0
153 | 1588 | 2 | 3 | 13 |  | 25 |  | BATHROOM FITTINGS
154 | 9978 | 2 | 3 | 14 |  | 25 |  | Samples to be approved by the Architect
155 | 9980 | 2 | 3 | 14 | 8 | 25.11 |  | 300 x 270 x 520mm high, 34 litre surface mounted stainless steel vandal and theft proof waste disposal bin | No | 14 | 0 | 0
156 | 9981 | 2 | 3 | 14 | 9 | 25.12 |  | 300 x 300 x 300 x 32mm Stainless steel dog leg side grab rail fixed in position | No | 1 | 0 | 0
157 | 9982 | 2 | 3 | 14 | 10 | 26.13 |  | 750 long x 200mm Projecting stainless steel straight grab rail fixed in position | No | 1 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  | 0
159 | 9878 | 2 | 4 | 15 |  | 27 |  | SECTION 2
160 | 1603 | 2 | 4 | 15 |  | 27 |  | BILL NO. 4
161 | 1604 | 2 | 4 | 15 |  | 27 |  | METALWORK
162 | 1625 | 2 | 4 | 15 |  | 29 |  | GALVANISED STEEL WINDOWS, DOORS, ETC
163 | 1626 | 2 | 4 | 15 |  | 29 |  | Standard Industrial windows with Type B2 burglar bars to fixed lights and opening sashes
164 | 1627 | 2 | 4 | 15 | 1 | 29.4 |  | Window type "GW4", size 889 x 457mm high | No | 1 | 0 | 0
165 | 9985 | 2 | 4 | 15 | 2 | 29.5 |  | Window type "GW5", size 359 x 511mm high | No | 1 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  | 0
167 | 9881 | 2 | 5 | 16 |  | 32 |  | SECTION 2
168 | 1682 | 2 | 5 | 16 |  | 32 |  | BILL NO. 5
169 | 1683 | 2 | 5 | 16 |  | 32 |  | PLUMBING AND DRAINAGE
170 | 1730 | 2 | 5 | 16 |  | 33 |  | RAINWATER DISPOSAL
171 | 1731 | 2 | 5 | 16 |  | 33 |  | Pre-Painted Seamless Aluminium Ogee Gutters, Rainwater Pipes And Accessories In Long Lengths
172 | 1732 | 2 | 5 | 16 | 1 | 33.1 |  | 100 x 75mm Industrial ogee eaves gutter fixed to fibre cement fascia. | m | 45 | 0 | 0
173 | 1733 | 2 | 5 | 16 | 2 | 33.2 |  | Extra over gutter for stopped end | No | 16 | 0 | 0
174 | 1734 | 2 | 5 | 16 | 3 | 33.3 |  | Extra over gutter for angle | No | 16 | 0 | 0
175 | 1735 | 2 | 5 | 16 | 4 | 33.4 |  | Extra over gutter for outlet for 100mm pipe including galvanised wire balloon grating | No | 8 | 0 | 0
176 | 1736 | 2 | 5 | 16 | 5 | 33.5 |  | 75mm diameter galvanized sheet iron seamless rainwater downpipe fixed to walls on alloy brackets at not exceeding 1500mm centres | m | 47.9965 | 0 | 0
177 | 1737 | 2 | 5 | 16 | 6 | 33.6 |  | Extra over rainwater pipe for shoe | No | 16 | 0 | 0
178 | 10005 | 2 | 5 | 16 | 7 | 33.7 |  | Extra over rainwater pipe for eaves or plinth offset | No | 16 | 0 | 0
179 | 1793 | 2 | 5 | 16 |  | 36 |  | DOMESTIC WATER SUPPLIES
180 | 1794 | 2 | 5 | 16 |  | 36 |  | Class "O" copper pipes
181 | 1795 | 2 | 5 | 16 | 8 | 36.36 |  | 15mm Pipes | m | 43 | 0 | 0
182 | 1796 | 2 | 5 | 16 | 9 | 36.37 |  | 15mm Pipes chased into brickwork | m | 20 | 0 | 0
183 | 1797 | 2 | 5 | 16 | 10 | 36.38 |  | 22mm Pipes | m | 30 | 0 | 0
184 | 1798 | 2 | 5 | 16 | 11 | 36.39 |  | 22mm Pipes chased into brickwork | m | 25 | 0 | 0
185 | 10015 | 2 | 5 | 16 | 12 | 36.40 |  | 28mm Pipes | m | 25 | 0 | 0
186 | 10016 | 2 | 5 | 17 | 13 | 36.41 |  | 28mm pipes chased in brickwork | m | 15 | 0 | 0
187 | 1799 | 2 | 5 | 17 |  | 36 |  | Extra over class "O" copper pipes for capillary fittings "LI"
188 | 1800 | 2 | 5 | 17 | 14 | 36.42 |  | 15mm Fittings | No | 24 | 0 | 0
189 | 1801 | 2 | 5 | 17 | 15 | 36.43 |  | 22mm Fittings | No | 16 | 0 | 0
190 | 10017 | 2 | 5 | 17 | 16 | 36.44 |  | 28mm fittings | No | 12 | 0 | 0
191 | 1802 | 2 | 5 | 17 |  | 36 |  | Sundries
192 | 1803 | 2 | 5 | 17 | 17 | 36.45 |  | Testing water pipe system | Item | 1 | 0 | 0
193 | 1804 | 2 | 5 | 17 |  | 36 |  | TANKS, ETC
194 | 1805 | 2 | 5 | 17 |  | 37 |  | 1800mm Diameter 2040 high water storage tank with black internal lining with cover and lid, connected to eaves gutter harvesting system
195 | 1806 | 2 | 5 | 17 | 18 | 37.46 |  | 5 000 Litre water storage Jojo tank including necessary plumbing fittings and constructing plinth complete | No | 1 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  | 0
197 | 9882 | 2 | 6 | 18 |  | 38 |  | SECTION 2
198 | 1813 | 2 | 6 | 18 |  | 38 |  | BILL NO. 6
199 | 1814 | 2 | 6 | 18 |  | 38 |  | GLAZING
200 | 1816 | 2 | 6 | 18 |  | 38 |  | GLAZING TO STEEL WITH PUTTY
201 | 1817 | 2 | 6 | 18 |  | 38 |  | 6mm Clear float safety glass
202 | 1818 | 2 | 6 | 18 | 1 | 38.1 |  | Panes exceeding 0,1m2 but not exceeding 0,5m2 fitted to steel windows | m² | 1 | 0 | 0
203 | 1819 | 2 | 6 | 18 |  | 38 |  | 6mm Obscure safety glass
204 | 1820 | 2 | 6 | 18 | 2 | 38.2 |  | Panes exceeding 0,1m2 but not exceeding 0,5m2 fitted to steel windows | m² | 2 | 0 | 0
205 | 1830 | 2 | 6 | 18 |  | 38 |  | TOPS, SHELVES, DOORS, MIRRORS, ETC
206 | 1831 | 2 | 6 | 18 |  | 38 |  | 6mm 'GG' quality polished silvered float glass copper backed mirrors with polished edges holed for and fixed with round rose chromium plated mirror screws with rubber buffers to plugs in brickwork or concrete
207 | 1832 | 2 | 6 | 18 | 3 | 38.3 |  | Mirror 450 x 600mm high with four screws | No | 8 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  | 0
209 | 9883 | 2 | 7 | 19 |  | 39 |  | SECTION 2
210 | 1835 | 2 | 7 | 19 |  | 39 |  | BILL NO. 7
211 | 1836 | 2 | 7 | 19 |  | 39 |  | PAINTWORK
212 | 1838 | 2 | 7 | 19 |  | 39 |  | PAINTWORK, ETC TO NEW WORK ON
213 | 1841 | 2 | 7 | 19 |  | 39 |  | ON FIBRE-CEMENT
214 | 10026 | 2 | 7 | 19 |  | 40 |  | Prepare and apply one coat zinc chromate to nail heads and H-spline strips, one universal undercoat, stop and apply two finishing coats of eggshell enamel on
215 | 11000 | 2 | 7 | 19 | 1 |  |  | Ceilings and cornices, including priming metal cover strips and nailheads ("White" colour group) | m² | 94 | 0 | 0
216 | 1857 | 2 | 7 | 19 |  | 40 |  | ON METAL SURFACES
217 | 1858 | 2 | 7 | 19 |  | 40 |  | One coat alkaline resistant primer, one coat universal undercoat and two coats gloss enamel paint
218 | 10029 | 2 | 7 | 19 | 2 | 40.4 |  | On eaves gutters | m² | 8 | 0 | 0
219 | 10030 | 2 | 7 | 19 | 3 | 40.5 |  | On rainwater downpipes | m² | 8 | 0 | 0
220 | 1859 | 2 | 7 | 19 |  | 40 |  | Prepare and apply one coat zinc phosphate alkyd resin primer, one coat universal undercoat and two full coats high gloss enamel paint
221 | 1860 | 2 | 7 | 19 | 4 | 40.6 |  | On pressed steel doors frames | m² | 46 | 0 | 0
222 | 1862 | 2 | 7 | 19 | 5 | 40.7 |  | On windows with burglar bars | m² | 16 | 0 | 0
223 | 1863 | 2 | 7 | 19 | 6 | 40.8 |  | On grille gates and screens (both sides measured on flat) | m² | 10 | 0 | 0
224 | 1865 | 2 | 7 | 19 |  | 40 |  | ON WOOD SURFACES
225 | 10031 | 2 | 7 | 20 |  | 40 |  | One coat primer and two coats premium quality polyurethane enamel paint
226 | 10032 | 2 | 7 | 20 | 7 | 40.9 |  | On doors | m² | 21 | 0 | 0
227 | 1866 | 2 | 7 | 20 |  | 40 |  | Three coats polyurethane clear varnish
228 | 1867 | 2 | 7 | 20 | 8 | 40.10 |  | On doors | m² | 21 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  | 0
230 | 9886 | 2 | 8 | 21 |  | 48 |  | SECTION 2
231 | 5821 | 2 | 8 | 21 |  | 48 |  | BILL NO. 8
232 | 5822 | 2 | 8 | 21 |  | 48 |  | PROVISIONAL SUMS
233 | 9683 | 2 | 8 | 21 |  | 48 |  | COMMUNITY LIAISON OFFICER
234 | 10634 | 2 | 8 | 21 | 1 |  |  | Provide sum of R12 500.00 (Twelve Thousand Five Hundred Rand Only) for community liaison officer's salary to be omitted in part or whole as instructed by Principal Agent (R12 500 per month) | Item | 1 | 12500 | 12500
235 | 10635 | 2 | 8 | 21 | 2 |  |  | Add profit upon above | %IT | 0% | 0 | 0
236 | 10636 | 2 | 8 | 21 | 3 |  |  | Attendance | %IT | 0% | 0 | 0
237 | 9697 | 2 | 8 | 21 |  | 48 |  | SUNDRY BUILDING WORK
238 | 9698 | 2 | 8 | 21 | 4 | 48.7 |  | Provide sum of R12 000.00 (Twelve Thousand Rand Only) for demolitions and decommissioning of existing ablution blocks | Item | 1 | 12000 | 12000
239 | 10336 | 2 | 8 | 21 | 5 | 48.8 |  | Add profit upon above | %IT | 0% | 0 | 0
240 | 10337 | 2 | 8 | 21 | 6 | 48.9 |  | Attendance | %IT | 0% | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  | 24500
SECTION SUMMARY
242 | 1288 | 2 | 9 | 22 | 1 | 49.1 |  | Earthworks |  |  |  | 0
243 | 1403 | 2 | 9 | 22 | 2 | 49.3 |  | Masonry |  |  |  | 0
244 | 1550 | 2 | 9 | 22 | 3 | 49.9 |  | Ironmongery |  |  |  | 0
245 | 11013 | 2 | 9 | 22 | 4 |  |  | Metalwork |  |  |  | 0
246 | 1681 | 2 | 9 | 22 | 5 | 49.13 |  | Plumbing and Drainage |  |  |  | 0
247 | 1812 | 2 | 9 | 22 | 6 | 49.14 |  | Glazing |  |  |  | 0
248 | 1834 | 2 | 9 | 22 | 7 | 49.15 |  | Paintwork |  |  |  | 0
249 | 5820 | 2 | 9 | 22 | 8 | 49.17 |  | Provisional Sums |  |  |  | 24500
[8 empty] | SECTION NO. 2 SUMMARY |  |  |  | 24500
250 | 9885 | 3 | 1 | 23 |  | 50 |  | SECTION 3
251 | 5557 | 3 | 1 | 23 |  | 50 |  | BILL NO. 1
252 | 5558 | 3 | 1 | 23 |  | 50 |  | EXTERNAL WORK
253 | 10124 | 3 | 1 | 23 |  | 50 |  | WALKWAYS, RAMPS AND STOEPS
254 | 10222 | 3 | 1 | 23 |  | 55 |  | WATER TANK STANDS
255 | 10223 | 3 | 1 | 23 |  | 55 |  | EARTHWORKS
256 | 10224 | 3 | 1 | 23 |  | 55 |  | EXCAVATION
257 | 10225 | 3 | 1 | 23 | 1 | 55.28 |  | Excavate in earth for trenches | m³ | 4 | 0 | 0
258 | 10226 | 3 | 1 | 23 | 2 | 55.29 |  | Earth filling compacted to 93% Mod AASHTO under bases | m³ | 2 | 0 | 0
259 | 10227 | 3 | 1 | 23 | 3 | 55.30 |  | 50mm thick river sand bedding | m³ | 3 | 0 | 0
260 | 10229 | 3 | 1 | 23 |  | 55 |  | CONCRETE, FORMWORK, REINFORCING
261 | 10233 | 3 | 1 | 23 |  | 55 |  | 20MPa/19mm Concrete
262 | 10234 | 3 | 1 | 23 | 4 | 55.31 |  | Strip footings | m³ | 1 | 0 | 0
263 | 11004 | 3 | 1 | 23 |  |  |  | Formwork to edges
264 | 11005 | 3 | 1 | 23 | 5 |  |  | Edges of concrete n.e 300mm high | m | 6 | 0 | 0
265 | 10235 | 3 | 1 | 23 |  | 56 |  | Reinforcing
266 | 10236 | 3 | 1 | 23 | 6 | 56.35 |  | Ref 193 Mesh to concrete | m² | 6 | 0 | 0
267 | 10237 | 3 | 1 | 23 |  | 56 |  | MASONRY
268 | 10238 | 3 | 1 | 23 |  | 56 |  | BRICKWORK IN FOUNDATIONS
269 | 10239 | 3 | 1 | 24 |  | 56 |  | Brickwork of NFX bricks (14MPa nominal compressive strength) in Class I mortar
270 | 10240 | 3 | 1 | 24 | 7 | 56.36 |  | One brick walls of two half brick skins. | m² | 2 | 0 | 0
271 | 10241 | 3 | 1 | 24 |  | 56 |  | BRICKWORK SUNDRIES
272 | 10242 | 3 | 1 | 24 |  | 56 |  | Brickwork reinforcement
273 | 10243 | 3 | 1 | 24 | 8 | 56.37 |  | 75mm Wide reinforcement built in horizontally. | m | 16 | 0 | 0
274 | 10244 | 3 | 1 | 24 |  | 56 |  | BRICKWORK IN SUPERSTRUCTURE
275 | 10245 | 3 | 1 | 24 |  | 56 |  | Brickwork of NFX bricks (14MPa nominal comressive strength) in Class I mortar
276 | 10246 | 3 | 1 | 24 | 9 | 56.38 |  | One brick walls of two half brick skins. | m² | 5 | 0 | 0
277 | 10992 | 3 | 1 | 24 |  | 56 |  | BRICKWORK SUNDRIES
278 | 11001 | 3 | 1 | 24 |  | 56 |  | Brickwork reinforcement
279 | 11002 | 3 | 1 | 24 | 10 | 56.37 |  | 75mm Wide reinforcement built in horizontally. | m | 4 | 0 | 0
280 | 10252 | 3 | 1 | 24 |  | 56 |  | FACE BRICKWORK
281 | 10253 | 3 | 1 | 24 |  | 56 |  | Corebrik Firelight Satin brick work
282 | 10254 | 3 | 1 | 24 | 11 | 56.40 |  | Extra over brickwork for face brickwork. | m² | 5 | 0 | 0
283 | 10255 | 3 | 1 | 24 | 12 | 56.41 |  | Extra over brickwork for face brick-on-edge header course plinth | m | 7 | 0 | 0
284 | 10256 | 3 | 1 | 24 | 13 | 56.42 |  | Fair raking cutting. | m | 4 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 3 |  |  |  | 0
286 | 1 | 4 | 1 | 25 | 1 | 59.1 |  | Preliminaries |  |  |  | 0
287 | 585 | 4 | 1 | 25 | 2 | 59.2 |  | Building Works |  |  |  | 24500
288 | 592 | 4 | 1 | 25 | 3 | 59.3 |  | External Works |  |  |  | 0
289 | 9678 | 4 | 1 | 25 |  | 59 |  | SUBTOTAL |  |  |  | 24500
290 | 10833 | 4 | 1 | 25 |  |  |  | Allow: 10% Contingency amount for the unforeseen and the sum provided is under the sole control of the client and upon approval by the Client representative and deducted in whole or in part | TAX | 10% | 24500 | 2450
291 | 10857 | 4 | 1 | 25 |  | 59 |  | SUBTOTAL |  |  |  | 26950
292 | 5855 | 4 | 1 | 25 |  | 59 |  | Add: Value Added Tax @ 15% | TAX | 15% | 26950 | 4042.5
293 | 7198 | 4 | 1 | 25 |  | 59 |  | TOTAL |  |  |  | 30992.5