## Endlondlweni PS
COUNTER | ISC | SECTION | BILL | PAGE NO | ITEM NO | DOC REF | PAY REF |  |  | ITEM | QUANTITY | RATE | AMOUNT
1 | 9443 | 1 | 1 | 1 |  | 1 |  | SECTION 1
2 | 9444 | 1 | 1 | 1 |  | 1 |  | BILL NO. 1
3 | 9445 | 1 | 1 | 1 |  | 1 |  | PRELIMINARIES
4 | 10867 | 1 | 1 | 1 |  |  |  | BUILDING AGREEMENT AND PRELIMINARIES
5 | 10868 | 1 | 1 | 1 |  | 1 |  | The JBCC Series 2000 Minor Works Agreement (Edition 5.2 dated 2024) prepared by the Joint Building Contract Committee shall be the applicable building agreement, amended as hereinafter described
6 | 10869 | 1 | 1 | 1 |  | 1 |  | The ASAQS Preliminaries (November 2007 edition) published by the Association of South African Quantity Surveyors for use with the said JBCC Principal Building Agreement shall be deemed to be incorporated in these bills of quantities
7 | 10870 | 1 | 1 | 1 |  | 1 |  | The contractor is deemed to have referred to the abovementioned documents for the full intent and meaning of each clause
8 | 10871 | 1 | 1 | 1 |  | 1 |  | The clauses in the abovementioned documents are hereinafter referred to by clause number and heading only
9 | 10872 | 1 | 1 | 1 |  | 1 |  | Where any item is not relevant to this agreement such item is marked N/A signifying "not applicable"
10 | 10873 | 1 | 1 | 1 |  |  |  | PREAMBLES FOR TRADES
11 | 10874 | 1 | 1 | 1 |  |  |  | The Model Preambles for Trades 2008 as published by the Association of South African Quantity Surveyors shall be deemed to be incorporated in these bills of quantities and no claims arising from brevity of description of items fully described in the said Model Preambles will be entertained
12 | 10875 | 1 | 1 | 1 |  |  |  | Supplementary preambles and/or specifications are incorporated in these bills of quantities to satisfy the requirements of this project. Such supplementary preambles and/or specifications shall take precedence over the provisions of the Model Preambles
13 | 10876 | 1 | 1 | 2 |  |  |  | The contractor's prices for all items throughout these bills of quantities shall take account of and include for all of the obligations, requirements and specifications given in the Model Preambles and in any supplementary preambles and/or specifications
14 | 10877 | 1 | 1 | 2 |  | 2 |  | SECTION A: PRINCIPAL BUILDING AGREEMENT
15 | 10878 | 1 | 1 | 2 |  | 2 |  | Definitions
16 | 10879 | 1 | 1 | 2 | 1 | 2.1 |  | Clause 1.0 - Definitions and interpretation |  | Item | 1 | 0 | 0
17 | 10880 | 1 | 1 | 2 | 2 | 2.2 |  | Clause 2.0 - Offer, acceptance and performance obligations |  | Item | 1 |  | 0
18 | 10881 | 1 | 1 | 2 | 3 | 2.1 |  | Clause 3.0 - Documents |  | Item | 1 |  | 0
19 | 10882 | 1 | 1 | 2 | 4 |  |  | Clause 4.0 - Design responsibility |  | Item | 1 |  | 0
20 | 10883 | 1 | 1 | 2 | 5 |  |  | Clause 5.0 - Employer's agents |  | Item | 1 |  | 0
21 | 10884 | 1 | 1 | 2 | 6 |  |  | Clause 6.0 - Contractor's site representative |  | Item | 1 |  | 0
22 | 10885 | 1 | 1 | 2 | 7 |  |  | Clause 7.0 - Compliance with laws and regulations |  | Item | 1 |  | 0
23 | 10886 | 1 | 1 | 2 | 8 |  |  | Clause 8.0 - Works risk |  | Item | 1 |  | 0
24 | 10887 | 1 | 1 | 2 | 9 |  |  | Clause 9.0 - Indemnities |  | Item | 1 |  | 0
25 | 10888 | 1 | 1 | 2 | 10 |  |  | Clause 10.0 - General insurances |  | Item | 1 |  | 0
26 | 10889 | 1 | 1 | 2 | 11 |  |  | Clause 11.0 - Special insurances |  | Item | 1 |  | 0
27 | 10890 | 1 | 1 | 3 | 12 | 3.15 |  | Clause 12.0 - Effective insurances |  | Item | 1 |  | 0
28 | 10891 | 1 | 1 | 3 | 13 | 3.16 |  | Clause 13.0 - Assignment |  | Item | 1 |  | 0
29 | 10892 | 1 | 1 | 3 | 14 | 3.20 |  | Clause 14.0 - Security |  | Item | 1 |  | 0
30 | 10893 | 1 | 1 | 3 |  | 3 |  | Execution
31 | 10894 | 1 | 1 | 3 | 15 | 3.20 |  | Clause 15.0 - Preparation for and execution of the works |  | Item | 1 |  | 0
32 | 10895 | 1 | 1 | 3 | 16 |  |  | Clause 16.0 - Site and access |  | Item | 1 |  | 0
33 | 10896 | 1 | 1 | 3 | 17 | 3.17 |  | Clause 17.0 - Contract instructions |  | Item | 1 |  | 0
34 | 10897 | 1 | 1 | 3 | 18 | 3.18 |  | Clause 18.0 - Setting Out Of The Works The contractor shall notify the Principal Agent if any encroachments of adjoining foundations, buildings, structures, pavements, boundaries, etc exist in order that the necessary arrangements may be made for the rectification of any such encroachments. |  | Item | 1 |  | 0
35 | 10898 | 1 | 1 | 3 | 19 | 3.19 |  | Clause 19.0 - Temporary works and plant The contractor shall notify the Principal Agent if any encroachments of adjoining foundations, buildings, structures, pavements, boundaries, etc exist in order that the necessary arrangements may be made for the rectification of any such encroachments. |  | Item | 1 |  | 0
36 | 10899 | 1 | 1 | 3 | 20 | 3.20 |  | Clause 20.0 - Nominated subcontractors |  | Item | 1 |  | 0
37 | 10900 | 1 | 1 | 3 | 21 | 4.21 |  | Clause 21.0 - Selected subcontractors |  | Item | 1 |  | 0
38 | 10901 | 1 | 1 | 3 | 22 | 4.22 |  | Clause 22.0 - Employer's direct contractors |  | Item | 1 |  | 0
39 | 10902 | 1 | 1 | 3 | 23 | 4.23 |  | Clause 23.0 - Contractor's domestic subcontractors |  | Item | 1 |  | 0
40 | 10903 | 1 | 1 | 3 |  | 4 |  | Completion
41 | 10904 | 1 | 1 | 3 | 24 | 4.24 |  | Clause 24.0 - Practical completion |  | Item | 0 |  | 0
42 | 10905 | 1 | 1 | 4 | 25 |  |  | Clause 25.0 - Works completion |  | Item | 1 |  | 0
43 | 10906 | 1 | 1 | 4 | 26 |  |  | Clause 26.0 - Final completion |  | Item | 1 |  | 0
44 | 10907 | 1 | 1 | 4 | 27 |  |  | Clause 27.0 - Latent defects liability period |  | Item | 1 |  | 0
45 | 10908 | 1 | 1 | 4 | 28 |  |  | Clause 28.0 - Sectional completion |  | Item | 1 |  | 0
46 | 10909 | 1 | 1 | 4 | 29 |  |  | Clause 29.0 - Revision of date for practical completion The removal and replacement of materials and/or workmanship which do not conform to specification or drawing shall not constitute grounds for the extension of the construction period nor the adjustment of contract value (Clause 29.3) |  | Item | 1 |  | 0
47 | 10910 | 1 | 1 | 4 | 30 |  |  | Clause 30.0 - Penalty for late or Non-completion |  | Item | 1 |  | 0
48 | 10911 | 1 | 1 | 4 |  | 4 |  | Payment
49 | 10912 | 1 | 1 | 4 | 31 | 4.25 |  | Clause 31.0 - Interim Payment to the Contractor The inclusion of materials and goods stored off site in the amount authorized for payment in terms of Clause 31.4 shall be at the sole discretion of the Principal Agent and such inclusion shall only be considered upon the provision, by the contractor, of an approved guarantee issued by a registered commercial bank. Clause 31.6.5 is therefore not applicable. |  | Item | 1 |  | 0
50 | 10913 | 1 | 1 | 4 | 32 | 4.26 |  | Clause 32.0 - Adjustment to the contract value All fluctuations in costs, with the exception of fluctuations in the rate of Value Added Tax, shall be for the account of the contractor. |  | Item | 1 |  | 0
51 | 10914 | 1 | 1 | 4 | 33 | 4.27 |  | Clause 33.0 - Recovery of expense and loss |  | Item | 1 |  | 0
52 | 10915 | 1 | 1 | 4 | 34 |  |  | Clause 34.0 - Final account and final payment |  | Item | 1 |  | 0
53 | 10916 | 1 | 1 | 4 | 35 |  |  | Clause 35.0 - Payment to other parties |  | Item | 1 |  | 0
54 | 10917 | 1 | 1 | 4 |  | 5 |  | Termination
55 | 10918 | 1 | 1 | 4 | 36 | 4.28 |  | Clause 36.0 - Termination by Employer - contractor's default |  | Item | 1 |  | 0
56 | 10919 | 1 | 1 | 5 | 37 |  |  | Clause 37.0 - Termination by Employer - loss and damage |  | Item | 1 |  | 0
57 | 10920 | 1 | 1 | 5 | 38 | 4.29 |  | Clause 38.0 - Termination by contractor - Employer's default |  | Item | 1 |  | 0
58 | 10921 | 1 | 1 | 5 | 39 |  |  | Clause 39.0 - Termination - Cessation of the works |  | Item | 1 |  | 0
59 | 10922 | 1 | 1 | 5 |  | 6 |  | Dispute
60 | 10923 | 1 | 1 | 5 | 40 | 4.30 |  | Clause 40.0 - Dispute settlement |  | Item | 1 |  | 0
61 | 10924 | 1 | 1 | 5 |  |  |  | Contract Agreement
62 | 10925 | 1 | 1 | 5 | 41 |  |  | Clause 41.0 - Post tender provisions The required post tender information shall be inserted in the post tender provisions after consultation with the contractor |  | Item | 1 |  | 0
63 | 10926 | 1 | 1 | 5 | 42 |  |  | Clause 42.0 - Contractual agreement The required information of the contracting parties and the amount of the accepted contract sum shall be inserted in the contractual agreement for signature of the agreement by the contracting parties |  | Item | 1 |  | 0
64 | 10927 | 1 | 1 | 5 |  | 9 |  | SECTION B: PRELIMINARIES
65 | 10928 | 1 | 1 | 5 |  | 9 |  | Definitions and interpretation
66 | 10929 | 1 | 1 | 5 | 43 | 9.45 |  | Clause 1.0 - Definitions and interpretation |  | Item | 1 |  | 0
67 | 10930 | 1 | 1 | 5 |  | 9 |  | Documents
68 | 10931 | 1 | 1 | 5 | 44 | 9.46 |  | Clause 2.1 - Checking of documents |  | Item | 1 |  | 0
69 | 10932 | 1 | 1 | 5 | 45 | 9.47 |  | Clause 2.2 - Provisional bills of quantities |  | Item | 1 |  | 0
70 | 10933 | 1 | 1 | 5 | 46 | 9.48 |  | Clause 2.3 - Availability of construction documentation |  | Item | 1 |  | 0
71 | 10934 | 1 | 1 | 6 |  | 10 |  | Previous work and adjoining properties
72 | 10935 | 1 | 1 | 6 | 47 |  |  | Clause 3.1 - Previous work - dimensional accuracy |  | Item | 1 |  | 0
73 | 10936 | 1 | 1 | 6 | 48 |  |  | Clause 3.2 - Previous work - defects |  | Item | 1 |  | 0
74 | 10937 | 1 | 1 | 6 | 49 |  |  | Clause 3.3 - Inspection of adjoining properties |  | Item | 1 |  | 0
75 | 10938 | 1 | 1 | 6 |  | 11 |  | Samples, shop drawings and manufacturer's instructions
76 | 10939 | 1 | 1 | 6 | 50 | 11.69 |  | Clause 4.1 - Samples of materials |  | Item | 1 |  | 0
77 | 10940 | 1 | 1 | 6 | 51 | 11.70 |  | Clause 4.2 - Workmanship samples |  | Item | 1 |  | 0
78 | 10941 | 1 | 1 | 6 | 52 | 11.71 |  | Clause 4.3 - Shop drawings |  | Item | 1 |  | 0
79 | 10942 | 1 | 1 | 6 | 53 | 11.72 |  | Clause 4.4 - Compliance with manufacturer's instructions |  | Item | 1 |  | 0
80 | 10943 | 1 | 1 | 6 |  | 12 |  | Deposits and fees
81 | 10944 | 1 | 1 | 6 | 54 | 12.73 |  | Clause 5.1 - Deposits and fees |  | Item | 1 |  | 0
82 | 10945 | 1 | 1 | 6 |  | 12 |  | Temporary services
83 | 10946 | 1 | 1 | 6 | 55 | 12.76 |  | Clause 6.1 - Water |  | Item | 1 |  | 0
84 | 10947 | 1 | 1 | 7 | 56 | 12.77 |  | Clause 6.2 - Electricity |  | Item | 1 |  | 0
85 | 10948 | 1 | 1 | 7 | 57 | 12.78 |  | Clause 6.3 - Telecommunication equipment |  | Item | 1 |  | 0
86 | 10949 | 1 | 1 | 7 | 58 | 12.79 |  | Clause 6.4- Ablution facilities |  | Item | 1 |  | 0
87 | 10950 | 1 | 1 | 7 |  | 12 |  | Prime cost amounts
88 | 10951 | 1 | 1 | 7 | 59 | 12.82 |  | Clause 7.1 - Responsibility for prime cost amounts |  | Item | 1 |  | 0
89 | 10952 | 1 | 1 | 7 |  |  |  | Special attendance on N/S subcontractors
90 | 10953 | 1 | 1 | 7 | 60 |  |  | Clause 8.1 - Special attendance |  | Item | 1 |  | 0
91 | 10954 | 1 | 1 | 7 |  | 13 |  | General
92 | 10955 | 1 | 1 | 7 | 61 | 13.88 |  | Clause 9.1 - Protection of the works |  | Item | 1 |  | 0
93 | 10956 | 1 | 1 | 7 | 62 | 13.89 |  | Clause 9.2 - Protection/isolation of existing/sectionally occupied works |  | Item | 1 |  | 0
94 | 10957 | 1 | 1 | 7 | 63 |  |  | Clause 9.3 - Security of the works |  | Item | 1 |  | 0
95 | 10958 | 1 | 1 | 7 | 64 |  |  | Clause 9.4 - Notice before covering work |  | Item | 1 |  | 0
96 | 10959 | 1 | 1 | 7 | 65 |  |  | Clause 9.5 - Disturbance |  | Item | 1 |  | 0
97 | 10960 | 1 | 1 | 7 |  |  |  | Clause 9.6 - Environmental disturbance |  | Item | 1 |  | 0
98 | 10961 | 1 | 1 | 8 | 66 |  |  | Clause 9.7 - Works cleaning and clearing |  | Item | 1 |  | 0
99 | 10962 | 1 | 1 | 8 | 67 |  |  | Clause 9.8 - Vermin |  | Item | 1 |  | 0
100 | 10963 | 1 | 1 | 8 | 68 |  |  | Clause 9.9 - Overhand work |  | Item | 1 |  | 0
101 | 10964 | 1 | 1 | 8 |  | 17 |  | SECTION C: SPECIFIC PRELIMINARIES
102 | 10965 | 1 | 1 | 8 |  |  |  | Contract price adjustment provisions
103 | 10966 | 1 | 1 | 8 | 69 |  |  | Bidders are advised that this Contract shall be a Fixed Price Contract and shall not be subject to the Contract Price Adjustment Provisions (CPAP) or any other escalation formula and therefore bidder are to allow for any increases (except any variations in the rate of Value Added Tax) in cost of labour, materials, transport, etc. |  | Item | 1 |  | 0
104 | 10967 | 1 | 1 | 8 |  |  |  | Site instruction
105 | 10968 | 1 | 1 | 8 | 70 |  |  | Site Instructions issued on site are to be recorded in triplicate in a site instruction book which is maintained on site by the contractor. |  | Item | 1 |  | 0
106 | 10969 | 1 | 1 | 8 | 71 |  |  | Propping of floors below The contractor is advised that propping of floors below may be required if he wishes to use any areas of completed suspended reinforced concrete slabs for vehicle access, storage of materials and goods and location of plant, scaffolding, etc. The location of these areas and any necessary propping shall be approved by the principal agent and the cost thereof shall be borne by the contractor F:............................. V:............................ T:............................ |  | Item | 1 |  | 0
107 | 10970 | 1 | 1 | 9 | 72 |  |  | Warranties for material and workmanship Where warranties for materials and /or workmanship are called for, the contractor shall obtain a written warranty, addressed to the employer, from the firm supplying the materials and/or doing the work and shall deliever same to the Principal Agent on certified completion of contract. The warranty shall state that workmanship, materials and installation are warranteed for a specified period from the date of final completion and that any defects that may arise during the specified period shall be made good at the expense of the firm supplying the materials and/or doing the work, upon written notice to do so. The warranty will not be enforced if the work is damaged by defects in the construction of the building in which case the responsibility for replacement shall rest entirely with the contractor. |  | Item | 1 |  | 0
108 | 10971 | 1 | 1 | 9 | 73 |  |  | Co-operation of the contractor for cost management It is specifically agreed that the contractor accepts the obligation of assisting the principal agent in implementing proper cost management. The contractor will be advised by the principal agent of all cost management procedures which will be implemented to ensure that the contract value does not exceed the budget F:............................. V:............................ T:............................ |  | Item | 1 |  | 0
109 | 10972 | 1 | 1 | 9 | 74 |  |  | Confidentiality The contractor undertakes to maintain in confidence any and all information regarding this project and shall obtain appropriate similar undertakings from all subcontractors and suppliers. Such information shall not be used in any way except in connection with the execution of the works No information regarding this project shall be published or disclosed without the prior written consent of the employer F:............................. V:............................ T:............................ |  | Item | 1 |  | 0
110 | 10973 | 1 | 1 | 10 | 75 |  |  | Testing of windows for watertightnessEach window shall be tested for watertightness with water sprayed on by means of a 20mm hosepipe using adequate pressure. If in the opinion of the principal agent, the pressure proves to be inadequate, then the pressure in the hosepipe shall be boosted by means of compressed air or other approved means F:............................. V:............................ T:............................ |  | Item | 1 |  | 0
[7 empty] | Occupational Health and Safety Act | Occupational Health and Safety Act
[5 empty] | 76 |  | The Contractor will allow for Health and Safety to ensure compliance with requirements set out in the Construction Regulation 2014, issued under the Occupational Health and Safety Act, 1933 (Act No. 85 of 1933). It is a required of the Contractor to thoroughly study the attached Health and Safety Specifications (Annexure A) that must be read together with and is deemed to be incorporated under this Section in the Bills of Quantities. The Contractor must take note that compliance with the Occupational Health and Safety Act, the Construction Regulations and the Health and Safety Specifications is compulsory. In the event of partial or total non-compliance, the Principal Agent, not withstanding the provisions of clause A31.0 of Section A or any other clause to the contrary, reserves the right to delay issuing any Progress Payment Certificate until the Contractor provides satisfactory proof of compliance. The Contractor shall not be entitled to any compensation of whatsoever nature, including interest, due to such delay in payment. Provision for pricing of the Occupational Health and Safety Act, the Construction Regulations and Health and Safety Specifications is made under this clause and it is explicitly pointed out that all requirements of the aforementioned are deemed to be priced hereunder and no additional claims in this regard shall be entertained. | The Contractor will allow for Health and Safety to ensure compliance with requirements set out in the Construction Regulation 2014, issued under the Occupational Health and Safety Act, 1933 (Act No. 85 of 1933). It is a required of the Contractor to thoroughly study the attached Health and Safety Specifications (Annexure A) that must be read together with and is deemed to be incorporated under this Section in the Bills of Quantities. The Contractor must take note that compliance with the Occupational Health and Safety Act, the Construction Regulations and the Health and Safety Specifications is compulsory. In the event of partial or total non-compliance, the Principal Agent, not withstanding the provisions of clause A31.0 of Section A or any other clause to the contrary, reserves the right to delay issuing any Progress Payment Certificate until the Contractor provides satisfactory proof of compliance. The Contractor shall not be entitled to any compensation of whatsoever nature, including interest, due to such delay in payment. Provision for pricing of the Occupational Health and Safety Act, the Construction Regulations and Health and Safety Specifications is made under this clause and it is explicitly pointed out that all requirements of the aforementioned are deemed to be priced hereunder and no additional claims in this regard shall be entertained.
[7 empty] | Category : Fixed R................. Category : Value R......................... Category : Time R......................... | Category : Fixed R................. Category : Value R......................... Category : Time R......................... | 1 | Item | 1 |  | 0
111 | 10974 | 1 | 1 | 10 |  | 18 |  | SUMMARY OF CATEGORIES
112 | 10975 | 1 | 1 | 10 | 77 | 18 |  | Category : Fixed R........................................ Category : Value R........................................ Category : Time R........................................ |  | Item | 1 |  | 0
[8 empty] | SECTION NO. 1 SUMMARY |  |  |  |  | 0
114 | 9874 | 2 | 1 | 11 |  | 17 |  | SECTION 2
115 | 1465 | 2 | 1 | 11 |  | 17 |  | BILL NO. 1
116 | 1466 | 2 | 1 | 11 |  | 17 |  | CARPENTRY AND JOINERY
117 | 1502 | 2 | 1 | 11 |  | 20 |  | DOORS ETC
118 | 1503 | 2 | 1 | 11 |  | 20 |  | Wrought meranti hung to steel frames
119 | 10307 | 2 | 1 | 11 |  | 20 |  | 42mm Framed, ledged and braced batten door 813 x 2032mm high of 160mm wide to rail and stiles, 24 x 120mm middle ledge and braces and 24 x 200mm bottom ledge, filled in with 20mm tounged and grooved V-jointed one side vertical boarding with tounged and grooved joints to top rail and stiles and with inner edges of framing and abutting edges of boarding chamfered to form V-joint and covered at back with 10mm plywood with matching veneer, let into and including rebates all round (D01)
120 | 1504 | 2 | 1 | 11 | 1 | 20.5 |  | 44mm Door, size 813 x 2 032mm high |  | No | 4 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  |  | 0
122 | 9877 | 2 | 2 | 12 |  | 24 |  | SECTION 2
123 | 1551 | 2 | 2 | 12 |  | 24 |  | BILL NO. 2
124 | 1552 | 2 | 2 | 12 |  | 24 |  | IRONMONGERY
125 | 1557 | 2 | 2 | 12 |  | 24 |  | HINGES, BOLTS, ETC.
126 | 9971 | 2 | 2 | 12 |  | 24 |  | Samples to be approved by architect
127 | 1558 | 2 | 2 | 12 | 1 | 24.1 |  | 100mm Brass barrel bolt with keep let into concrete |  | No | 44 | 0 | 0
128 | 9974 | 2 | 2 | 12 | 2 | 24.2 |  | 150mm Approved flush bolt with keep fixed to metal |  | No | 44 | 0 | 0
129 | 1566 | 2 | 2 | 12 |  | 25 |  | LOCKS
130 | 1567 | 2 | 2 | 12 |  | 25 |  | Samples to be approved by Architect
131 | 1568 | 2 | 2 | 12 | 3 | 25.3 |  | 4 lever lockset and furniture |  | No | 16 | 0 | 0
132 | 1569 | 2 | 2 | 12 | 4 | 25.4 |  | Mortice water-closet indicator lock set |  | No | 7 | 0 | 0
133 | 9975 | 2 | 2 | 12 | 5 | 25.5 |  | Pad lock |  | No | 1 | 0 | 0
134 | 1577 | 2 | 2 | 12 |  | 25 |  | DOOR CLOSERS
135 | 1578 | 2 | 2 | 12 |  | 25 |  | Samples to be approved by Architect
136 | 1579 | 2 | 2 | 12 | 6 | 25.6 |  | Delayed action door closer with guide rail |  | No | 1 | 0 | 0
137 | 1580 | 2 | 2 | 12 |  | 25 |  | SUNDRIES
138 | 9976 | 2 | 2 | 12 |  | 25 |  | In accordance with Architect's specifications
139 | 1581 | 2 | 2 | 12 | 7 | 25.7 |  | 38mm Diameter rubber door stop plugged |  | No | 22 | 0 | 0
140 | 1582 | 2 | 2 | 12 | 8 | 25.8 |  | Chromium plated hat and coat hook with rubber buffer |  | No | 22 | 0 | 0
141 | 9977 | 2 | 2 | 13 | 9 | 25.9 |  | 147mm long Stainless steel foot operated telescopic door holder plugged |  | No | 22 | 0 | 0
142 | 1588 | 2 | 2 | 13 |  | 25 |  | BATHROOM FITTINGS
143 | 9978 | 2 | 2 | 13 |  | 25 |  | Samples to be approved by the Architect
144 | 9979 | 2 | 2 | 13 | 10 | 25.10 |  | 303 x 156 x 141mm high Surface mounted stainless steel vandal and theft proof toilet roll holder |  | No | 1 | 0 | 0
145 | 9980 | 2 | 2 | 13 | 11 | 25.11 |  | 300 x 270 x 520mm high, 34 litre surface mounted stainless steel vandal and theft proof waste disposal bin |  | No | 14 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  |  | 0
147 | 9878 | 2 | 3 | 14 |  | 27 |  | SECTION 2
148 | 1603 | 2 | 3 | 14 |  | 27 |  | BILL NO. 3
149 | 1604 | 2 | 3 | 14 |  | 27 |  | METALWORK
150 | 1617 | 2 | 3 | 14 |  | 29 |  | GALVANISED PRESSED STEEL DOOR FRAMES
151 | 1618 | 2 | 3 | 14 |  | 29 |  | 1,2mm Double rebated frames suitable for half brick walls with two brass butt hinges per door leaf "L"
152 | 1619 | 2 | 3 | 14 | 1 | 29.2 |  | Frame for door D03, size 813 x 2 032mm high |  | No | 2 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  |  | 0
154 | 9881 | 2 | 4 | 15 |  | 32 |  | SECTION 2
155 | 1682 | 2 | 4 | 15 |  | 32 |  | BILL NO. 4
156 | 1683 | 2 | 4 | 15 |  | 32 |  | PLUMBING AND DRAINAGE
157 | 1730 | 2 | 4 | 15 |  | 33 |  | RAINWATER DISPOSAL
158 | 1731 | 2 | 4 | 15 |  | 33 |  | Pre-Painted Seamless Aluminium Ogee Gutters, Rainwater Pipes And Accessories In Long Lengths
159 | 1736 | 2 | 4 | 15 | 1 | 33.5 |  | 75mm diameter galvanized sheet iron seamless rainwater downpipe fixed to walls on alloy brackets at not exceeding 1500mm centres |  | m | 14 | 0 | 0
160 | 1737 | 2 | 4 | 15 | 2 | 33.6 |  | Extra over rainwater pipe for shoe |  | No | 5 | 0 | 0
161 | 1739 | 2 | 4 | 15 |  | 34 |  | SANITARY FITTINGS
162 | 1740 | 2 | 4 | 15 |  | 34 |  | Water Closet
163 | 10006 | 2 | 4 | 15 |  | 34 |  | Wash Trough
164 | 10007 | 2 | 4 | 15 | 3 | 34.10 |  | 1030 x 430mm Wall mounted stainless steel double wash trough. Trough to have a sloped front with wash ridges. All items to be fully fitted with all necessary plumbing accessories |  | No | 1 | 0 | 0
165 | 1761 | 2 | 4 | 15 |  | 34 |  | Approved
166 | 1762 | 2 | 4 | 15 | 4 | 34.14 |  | 15mm CP angle regulating valve |  | No | 1 | 0 | 0
167 | 1763 | 2 | 4 | 15 | 5 | 34.15 |  | 32mm CP Flush master fitted as per manufacturer's instruction |  | No | 1 | 0 | 0
168 | 10008 | 2 | 4 | 15 | 6 | 35.16 |  | Square type pillar tap with hot and cold indices and flanged back nut. All items to be fully fitted with all necessary plumbing accessories |  | No | 1 | 0 | 0
169 | 10009 | 2 | 4 | 15 | 7 | 35.17 |  | Demand push button chrome plated pillar tap with raised nose, hot and cold indices and flanged bach nut. All items to be fully fitted with all necessary plumbing accessories. |  | No | 6 | 0 | 0
170 | 10011 | 2 | 4 | 16 | 8 | 35.19 |  | 15 x 350mm CP flexable connector |  | No | 1 | 0 | 0
171 | 1775 | 2 | 4 | 16 |  | 35 |  | SANITARY PLUMBING
172 | 1776 | 2 | 4 | 16 |  | 35 |  | uPVC pipes
173 | 10012 | 2 | 4 | 16 | 9 | 35.21 |  | 50mm Pipes chased into brick walls |  | m | 3 | 0 | 0
174 | 1779 | 2 | 4 | 16 |  | 35 |  | Extra over uPVC pipes for fittings
175 | 1782 | 2 | 4 | 16 | 10 | 35.25 |  | 50mm Junction |  | No | 2 | 0 | 0
176 | 1783 | 2 | 4 | 16 | 11 | 35.26 |  | 50mm Access junction |  | No | 2 | 0 | 0
177 | 1804 | 2 | 4 | 16 |  | 36 |  | TANKS, ETC
178 | 1806 | 2 | 4 | 16 | 12 | 37.46 |  | Install new plumbing fittings for 5 000 Litre water storage Jojo tank |  | No | 4 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  |  | 0
180 | 9882 | 2 | 5 | 17 |  | 38 |  | SECTION 2
181 | 1813 | 2 | 5 | 17 |  | 38 |  | BILL NO. 5
182 | 1814 | 2 | 5 | 17 |  | 38 |  | GLAZING
183 | 1830 | 2 | 5 | 17 |  | 38 |  | TOPS, SHELVES, DOORS, MIRRORS, ETC
184 | 1831 | 2 | 5 | 17 |  | 38 |  | 6mm 'GG' quality polished silvered float glass copper backed mirrors with polished edges holed for and fixed with round rose chromium plated mirror screws with rubber buffers to plugs in brickwork or concrete
185 | 1832 | 2 | 5 | 17 | 1 | 38.3 |  | Mirror 450 x 600mm high with four screws |  | No | 6 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  |  | 0
187 | 9883 | 2 | 6 | 18 |  | 39 |  | SECTION 2
188 | 1835 | 2 | 6 | 18 |  | 39 |  | BILL NO. 6
189 | 1836 | 2 | 6 | 18 |  | 39 |  | PAINTWORK
190 | 1838 | 2 | 6 | 18 |  | 39 |  | PAINTWORK, ETC TO NEW WORK ON
191 | 1839 | 2 | 6 | 18 |  | 39 |  | One coat alkali resistant plaster primer and two coats PVA acrylic emulsion paint on
192 | 1840 | 2 | 6 | 18 | 1 | 39.1 |  | Internal plastered walls |  | m² | 35 | 0 | 0
193 | 1859 | 2 | 6 | 18 |  | 40 |  | Prepare and apply one coat zinc phosphate alkyd resin primer, one coat universal undercoat and two full coats high gloss enamel paint
194 | 1860 | 2 | 6 | 18 | 2 | 40.6 |  | On pressed steel doors frames |  | m² | 46 | 0 | 0
195 | 1863 | 2 | 6 | 18 | 3 | 40.8 |  | On grille gates and screens (both sides measured on flat) |  | m² | 10.0028 | 0 | 0
196 | 1865 | 2 | 6 | 18 |  | 40 |  | ON WOOD SURFACES
197 | 10031 | 2 | 6 | 18 |  | 40 |  | One coat primer and two coats premium quality polyurethane enamel paint
198 | 10032 | 2 | 6 | 18 | 4 | 40.9 |  | On doors |  | m² | 5 | 0 | 0
199 | 1866 | 2 | 6 | 18 |  | 40 |  | Three coats polyurethane clear varnish
200 | 1867 | 2 | 6 | 18 | 5 | 40.10 |  | On doors |  | m² | 5 | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  |  | 0
202 | 9886 | 2 | 7 | 19 |  | 48 |  | SECTION 2
203 | 5821 | 2 | 7 | 19 |  | 48 |  | BILL NO. 7
204 | 5822 | 2 | 7 | 19 |  | 48 |  | PROVISIONAL SUMS
205 | 9683 | 2 | 7 | 19 |  | 48 |  | COMMUNITY LIAISON OFFICER
206 | 10634 | 2 | 7 | 19 | 1 |  |  | Provide sum of R12 500.00 (Twelve Thousand Five Hundred Rand Only) for community liaison officer's salary to be omitted in part or whole as instructed by Principal Agent (R12 500 per month) |  | Item | 1 | 12500 | 12500
207 | 10635 | 2 | 7 | 19 | 2 |  |  | Add profit upon above |  | %IT | 0% | 0 | 0
208 | 10636 | 2 | 7 | 19 | 3 |  |  | Attendance |  | %IT | 0% | 0 | 0
209 | 9697 | 2 | 7 | 19 |  | 48 |  | SUNDRY BUILDING WORK
210 | 9698 | 2 | 7 | 19 | 4 | 48.7 |  | Provide sum of R12 000.00 (Twelve Thousand Rand Only) for demolitions and decommissioning of existing ablution blocks |  | Item | 1 | 12000 | 12000
211 | 10336 | 2 | 7 | 19 | 5 | 48.8 |  | Add profit upon above |  | %IT | 0% | 0 | 0
212 | 10337 | 2 | 7 | 19 | 6 | 48.9 |  | Attendance |  | %IT | 0% | 0 | 0
[8 empty] | TOTAL CARRIED TO SECTION SUMMARY 2 |  |  |  |  | 24500
SECTION SUMMARY
214 | 1464 | 2 | 8 | 20 | 1 | 49.6 |  | Carpentry and Joinery |  |  |  |  | 0
215 | 11014 | 2 | 8 | 20 | 2 |  |  | Ironmongery |  |  |  |  | 0
216 | 11015 | 2 | 8 | 20 | 3 |  |  | Metalwork |  |  |  |  | 0
217 | 1681 | 2 | 8 | 20 | 4 | 49.13 |  | Plumbing and Drainage |  |  |  |  | 0
218 | 1812 | 2 | 8 | 20 | 5 | 49.14 |  | Glazing |  |  |  |  | 0
219 | 1834 | 2 | 8 | 20 | 6 | 49.15 |  | Paintwork |  |  |  |  | 0
220 | 11016 | 2 | 8 | 20 | 7 |  |  | Provisional Sums |  |  |  |  | 24500
[8 empty] | SECTION NO. 2 SUMMARY |  |  |  |  | 24500
FINAL SUMMARY
221 | 1 | 3 | 1 | 21 | 1 | 59.1 |  | Preliminaries |  |  |  |  | 0
222 | 585 | 3 | 1 | 21 | 2 | 59.2 |  | Building Works |  |  |  |  | 24500
223 | 9678 | 3 | 1 | 21 |  | 59 |  | SUBTOTAL |  |  |  |  | 24500
224 | 10833 | 3 | 1 | 21 |  |  |  | Allow: 10% Contingency amount for the unforeseen and the sum provided is under the sole control of the client and upon approval by the Client representative and deducted in whole or in part |  | Item | 10% | 24500 | 2450
225 | 10857 | 3 | 1 | 21 |  | 59 |  | SUBTOTAL |  |  |  |  | 26950
226 | 5855 | 3 | 1 | 21 |  | 59 |  | Add Value Added Tax @ 15% |  | Item | 15% |  | 4042.5
227 | 7198 | 3 | 1 | 21 |  | 59 |  | TOTAL (INCLUDING VAT) |  |  |  |  | 30992.5