## Combined Summary
COMPLETION OF RENOVATIONS TO THE EXISTING HUGO BIERMAN BUILDING
COMBINED SUMMARY
TOTAL SUMMARY
Construction
1 | Building Works
Sub-Total - Construction Cost
Professional Fees
2 | Design Professional Fees
2.1 | Architectural Designer (Pr_Arch)
2.2 | Civil & Structural Designer (ECSA_ Pr Eng /Pr Tech Eng)
2.3 | Electrical Designer (ECSA_ Pr Eng /Pr Tech Eng)
2.4 | Mechanical & Fire Designer (ECSA_ Pr Eng /Pr Tech Eng)
3 | Full Time Site Based Construction Health and Safety Officer
Sub-total - fees
General Allowances
4 | A sum equivalent to 5% (Five Percent) of the Construction Cost must be priced and set aside as Contingencies, to be adjusted, used and paid as instructed and approved by the Client.
TOTAL COST
vat at 15%
TOTAL COST (INCL VAT) _ CARRIED TO FORM OF OFFER

## SUMMARY
COMPLETION OF RENOVATIONS TO THE EXISTING HUGO BIERMAN BUILDING
EXECUTIVE SUMMARY
| Element | Total
R
A | PRELIMINARIES
B | ALTERATIONS
C | WATERPROOFING
D | FLOOR FINISHES
E | CEILINGS AND PARTIONS
F | INTERNAL WALLS & FINISHES:
G | METALWORK
H | CARPTENTRY AND JOINERY
I | PLUMBING AND DRAINAGE
J | OTHER SERVICES
K | EXTERNAL WORKS
L | PROVSIONAL SUMS
M | BUDGETARY ALLOWANCES
TOTAL VALUE OF WORKS _ CARRIED TO COMBINED SUMMARY

## PRICING SCHEDULE
COMPLETION OF RENOVATIONS TO THE EXISTING HUGO BIERMAN BUILDING
|  |  |  | Quantity | Unit | Unit Rate | Amount
| CONSTRUCTION AREAS |  |  |  | m2
GROUND FLOOR
FLOOR AREAS
| 1 | Ground floor |  | 1033 | m2
| 2 | First floor |  | 938 | m2
| 3 | Second floor |  | 988 | m2
| 4 | Third floor |  | 922 | m2
| 5 | Fourth floor |  | 872 | m2
| 6 | Fifth floor |  | 888 | m2
| 7 | Sixth floor |  | 904 | m2
| 8 | Seventh floor |  | 924 | m2
| 9 | Eight floor |  | 872 | m2
| TOTAL INTERNAL CONSTRUCTION AREA |  |  | 8341 | m2
| A | PRELIMINARIES AND GENERAL
| 1.01 | Provision for Preliminaries and General
Total
| B | ALTERATIONS
| 2 | Alterations :
| 2.01 | Clean All areas |  | 8341 | m2
| 2.02 | Hack off and remove of existing floor finishes ceramic tiles, etc |  | 7065 | m2
| 2.03 | Removal of existing tile skirting |  | 310.7 | m2
| 2.04 | Contractor to make good existing previously painted walls |  | 12409.74 | m2
| 2.05 | Allowance for removal of Aluminium doors on fire escape routes |  | 1 | Item
| 2.06 | Breaking down and removal of Partitioning |  | 541.7775 | m2
| 2.07 | Reconfiguration (Design, Manufacture and Install) of existing secondary kitchens, cupboards, |  | 2 | No.
stoves, sinks, etc
| 2.08 | Allowance to make good partitions where tile skirting was removed |  | 310.7 | m2
| 2.09 | Allowance to disconnect, remove and replace all existing non compliant plumbing |  | 1 | Item
| 2.1 | Allowance to remove non compliant fire doors and frames |  | 40 | No.
| 2.11 | Allowance to remove damaged doors and frames |  | 10 | No.
| 2.12 | Allowance to remove damaged existing ironmongery |  | 1 | item
| 2.13 | Allowance to remove all non compliant power skirting |  | 100 | m
| 2.14 | Carefully remove existing cisterns mounted on toilet pans and mount same securely |  | 64 | No
onto the wall including providingand installing new flush pipe
| 2.15 | Remove existing cast iron pipes and replace with PVC suitable pipes up to the nearest |  | 13 | m
manhole (approximately 2m from the building)
Total
| C | WATERPROOFING
| 3 | Waterproofing:
| 3.01 | Repairs to existing waterproofing to concrete roof slabs |  | 510 | m2
| 3.02 | Removal of existing, supply and install new waterproofing to concrete roof slab |  | 510 | m2
| 3.03 | Removal of existing, supply and install new waterproofing to shower drain channels |  | 245 | m2
| 3.04 | Application of screed to falls on roof to receive waterproofing |  | 510 | m2
| 3.05 | Supply and install new fulbore drain covers to match existing |  | 5 | No
Joints, expansion, etc
| 3.06 | Rake out and clean existing joints to walls, soffits, floors, etc. complete with and |  | 2000 | m
including application of new flexible sealant
Total
| D | FLOOR FINISHES
| 4 | Floors and skirtings
| 4.01 | Provision of concrete screed (screeds where necessary) |  | 7065 | m2
| 4.02 | Self levelling screed |  | 7065 | m2
| 4.03 | Supply and install vinyl tiles (2.5mm), colour by client |  | 7065 | m2
| 4.04 | Timber Skirting |  | 2799 | m
| 4.05 | Supply and install ceramic floor tiles to Kitchen area |  | 410.4 | m2
| 4.06 | Allowance for new floor tiles to toilets |  | 735.6 | m2
| 4.07 | Allowance for tile trims and aluminium dividing strips |  | 343.8 | m
| 4.08 | Supply and install new carpets to conference room, complete with underlays, etc |  | 100 | m2
Total
| E | CEILINGS AND PARTITIONS
| 5 | Ceilings and Dry Wall Partitions
| 5.01 | Supply and install drywall partitioning |  | 213.4275 | m2
| 5.02 | Provision for repairs to ceilings/soffits in patches where necessary |  | 450 | m2
| 5.03 | Toilet Partioning including existing doors |  | 112.5 | m2
Total
| F | INTERNAL WALLS & FINISHES:
| 6 | Wall Finishes
| 6.01 | Allowance to repaint walls in patches |  | 1000 | m2
| 6.02 | Apply one coat touch up paint to existing previously painted doors |  | 862.3524 | m2
| 6.03 | Paint to new doors (50No.) |  | 89.8697 | m2
| 6.04 | Paint existing door frames |  | 50 | No.
| 6.05 | Touchup paint to existing handrails |  | 72 | m
| 6.06 | Repair existing plaster to walls and reveals including repainting to cash office walls |  | 80 | m2
Total
| G | METALWORKS
| 7 | Metalworks, etc
| 7.01 | Allowance for repairs to Aluminium windows and doors |  | 1 | item
| 7.02 | Design, supply and installation of Bullet proof windows to cash offices with serving tray |  | 5 | No
and burglar bars
| 7.03 | Supply and install security burglars to windows at cash office |  | 6 | No
| 7.04 | Supply and install security gates at cash office precinct |  | 1 | Item
| 7.05 | Replace, supply and install security burglars to windows at ground floor west wing |  | 40 | No
| 7.06 | Design, manufacture, supply and install hot-dip galvanised pipe |  | 15 | No
holders and stands, etc to match existing
Total
| H | CARPTENTRY AND JOINERY
| 8 | Carpentry and Joinery
| 8.01 | Supply and install fire doors and frames (30 minutes) |  | 50 | No.
| 8.02 | Allowance for joinery works to reception desk and beautification, etc |  | 1 | item
| 8.03 | Supply and install missing Built in closets in cabins to match existing |  | 16 | No.
| 8.04 | Completion of construction book shelves at offices |  | 25 | No.
| 8.05 | Design, supply and install shelving to strong rooms (2No. Strong rooms) |  | 1 | item
| 8.06 | Supply and install appropriate ironmongery for fire doors |  | 50 | item
| 8.07 | Design, manufacture, supply and install new built-in conference table (30 seater), |  | 1 | item
complete with plug points, etc
Total
| I | PLUMBING AND DRAINAGE
| 9 | Pipes and Fittings
Supply and installation of sanitary fittings
| 9.1 | Durable surface mounted stainless - steel paper towel dispenser. |  | 24.5 | No
| 9.2 | Durable toilet roll holder for wall mounting : Double toilet roll holder with spindle for wall |  | 44.5 | No
mounting, stainless steel
| 9.3 | Heavy - duty soap dispenser for wall mounting, stainless steel, surface satin finished, |  | 24.5 | No
material
| 9.4 | Stainless steel Bathroom mirror Cabinet, double door durable & anti Corrosive wall |  | 79.5 | No
mounted unit
| 9.5 | Supply and install non corrosive durable grating to floor drains |  | 9 | m2
Supply and installation Valves, etc
| 9.6 | Replacement of rusted and damaged water valves (at roof level) |  | 8 | No
Supply and installation Pipes and Fittings, etc
| 9.7 | Replacement of damaged and leaking flexible pipe couplings, etc to match existing |  | 5 | No
pipes (at roof level)
| 9.8 | Rremove and replace of existing PPR pipes (at roof level), couplings, etc with copper |  | 100 | m
pipes and fittings of similar size
Supply and installation Rainwater downpipes and fittings
| 9.9 | Replacement of extisting inaproppriate downpipe with PVC downpipe complete with |  | 3 | m
holder brackets, etc
Water Tanks
| 9.91 | Contractor to fasten and securely fix existing water tanks to roof tank stands |  | 8 | No
Budgetary allowance
| 9.92 | Allowance for cleaning of floor drains |  | 1 | Sum
Total
| J | Other Services :
| 10.1 | Servicing of grease trap to maintain a safe and working condition |  | 1 | Item
| 10.2 | Kitchen Equipment
| 10.2.1 | Contractor to Allow for the positioning and installation of existing kitchen equipment |  | 1 | Item
| 10.3 | LPG
| 10.3.1 | Manufacture, supply and install hot dip galvanised gas cage to accommodate 6 |  | 6 | No
cylinders (48 kg)
Total
| K | EXTERNAL WORKS
| 11 | External Works :
| 11.01 | New Entrance Gates |  | 1 | Item
| 11.02 | Supply and install stone bollards minimum 500mm diameter |  | 15 | No
Total
| L | PROVSIONAL SUMS
| 12.01 | A sum of R 1 000 000.00 (One Million rand only) is provided for the Allowance for repairs |  | 1 | Item | 1000000
to roof ring beam, concrete spalling, rusted steel plates (replacement) and/or any
structural repairs, etc.
| 12.01.1 | Profit and attendance |  |  | %
| 12.02 | A sum of R 20 000.00 (Twenty Thousand rand only) is provided for the provision and |  | 1 | Item | 20000
installation of room signage
| 12.02.1 | Profit and attendance for signage |  |  | %
| 12.03 | A sum of R 100 000.00 (One Hundred Thousand rand only) is provided for the Allowance |  | 1 | Item | 100000
for provision and installation of Blinds in offices
| 12.03.1 | Profit and attendance for blinds |  |  | %
| 12.04 | A sum of R 300 000.00 (Three Hundred Thousand rand only) is provided for the |  | 1 | Item | 300000
Contractor to allow for the proper concealment of existing exposed and or surface
mounted pipes
| 12.04.1 | Profit and attendance for concealment |  |  | %
SERVICES:
MECHANICAL and FIRE INSTALLATIONS:
Fire systems
| 12.05 | A sum of R 2 000 000.00 (Two Million rand only) is provided for the Allowance for the |  | 1 | Item | 2000000
provission and installation of Fire protection and detection, rectifications, repairs,
servicing (hose reels) and new installations including all statutory signage
requirements, etc.
| 12.05.1 | Allowance for main contractors profit and attendance |  |  | %
Allowance for Extraction system
| 12.06 | A sum of R 120 000.00 (One Hundred and Twenty Thousand rand only) is provided for the |  | 1 | Item | 120000
Provision for Repair and servicing of kitchen extractor including necessary ducting and
accessories
| 12.06.1 | Allowance for main contractors profit and attendance for extraction systems |  |  | %
Total
Air Conditioning /Ventilation:
| 12.07 | A sum of R 1 500 000.00 (One Million Five Hundred Thousand rand only) is provided for the HVAC, ventilation repairs, extraction systems (bathrooms), rectifications and new installations |  | 1 | Item | 1500000
the HVAC, ventilation repairs, extraction systems (bathrooms), rectifications and new
installations
| 12.07.1 | Allowance for main contractors profit and attendance |  |  | %
Refrigeration
| 12.08 | A sum of R 350 000.00 (Three Hundred and Fifty Thousand rand only) is provided for the |  | 1 | Item | 350000
Repair and service existing 7No. cold rooms
| 12.08.1 | Allowance for main contractors profit and attendance |  |  | %
Kitchen Equipment
| 12.09 | A sum of R300 000.00 (Three Hundred Thousand rand only) is provided for the |  | 1 | Item | 300000
Contractor to Allow for the supply and installation of new kitchen equipment
| 12.09.1 | Allowance for main contractors profit and attendance |  |  | %
Lifts
| 12.1 | A sum of R 500 000.00 (Five Hundred Thousand rand only) is provided for the Allowance |  | 1 | Item | 500000
for Repairs and servecing of existing lifts (goods and passenger lift)
| 12.10.1 | Allowance for main contractors profit and attendance |  |  | %
LPG
| 12.11 | A sum of R 150 000.00 (One Hundred and Fifty Thousand rand only) is provided for Gas |  | 1 | Item | 150000
Installation including reticulation in accordance with SANS (main kitchen)
| 12.11.1 | Allowance for main contractors profit and attendance |  |  | %
Wet Services
| 12.12 | A sum of R 240 000.00 (Two Hundred and Forty Thousand rand only) is provided |  | 1 | Item | 240000
Plumbing and drainage repairs and rectifications including hot water recticulations, etc
| 12.12.1 | Allowance for main contractors profit and attendance |  |  | %
Fuel Handling Sysytem
| 12.13 | A sum of R 25 000.00 (Twenty Five Thousand rand only) is provided for diesel refuelling |  | 1 | Item | 25000
from existing holding/storage tank to generator tank, complete with all necessary
clamps, pipes, etc
| 12.13.1 | Allowance for main contractors profit and attendance |  |  | %
ELECTRICAL and TELECOMS INSTALLATIONS:
| 12.14 | A sum of R1 500 000.00 (One Million Five Hundred Thousand rand only) for the |  | 1 | Item | 1500000
Rectifications, repairs and new installations including power and telecoms skirtings, etc.
| 12.14.1 | Allowance for main contractors profit and attendance |  |  | %
| M | BUDGETARY ALLOWANCES
| 13 | SUNDRY BUILDERS WORK:
| 13.01 | Contractor to allow 10% (Ten Percent) of the overall value of the works for Sundry Builder's Work |  | 1 | Item
TOTAL FOR WORKS AS MENTIONED ABOVE EX VAT